##### PERMITTEE

Ms. Lois Rose, Manager Solid Waste
Sarasota County Board of County Commissioners

Sarasota County Public Utilities - Solid Waste Disposal Complex

4000 Knights Trail Road

Nokomis, Florida  34275

##### Permitting Authority

Florida Department of Environmental Protection (Department)

Division of Air Resource Management

Office of Permitting and Compliance

2600 Blair Stone Road, MS #5505

Tallahassee, Florida  32399-2400

##### PROJECT

Title V Air Operation Permit Revision

Permit No. 1150089-009-AV

Sarasota County Public Utilities - Solid Waste Disposal Complex

The purpose of this permitting project is for the revision of the existing Title V air operation permit for the above referenced facility to remove the existing Caterpillar Model 3056  (123.5 HP) emergency generator engine from the list of engines and add its replacement to the permit.  The new unit, a John Deere (126 HP) emergency generator engine, will provide power service to the administration/scale house buildings at the Central County Solid Waste Disposal Complex.

##### NOTICE AND PUBLICATION

The Department distributed an Intent to Issue Air Permit package on June 11, 2014.  The applicant published the Public Notice of Intent to Issue Air Permit in the Sarasota Herald-Tribune on July 1, 2014.  The Department received the proof of publication on July 2, 2014.  A proposed permit was issued for EPA review on July 1, 2014, concurrently with the Public Notice.

# COMMENTS

No comments were received from the applicant or the EPA Region 4 office.  However, the following minor administrative changes were made while preparing the final permit for issuance:

The list of “Referenced Attachments Made a Part of This Permit” shown on the signature page of the permit was changed to remove the reference to Appendix TV-6, Title V Conditions (version dated 11/10/08) and to add Appendices RR, Facility-wide Reporting Requirements, TR, Facility-wide Testing Requirements and TV, Title V General Conditions.

Facility-wide Condition 1. was revised as follows to reflect the replacement of Appendix TV-6, Title V Conditions with Appendices RR, Facility-wide Reporting Requirements, TR, Facility-wide Testing Requirements and TV, Title V General Conditions:

- Title V Conditions - Appendix TV-6, Title V Conditions, is a part of this permit. Appendices.  The permittee shall comply with all documents identified in Section IV, Appendices, listed in the Table of Contents.  Each document is an enforceable part of this permit unless otherwise indicated.  [Rule 62-213.440, F.A.C.]

The obsolete parenthetical reference to Condition 57. of Appendix TV-6, Title V Conditions has been removed from Facility-wide Condition 8.

(see also Condition 57. of Appendix TV-6, Title V Conditions)

To reflect the change from the previous Appendix TV-6, Title V Conditions to the new General Appendices, the Permitting Note after Facility-wide Condition 10. has been changed as follows:

(Permitting Note - This condition implements the requirements of Rules 62-213.440(3)(a)2. & 3., F.A.C. (see Condition 51. of Appendix TV-6, Title V ConditionsRR7. of Appendix RR, Facility-wide Reporting Requirements).)

For clarification and to reflect the current language pertaining to Annual Operating Report and Title V Annual Emissions Fee submission requirements reflected in the new Appendix RR, Facility-wide Reporting Requirements, Facility-wide Condition 15. has been replaced with the appropriate current language:

15.  Annual Operating Report (AOR) - On or before April 1 of each year, the permittee shall submit a completed DEP Form 62-210.900(5), "Annual Operating Report for Air Pollutant Emitting Facility" (AOR) for the preceding calendar year.  The report may be submitted electronically in accordance with the instructions received with the AOR package sent by the Department, or a hardcopy may be sent to the Air Compliance section of the Southwest District Office of the Department.  (See also Appendix TV-6, Title V Conditions, Condition No. 24(3).) Electronic Annual Operating Report and Title V Annual Emissions Fees.  The information required by the Annual Operating Report for Air Pollutant Emitting Facility [Including Title V Source Emissions Fee Calculation] (DEP Form No. 62-210.900(5)) shall be submitted by April 1 of each year, for the previous calendar year, to the Department of Environmental Protection’s Division of Air Resource Management.  Each Title V source shall submit the annual operating report using the DEP’s Electronic Annual Operating Report (EAOR) software, unless the Title V source claims a technical or financial hardship by submitting DEP Form No. 62-210.900(5) to the DEP Division of Air Resource Management instead of using the reporting software. Emissions shall be computed in accordance with the provisions of subsection 62-210.370(2), F.A.C.  Each Title V source must pay between January 15 and April 1 of each year an annual emissions fee in an amount determined as set forth in subsection 62-213.205(1), F.A.C.  The annual fee shall only apply to those regulated pollutants, except carbon monoxide and greenhouse gases, for which an allowable numeric emission-limiting standard is specified in the source’s most recent construction permit or operation permit.  Upon completing the required EAOR entries, the EAOR Title V Fee Invoice can be printed by the source showing which of the reported emissions are subject to the fee and the total Title V Annual Emissions Fee that is due.  The submission of the annual Title V emissions fee payment is also due (postmarked) by April 1st of each year.  A copy of the system-generated EAOR Title V Annual Emissions Fee Invoice and the indicated total fee shall be submitted to:  Major Air Pollution Source Annual Emissions Fee, P.O. Box 3070, Tallahassee, Florida  32315-3070.  Additional information is available by accessing the Title V Annual Emissions Fee On-line Information Center at the following Internet web site:  http://www.dep.state.fl.us/air/emission/tvfee.htm.  [Rules 62-210.370(3), 62-210.900 & 62-213.205, F.A.C.; and, §403.0872(11), Florida Statutes (2013)]

{Permitting Note:  Resources to help you complete your AOR are available on the electronic AOR (EAOR) website at:  http://www.dep.state.fl.us/air/emission/eaor.  If you have questions or need assistance after reviewing the information posted on the EAOR website, please contact the Department by phone at (850) 717-9000 or email at eaor@dep.state.fl.us.}

{Permitting Note:  The Title V Annual Emissions Fee form (DEP Form No. 62-213.900(1)) has been repealed.  A separate Annual Emissions Fee form is no longer required to be submitted by March 1st each year.}

The note pertaining to Permit Renewal following Facility-wide Condition 15. was revised to reference Appendix TV, rather than the replaced Appendix TV-6:

Permit Renewal - see Appendix TV-6, item 5TV, Condition TV18.

# CONCLUSION

The final action of the Department is to issue the permit with the minor corrections noted above.