Title V Air Operation Permit Revision

FINAL Permit No. 1150089-009-AV

Applicant

The applicant for this project is the Sarasota County Board of County Commissioners.  The applicant’s responsible official and mailing address are:  Ms. Lois Rose, Solid Waste Manager, Sarasota County Solid Waste Operations, 4000 Knights Trail Road, Nokomis, Florida  34276.

Facility Description

The applicant operates the Sarasota County Central County Solid Waste Disposal Complex, which is located at 4000 Knights Trail Road in Nokomis, Florida.

The existing facility is a municipal solid waste (MSW) landfill facility.  Landfill gas (primarily carbon dioxide, methane, and other organic compounds) generated by the decomposing MSW is collected by a landfill gas collection system and routed to a landfill gas flare for control of methane and non-methane organic compound (NMOC) emissions by combustion.  At this time the landfill gas collection and control (flare) system are not subject to NSPS 40 CFR 60 Subpart WWW since NMOC emissions for the year 2010 are estimated at 39.59 Mg/year, which is below the 50 Mg/year Subpart WWW trigger level for a landfill gas collection and control system.

The facility also includes miscellaneous stationary internal combustion engines used to power equipment used at the site.

Also included in this permit are miscellaneous unregulated/insignificant emissions units and/or activities.

Project DESCRIPTION

The applicant applied on May 16, 2014 to the Department for a Title V air operation permit revision.  The purpose of the application is to revise EU 007 to remove the existing Caterpillar Model 3056 (123.5 HP) emergency generator engine from the list of engines and add its replacement to the Title V permit.  The new unit, a John Deere (126 HP) emergency generator engine, will provide power service to the administration and scalehouse buildings at the Central County Solid Waste Disposal Complex.

Processing Schedule and Related Documents

05/16/2014	Title V Permit Revision 1150089-009-AV EPSAP application received the Department.
05/16/2014	Department determined Application is complete.  
06/11/2014	Written Notice of Intent and Draft/Proposed permit package mailed out.  
07/01/2014	Publication of Public Notice.
08/18/2014	Title V Air Operation Permit Revision 1050352-009-AV effective date.

All the documents related to this permitting action are posted under permit No.1150089-009-AV at the following web site address:  http://appprod.dep.state.fl.us/air/emission/apds/listpermits.asp

Primary Regulatory requirements

Title III:  The facility is not identified as a major source of hazardous air pollutants (HAP).

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The facility is not a Prevention of Significant Deterioration (PSD)-major source of air pollution in accordance with Rule 62-212.400, F.A.C.

NSPS:  The facility does operate units subject to the New Source Performance Standards (NSPS) of 40 Code of Federal Regulations (CFR) 60.

NESHAP:  The facility does operate units subject to the National Emissions Standards for Hazardous Air Pollutants (NESHAP) of 40 CFR 63.

CAIR:  The facility is not subject to the Clean Air Interstate Rule (CAIR) set forth in Rule 62-296.470, F.A.C.

CAM:  Compliance Assurance Monitoring (CAM) does not apply to any of the units at the facility.  The only emission control device is a LFG flare and it is not a required control device nor is the emission unit it is associated with subject to a specific emission limit.

PROJECT REVIEW

This Title V operation permit revision will delete information related to the existing Caterpillar Model 3056 (123.5 HP) emergency generator engine from the list of engines of Emission Unit 007 in Subsection C; and, it will create a new Subsection D to incorporate specific conditions for the new John Deere (126 HP) emergency generator engine.  This new unit is regulated under 40 CFR 63, Subpart ZZZZ, NESHAP for Stationary RICE and 40 CFR 60, Subpart IIII, NSPS for Stationary Compression Ignition RICE, adopted in Rules 62.204.800(11)(b) & (8)(b), F.A.C.  In accordance with provisions of 40 CFR 63.6590(c)(6), meeting the requirements of 40 CFR 60, Subpart IIII, satisfies compliance with the requirements of Subpart ZZZZ.

In addition, this permitting action will update the following documents:  Table H (Permitting History), Appendix RR (Reporting Requirements), Appendix TR (Testing Requirements) and Appendix TV (Title V General Conditions).  Changes to the permit made as part of this revision are shown in strike through format for deletions and in double underline format for additions.  For ease of identification, all changes have also been highlighted in yellow within the draft/proposed permit documents.

Conclusion

This project revises (1st time) the renewed Title V air operation permit No. 1150089-007-AV, which was issued/effective on March 8, 2011.  This Title V air operation permit revision is issued under the provisions of Chapter 403, Florida Statues (F.S.), and Chapters 62-4, 62-210 and 62-213, F.A.C.