Permittee

| Cutrale Citrus Juices USA, Inc. 11 Cloud Street Leesburg, Florida 34748 Authorized Representative: Edward Priest, Environmental Compliance Manager | Air Permit No. 0690002-019-AC Permit Expires: 6/30/2018 Air Construction Permit for Title V Facility Cutrale Citrus Juices USA, Inc. - Leesburg Revisions to Best Management Practices for Carbon Monoxide (CO) |
| --- | --- |

Project

This is the final air construction permit, which revises Permit No. 0690002-012-AC (PSD-FL-366).  Specifically, the permit revises the best management practices for carbon monoxide (CO) for the facility’s peel dryer, combustion turbine, and process boilers.  An incorrect reference to the burning of No. 2 fuel oil for Boiler #4 was removed from the Statement of Basis also.  The only equipment allowed to burn No. 2 fuel oil at the facility are the emergency generators.  Cutrale Citrus Juices USA, Inc. - Leesburg is a citrus processing plant categorized under Standard Industrial Classification No. 2037.  The existing facility is located in Lake County at 11 Cloud Street, Leesburg, Florida.  The UTM coordinates are Zone 17, 415.5 kilometers (km) East, and 3187.3 km North.

This final permit is organized into the following sections:  Section 1 (General Information) and Section 2 (Permit Revisions).  As noted in the Final Determination provided with this final permit, only minor changes and clarifications were made to the draft permit.

Statement of Basis

This air pollution construction permit is issued under the provisions of:  Chapter 403 of the Florida Statutes (F.S.) and Chapters 62-4, 62-204, 62-210, 62-212, 62-296 and 62-297 of the Florida Administrative Code (F.A.C.).  This project is subject to the general preconstruction review requirements in Rule 62-212.300, F.A.C. and is not subject to the preconstruction review requirements for major stationary sources in Rule 62-212.400, F.A.C. for the Prevention of Significant Deterioration (PSD) of Air Quality.  A copy of this permit modification shall be filed with the referenced permit and shall become part of the permit.

Upon issuance of this final permit, any party to this order has the right to seek judicial review of it under Section 120.68 of the Florida Statutes by filing a notice of appeal under Rule 9.110 of the Florida Rules of Appellate Procedure with the clerk of the Department of Environmental Protection in the Office of General Counsel (Mail Station #35, 3900 Commonwealth Boulevard, Tallahassee, Florida, 32399-3000) and by filing a copy of the notice of appeal accompanied by the applicable filing fees with the appropriate District Court of Appeal.  The notice must be filed within 30 days after this order is filed with the clerk of the Department.

EXECUTION AND CLERKING:

Executed in Orlando, Florida.

STATE OF FLORIDA DEPARTMENT OF ENVIRONMENTAL PROTECTION

# ___________________________

# Kimberly Rush, P.E.

Program Administrator

Permitting and Waste Cleanup

# CERTIFICATE OF SERVICE

# The undersigned duly designated deputy clerk hereby certifies that this permit and all copies were sent on the filing date below to the following listed persons:

# Edward Priest, Environmental Compliance Manager, Cutrale Citrus Juices USA, Inc., (epriest@cutrale.com)

# Reinaldo Kobayashi, Plant Manager, Cutrale Citrus Juices USA, Inc., (rkobayashi@cutrale.com)

# Scott Osbourn, P.E., Principal Consultant, Trinity Consultants, Inc., (sosbourn@trinityconsultants.com)

# Barbara Friday, DEP OPC, Barbara.Friday@dep.state.fl.us (for posting with EPA Region 4)

Lynn Scearce, DEP OPC, Lynn.Scearce@dep.state.fl.us (for posting with EPA Region 4)

FDEP: Kim Rush, P.E., Nathan Hess, Chris Ferraro, P.E., Jeff Rustin, P.E.

# Clerk Stamp

# FILING AND ACKNOWLEDGMENT FILED

# FILED, on this date, pursuant to Section 120.52, F. S., with the designated Department Clerk, receipt of which is hereby acknowledged.

# February 6, 2018

Clerk						            Date

Facility Description

The existing facility consists of one citrus peel dryer with waste heat evaporator, one pellet cooling reel, a steam boiler, a relocatable steam boiler, a cogeneration system, and emergency engines. The facility produces various citrus juice products and animal feed.

Facility Regulatory Classification

- The existing facility is a prevention of significant deterioration (PSD) major source of air pollutants in accordance with Rule 62-212.400, F.A.C.; therefore, the facility is a major stationary source in accordance with Rule 62-212.400(PSD), F.A.C.

- The facility is not a major source of hazardous air pollutants (HAP).

- The facility does not operate units subject to the acid rain provisions of the Clean Air Act (CAA).

- The facility is a Title V major source of air pollution in accordance with Chapter 62-213, F.A.C.  The facility is classified as a Title V facility for Carbon Monoxide (CO), Volatile Organic Compounds (VOC), and Nitrogen Oxides (NOx).

PROPOSED PROJECT

This project revises conditions authorized in Construction Permit No. 0690002-012-AC (PSD FL 366) for the facility’s peel dryer, combustion turbine, and boilers.  Specifically, the Best Management Practices for Carbon Monoxide are revised and simplified to correspond to units burning natural gas only.  An incorrect reference to the burning of No. 2 fuel oil for Boiler #4 was removed from the Statement of Basis also.  The only equipment allowed to burn No. 2 fuel oil at the facility are the emergency generators

The following permit conditions are revised as indicated.  Strikethrough is used to denote the deletion of text.  Double-underlines are used to denote the addition of text.  All changes are emphasized with yellow highlight.

Permit Being Modified:  Permit No. 0690002-012-AC (PSD-FL-366)

Affected Emissions Unit:  EU-005

Subsection 3A, Specific Condition 22:  This condition is revised as follows.

22.	Best Management Practices for Carbon Monoxide.  The facility shall operate its citrus peel dryer dryers in accordance with the manufacturer’s operating manual, or recommended operating practices provided by the manufacturer, equipment vendor, or a professional engineer registered in Florida, as well as with the practices described in this paragraph.  The facility shall report to the Department any failure to follow these practices, and shall make such report in writing within 7 days from discovery of such failure.  Records and copies of reports shall be maintained on site for a period of five years and shall be made available to the Department upon request.  For the citrus peel dryer operated using natural gas as fuel, the facility shall:

- Operate the citrus peel dryer in conformity to the manufacturer’s manual or recommended practices to insure optimal control of carbon monoxide.  From such manual practices, develop a checklist and document at least once every citrus season that the recommended operations are properly applied and practiced.

- Perform an inspection of combustion equipment as prescribed by the manufacturer or professional engineer, but no less than annually, and replace parts that are worn or improperly operating.

- Maintain a written plan with operating procedures for startup, shutdown and malfunction of the equipment, and follow that plan during these events;

- Maintain documentation to demonstrate compliance with items a, b and c above.

1.  Train dryer operators to perform the operating practices of this paragraph using the manuals and plans described, and allow only trained employees to operate dryers;

2.  Maintain a written plan with operating procedures for startup, shutdown, and malfunction of the equipment, and follow that plan during these events;

3.  Operate and maintain the burner and burner controls to maintain a proper air to fuel ratio;

4.  Visually check the flame characteristics once per operating shift;

5.  Monitor the moisture content of the dried peel exiting the dryer on a daily basis, and maintain that moisture content greater than six percent by weight at all times during operation;

6.  Make burner and burner control adjustments on an annual basis, or more frequently as required by visual checks;

7.  Perform an inspection of combustion equipment as prescribed by the equipment manufacturer or registered professional engineer, but no less often than annually, and replace parts that are worn or improperly operating;

8.  Keep records of combustion operations that document the operating practices described in this paragraph, such documentation shall include a manual, which can be the manufacturer’s operation manual, and daily logs; and

9.  Document maintenance performed on equipment and operating practices changes.

[Permit No. 0690002-012-AC   Application No.0690002-019-AC]

Permit Being Modified:  Permit No. 0690002-012-AC (PSD-FL-366)

Affected Emissions Units:  EU-004 and EU-008

Subsection 3C, Specific Condition 22:  This condition is revised as follows.

22.	Best Management Practices for Carbon Monoxide.  The facility shall operate its boilers in accordance with the manufacturer’s operating manual, or recommended operating practices provided by the manufacturer, equipment vendor, or a professional engineer registered in Florida, as well as with the practices described in this paragraph.  The facility shall report to the Department any failure to follow these practices, and shall make such report in writing within 7 days from discovery of such failure.  Records and copies of reports shall be maintained on site for a period of five years and shall be made available to the Department upon request.  For the boilers operated using natural gas as fuel, the facility shall:

- Operate the boilers in conformity to the manufacturer’s manual or recommended practices to insure optimal control of carbon monoxide.  From such manual and practices, develop a checklist and document at least once every citrus season that the recommended operations are properly applied and practiced.

- Perform an inspection of combustion equipment as prescribed by the equipment manufacturer or registered professional engineer, but no less often than annually, and replace parts that are worn or improperly operating.

- Maintain a written plan with operating procedures for startup, shutdown and malfunction of the equipment, and follow that plan during these events.

- Maintain documentation to demonstrate compliance with items a, b, and c above.

1. 	Train boiler operators to perform the operating practices of this paragraph using the manuals and 	plans described, and allow only trained employees to operate boilers;

2.  	Maintain a written plan with operating procedures for startup, shutdown and malfunction of the 	equipment, and follow that plan during these events;

3. 	Operate and maintain the burner and burner controls to maintain a proper air to fuel ratio;

4.  	Visually check the flame characteristics once per operating shift;

5.  	Make burner and burner control adjustments on an annual basis, or more frequently as required 	by visual checks;

6.  	Perform an inspection of combustion equipment as prescribed by the equipment manufacturer or 	registered professional engineer, but no less often than annually, and replace parts that are worn 	or improperly operating;

7.  	Keep records of combustion operations that document the operating practices described in this 	paragraph, such documentation shall include a manual, which can be the manufacturer’s 	operation manual, and daily logs; and

8.  	Document maintenance performed on equipment, and all normal processing equipment and 	operating practices changes.  [Rule 62-212.400 (BACT), F.A.C.  Application No.0690002-019-AC]

Permit Being Modified:  Permit No. 0690002-012-AC (PSD-FL-366)

Affected Emissions Unit:  EU-009

Subsection 3D, Specific Condition 31:  This condition is revised as follows.

31.	Best Management Practices for Carbon Monoxide.  Each The facility shall operate its boilers combustion turbine in accordance with the manufacturer’s operating manual, or recommended operating practices provided by the manufacturer, equipment vendor, or a professional engineer registered in Florida, as well as with the practices described in this paragraph.  The facility shall report to the Department any failure to follow these practices, and shall make such report in writing within 7 days from discovery of such failure.  Records and copies of reports shall be maintained on site for a period of five years and shall be made available to the Department upon request.  For the combustion turbine operated using natural gas as fuel, each the facility shall:

- Operate the combustion turbine in conformity to the manufacturer’s manual or recommended practices to insure optimal control of carbon monoxide.  From such manual and practices, develop a checklist and document at least once every citrus season that the recommended operations are properly applied and practiced.

- Perform an inspection of combustion equipment as prescribed by the equipment manufacturer or registered professional engineer, but no less often than annually, and replace parts that are worn or improperly operating.

- Maintain a written plan with operating procedures for startup, shutdown and malfunction of the equipment, and follow that plan during these events.

- Maintain documentation to demonstrate compliance with items a, b and c above.

1. 	Train boiler operators to perform the operating practices of this paragraph using the manuals and 	plans described, and allow only trained employees to operate boilers;

2.  	Maintain a written plan with operating procedures for startup, shutdown and malfunction of the 	equipment, and follow that plan during these events;

3. 	Operate and maintain the burner and burner controls to maintain a proper air to fuel ratio;

4.  	Visually check the flame characteristics once per operating shift;

5.  	Make burner and burner control adjustments on an annual basis, or more frequently as required by visual checks;

6.  	Perform an inspection of combustion equipment as prescribed by the equipment manufacturer or registered professional engineer, but no less often than annually, and replace parts that are worn or improperly operating;

7.  	Keep records of combustion operations that document the operating practices described in this paragraph, such documentation shall include a manual, which can be the manufacturer’s operation manual, and daily logs; and

8.  	Document maintenance performed on equipment, and all normal processing equipment and operating practices changes.  [Rule 62-4.070(3), F.A.C.  Application No. 0690002-019-AC]