Permittee

| Florida Power and Light Company (FPL) 21900 Southwest Warfield Boulevard Indiantown, Florida 34956 Authorized Representative: David (Brad) Williams, Regional Plant General Manager | Air Permit No. 0850001-037-AC Permit Expires: December 31, 2017 Minor Air Construction Permit Martin Power Plant Turbine Upgrades - Units 3 and 4 |
| --- | --- |

Facility And Location

This is the final air construction permit, which authorizes the installation of the GE 7FA.04 components to improve the performance of Units 3 and 4 (Units 3A through 4B).  The proposed work will be conducted at the FPL Martin Power Plant, which is an electric utilities plant categorized under Standard Industrial Classification No. 4911.  The existing facility Plant is located in Martin County at 21900 Southwest Warfield Boulevard in Indiantown, Florida.  UTM coordinates are:  Zone 17, 542.68 kilometers (km) East and 2992.65 km North.  The Latitude is:  27 03’ 25” North; and Longitude is:  80 33’ 55” West.

This final permit is organized into the following sections:  Section 1 (General Information); Section 2 (Administrative Requirements); Section 3 (Emissions Unit Specific Conditions); Section 4 (Appendices).  Because of the technical nature of the project, the permit contains numerous acronyms and abbreviations, which are defined in Appendix CF of Section 4 of this permit.

Statement of Basis

This air pollution construction permit is issued under the provisions of:  Chapter 403 of the Florida Statutes (F.S.) and Chapters 62-4, 62-204, 62-210, 62-212, 62-296 and 62-297 of the Florida Administrative Code (F.A.C.).  The permittee is authorized to conduct the proposed work in accordance with the conditions of this permit.  This project is subject to the general preconstruction review requirements in Rule 62-212.300, F.A.C. and the preconstruction review requirements for major stationary sources in Rule 62-212.400, F.A.C. for the Prevention of Significant Deterioration (PSD) of Air Quality.

Upon issuance of this final permit, any party to this order has the right to seek judicial review of it under Section 120.68 of the Florida Statutes by filing a notice of appeal under Rule 9.110 of the Florida Rules of Appellate Procedure with the clerk of the Department of Environmental Protection in the Office of General Counsel (Mail Station #35, 3900 Commonwealth Boulevard, Tallahassee, Florida, 32399-3000) and by filing a copy of the notice of appeal accompanied by the applicable filing fees with the appropriate District Court of Appeal.  The notice must be filed within 30 days after this order is filed with the clerk of the Department.

Executed in Tallahassee, Florida

For:

Jeffery F. Koerner, Deputy Director

Division of Air Resource Management

JFK/dlr

CERTIFICATE OF SERVICE

The undersigned duly designated deputy agency clerk hereby certifies that this Final Air Construction Permit package was sent by electronic mail, or a link to these documents made available electronically on a publicly accessible server, with received receipt requested before the close of business on the date indicated below to the following persons.

# David (Brad) Williams, FPL (david.williams@fpl.com)

# Kevin Washington, FPL (kevin.washington@fpl.com)

# Kennard F. Kosky, P.E., Golder and Associates (kkosky@golder.com)

# Southeast District:  sed.air@dep.state.fl.us

DEP Siting Office:  SCO@dep.state.fl.us

# Ms. Lynn Scearce, DEP OPC:  lynn.scearce@dep.state.fl.us

# Clerk Stamp

# FILING AND ACKNOWLEDGMENT FILED, on this date, pursuant to Section 120.52(7), Florida Statutes, with the designated agency clerk, receipt of which is hereby acknowledged.

Facility Description

This facility includes:  two 863.3 megawatts (MW) oil and natural gas fired conventional fossil fuel steam electric generating stations (Unit Nos. 1 and 2); two “2-on-1” oil and natural gas fired combined cycle combustion turbine systems (Units 3 and 4) with a matched unfired heat recovery steam generator (HRSG) with a total generating capacity of each 2-on-1 turbine system of approximately 500 MW; a “4-on-1” combined cycle system (Unit 8) consisting of four oil and natural gas fired combustion turbine/HRSG systems with a single steam turbine driven electrical generator with a total generating capacity of  approximately 1,150 MW.  The facility also includes one auxiliary boiler, emergency generators, four hurricane emergency shelter stationary spark ignition engine driven generators, two storage oil tanks, a mechanical cooling tower, and four electrical fuel line heaters.  Finally, there is also a solar thermal facility on-site that produces steam, which is used to augment the steam produced by the Unit 8 HRSG

A summary of the regulated existing emission units at the Martin Power Plant is given in table below.

| EU ID No. | ## Brief Description |
| --- | --- |
| 001 | Fossil Fuel Fired Steam Generator No. 1 |
| 002 | Fossil Fuel Fired Steam Generator No. 2 |
| 003 | Combustion Turbine with Heat Recovery Steam Generator (CT 3A) |
| 004 | Combustion Turbine with Heat Recovery Steam Generator (CT 3B) |
| 005 | Combustion Turbine with Heat Recovery Steam Generator (CT 4A) |
| 006 | Combustion Turbine with Heat Recovery Steam Generator (CT 4B) |
| 007 | Auxiliary Boiler (for Emissions Units 003 to 006) |
| 011 | Combustion Turbine with Heat Recovery Steam Generator (CT 8A) |
| 012 | Combustion Turbine with Heat Recovery Steam Generator (CT 8B) |
| 014 | Two Distillate Oil Storage Tanks for Unit 8 Gas Turbines |
| 017 | Combustion Turbine with Heat Recovery Steam Generator (CT 8C) |
| 018 | Combustion Turbine with Heat Recovery Steam Generator (CT 8D) |
| 019 | Mechanical Draft Cooling Tower for Unit 8 |
| 022 | One Diesel Engine-driven Emergency Fire Pump |
| 023 | Four Hurricane Emergency Shelter Stationary Spark Ignition Engines |
| 024 | One Spark Ignition Engine-driven Emergency Generator |

ProPOSED PRoject

The applicant proposes to upgrade the four combustion turbines (Units 3A through 4B, Units 3 and 4) during an otherwise routine maintenance outage.  The changes will increase the efficiency of each CT by installing new hot gas path components, combustion liners, flow sleeves and new control software characteristic of the more recent GE Model 7FA.04 CT.  Details of the project are provided in the application and the Technical Evaluation and Preliminary Determination which is issued concurrently with this draft permit.

Regulatory Classification

Title III:  The facility is identified as a major source of hazardous air pollutants (HAP).

Title IV:  The facility operates units subject to the acid rain provisions of the Clean Air Act.

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The facility is a Prevention of Significant Deterioration (PSD)-major stationary source in accordance with Rule 62-212.400, F.A.C

NSPS:  The facility operates units subject to the New Source Performance Standards (NSPS) of 40 CFR 60.

- Permitting Authority:  The Permitting Authority for this project is the Office of Permitting and Compliance (OPC) in the Division of Air Resource Management of the Department.  The mailing address for the OPC is 2600 Blair Stone Road, MS #5505, Tallahassee, Florida  32399-2400.  All documents related to applications for permits to operate an emissions unit shall be submitted to the OPC Section.

- Compliance Authority:  All documents related to compliance activities such as reports, tests and notifications shall be submitted to the Southeast District Office.  The mailing address and phone number of the Southwest District Office is:   3301 Gun Club Road, MSC 7210-1, West Palm Beach, FL 33406, 561-681-6600 or 76600.

- Appendices.  The following Appendices are attached as part of this permit:

- Appendix A.  Citation Formats and Definitions;

- Appendix B.  General Conditions;

- Appendix C.  Common Conditions;

- Appendix D.  Common Testing Requirements;

- Appendix E: 40 CFR 60, Appendix C - Determination of Emission Rate Change; and

- Appendix F:  Student's t test Table.

- Applicable Regulations, Forms and Application Procedures:  Unless otherwise specified in this permit, the construction and operation of the subject emissions units shall be in accordance with the capacities and specifications stated in the application.  The facility is subject to all applicable provisions of: Chapter 403, F.S.; and Chapters 62-4, 62-204, 62-210, 62-212, 62-213, 62-296 and 62-297, F.A.C.  Issuance of this permit does not relieve the permittee from compliance with any applicable federal, state, or local permitting or regulations.

- New or Additional Conditions:  For good cause shown and after notice and an administrative hearing, if requested, the Department may require the permittee to conform to new or additional conditions.  The Department shall allow the permittee a reasonable time to conform to the new or additional conditions, and on application of the permittee, the Department may grant additional time.  [Rule 62-4.080, F.A.C.]

- Modifications.  No emissions unit shall be constructed or modified without obtaining an air construction permit from the Department.  Such permit shall be obtained prior to beginning construction or modification.  [Rules 62-210.300(1) and 62-212.300(1)(a), F.A.C.]

- Source Obligation.  At such time that a particular source or modification becomes a major stationary source or major modification (as these terms were defined at the time the source obtained the enforceable limitation) solely by exceeding its projected actual emissions, then the requirements of subsections 62-212.400(4) through (12), F.A.C., shall apply to the source or modification as though construction had not yet commenced on the source or modification.  [Rule 62-212.400(12), F.A.C.]

- Construction.  This permit authorizes the installation of GE 7FA.04 components for Units 3 and 4 (designated as Units 3A through 4B); and, the initial operation after the replacement to determine compliance with Department rules.  The permittee, for good cause, may request that this construction permit be extended.  Such a request shall be submitted to the Department’s Office of Permitting and Compliance prior to the expiration of this permit.  [Rules 62-210.300(1), 62-4.070(4) 62-4.080, and 62-4.210, F.A.C.]

- Application for Title V Permit:   A Title V air operation permit is required for regular operation of the permitted emissions unit.  The permittee shall apply for a Title V air operation permit at least 90 days prior to expiration of this permit, but no later than 180 days after commencing operation.  To apply for a Title V operation permit, the applicant shall submit the appropriate application form, compliance test results, and such additional information as the Department may by law require.  The application shall be submitted to the appropriate Permitting Authority with copies to the Compliance Authority.  [Rules 62-4.030, 62-4.050, 62-4.220 and Chapter 62-213, F.A.C.]

- NSPS, Subpart KKKK Applicability Determination:  The permittee shall submit an applicability analysis related to 40 CFR 60, Subpart KKKK – Standards of Performance for Stationary Combustion Turbines with the Title V Permit application required by Section 2, Condition 9 above.  A compliance schedule and methodology shall be submitted with the Title V permit application for the emissions unit(s) that have not completed the required testing.  The report shall include information as detailed in Section 3, Specific Condition No. 3.

This section of the permit addresses the following emissions units.

| EU ID No. | ## Brief Description |
| --- | --- |
| 003 | Combustion Turbine with Heat Recovery Steam Generator (CT 3A) |
| 004 | Combustion Turbine with Heat Recovery Steam Generator (CT 3B) |
| 005 | Combustion Turbine with Heat Recovery Steam Generator (CT 4A) |
| 006 | Combustion Turbine with Heat Recovery Steam Generator (CT 4B) |

Previous Applicable Requirements

- Other Permits.  The conditions of this permit supplement all previously issued air construction and operation permits for these emissions units.  Unless otherwise specified below, these conditions are in addition to all other applicable permit conditions and regulations.  The facility remains subject to all of the requirements contained in all previously issued air construction permits for this facility. [Rule 62-4.070, F.A.C.]

NEW EQUIPMENT

This permit allows the installation of new GE turbine components to improve the performance of Units 3 and 4 (designated as Units 3A through 4B).

- Combustion Turbine Improvements on Unis 3 and 4:  The permittee is authorized to conduct the following work on Units 3 and 4 (designated as Units 2A through 4B) including the replacement of various components of the GE Series 7FA.03 gas turbines with upgraded components of the Series 7FA.04 version including (but not limited to) the following:

- New hot gas path components;

- New combustion liners and flow sleeves; and

- New control software.

[Application No. 0850001-037-AC]

##### NSPS APPLICABILITY TESTS

- NSPS, KKKK Applicability Determination:  The permittee shall conduct tests in accordance with 
40 CFR 60, Appendix C - Determination of Emission Rate Change.  The permittee shall submit the data with the Title V Permit application required by Section 2, Condition 9 above.  The submittal shall include a preliminary inference whether the short-term NOX emission rates (in pounds per hour), while operating in the normal combined cycle mode and burning natural gas, after the change are greater than before the change with 95% confidence and an analysis regarding the applicability of 40 CFR 60, Subpart KKKK – Standards of Performance for Stationary Combustion Turbines.  The tests shall be conducted using the installed NOX CEMS with the units operated as if a manual test were being performed.  Valid data using the averaging time which would be required if a manual emission test were being conducted shall be used.  The number (n) of runs shall be between 20 and 29.  If test data shows NOX emissions for any combustion turbine increases, the permittee will become subject to 40 CFR 60, Subpart KKKK, and shall immediately begin complying with all of the provisions applicable to the unit.  In such case, the applicable provisions of 40 CFR 60, Subpart KKKK will be incorporated into the Title V air operation permit during the next revision or renewal.  [Rule 62-4.070, F.A.C., Application 0850001-037-AC]