Florida Department of Environmental Protection

Division of Air Resource Management, Office of Permitting and Compliance

# Draft Air Permit No. 1010524-001-AC (PSD-FL-444)

Shady Hills Energy Center, LLC, Shady Hills Combined Cycle Facility

Pasco County, Florida

Applicant:  The applicant for this project is Shady Hills Energy Center, L.L.C., (SHEC).  The applicant’s authorized representative and mailing address is:  Mr. Roy S. Belden, Vice President, SHEC, 901 Main Avenue, Norwalk, Connecticut 06851.

Facility Location:  SHEC proposes to construct and operate the new Shady Hills Combined Cycle Facility (SHCCF), which will be in Pasco County at 14240 Merchant Energy Way in Shady Hills, Florida.  The SHCCF project is intended to be separate from the existing Shady Hills Generating Station (SHGS), which is owned and operated by a separate entity, Shady Hills Power Company, LLC (SHPC).

Project:  The SHCCF will be constructed on an approximately 14-acre parcel east of the existing SHGS power island (facility ID No. 1010373).  The new facility will consist of a 573-megawatt (MW) (winter) 1-on-1 combined cycle unit which includes a heat recovery steam generator with duct firing, along with supporting equipment.  Natural gas will be the only permitted fuel for the combined cycle unit.  The natural gas will be provided by an existing pipeline connection to the Florida Gas Transmission lateral.  Other sources of air emissions will include a natural gas fired auxiliary boiler, two circuit breakers, one emergency diesel generator, an emergency diesel fire pump engine and a mechanical draft auxiliary cooling system.

The project is subject to preconstruction review for the Prevention of Significant Deterioration (PSD) of Air Quality in accordance with Rule 62-212.400, Florida Administrative Code (F.A.C.).  Based on the air permit application, the project will result in emissions increases of:  187.5 tons per year of carbon monoxide (CO); 126.2 tons per year of nitrogen oxides (NOX); 76.0 tons per year of particulate matter (PM); 63.1 tons per year of particulate matter with a mean diameter of 10 microns or less (PM10); 59.9 tons per year of particulate matter with a mean diameter of 2.5 microns or less (PM2.5); 15.2 tons per year of sulfuric acid mist (SAM); 15.2 tons per year of sulfur dioxide (SO2); and 1,885,409 tons per year of carbon dioxide equivalents (CO2e).  As defined in Rule 62-210.200, F.A.C., the project results in significant net emissions increases for CO, NOX, PM, PM10, PM2.5, SAM, SO2, and CO2e which refers to greenhouse gases (GHG).

For each PSD-significant pollutant, the Department is required to determine the Best Available Control Technology (BACT) and evaluate the applicant’s Air Quality Analysis regarding ambient impacts due to the project.  The Department’s preliminary BACT determinations for these pollutants are based on:  Monthly methane measurements, energy efficiency and clean fuels to control GHG emissions; good combustion practices will be utilized to minimize CO emission; a selective catalytic reduction system on the combustion turbine with ammonia injection in conjunction with Dry Low NOX combustors to control NOX emissions; and clean, low-sulfur fuels to control SO2, SAM, and PM/PM10/PM2.5 emissions.

The Department reviewed an air quality analysis prepared by the applicant.  The closest Class I area to the project is the Chassahowitzka National Wilderness Area, located approximately 17.5 miles from the project site.  However, a Class I increment analysis was not required because modeled emissions from the project did not lead to concentrations above the Class I significant impact level for any pollutant.  Furthermore, Class II increment analyses were also not required because modeled emissions from the project did not exceed the Class II significant impact levels for any pollutant.  Based on the analysis, emissions from the project will not cause, or contribute to, a violation of any ambient air quality standards.

Permitting Authority:  Applications for air construction permits are subject to review in accordance with the provisions of Chapter 403, Florida Statutes (F.S.) and Chapters 62-4, 62-210 and 62-212, F.A.C.  The proposed project is not exempt from air permitting requirements and an air permit is required to perform the proposed work.  The Division of Air Resource Management’s (DARM) Office of Permitting and Compliance is the Permitting Authority responsible for making a permit determination for this project.  The Permitting Authority’s physical address is:  2600 Blair Stone Road, Tallahassee, Florida.  The Permitting Authority’s mailing address is:  2600 Blair Stone Road, MS #5505, Tallahassee, Florida 32399-2400.  The Permitting Authority’s telephone number is 850-717-9000.

# Project File:  A complete project file is available for public inspection during the normal business hours of 8:00 a.m. to 5:00 p.m., Monday through Friday (except legal holidays), at the address indicated above for the Permitting Authority.  The complete project file includes the Draft Permit, the Technical Evaluation and Preliminary Determination, the application, and the information submitted by the applicant, exclusive of confidential records under Section 403.111, F.S.  Interested persons may contact the Permitting Authority’s project review engineer for additional information at the address and phone number listed above.  In addition, electronic copies of these documents are available on the following web site by entering draft permit number:  https://fldep.dep.state.fl.us/air/emission/apds/default.asp.

Notice of Intent to Issue Air Permit:  The Permitting Authority gives notice of its intent to issue an air permit to the applicant for the project described above.  The applicant has provided reasonable assurance that operation of the proposed equipment will not adversely impact air quality and that the project will comply with all applicable provisions of Chapters 62-4, 62-204, 62-210, 62-212, 62-296 and 62-297, F.A.C.  The Permitting Authority will issue a Final Permit in accordance with the conditions of the proposed Draft Permit unless a timely petition for an administrative hearing is filed under Sections 120.569 and 120.57, F.S. or unless public comment received in accordance with this notice results in a different decision or a significant change of terms or conditions.

Comments:  The Permitting Authority will accept written comments concerning the proposed Draft Permit and requests for a public meeting for a period of 30 days from the date of publication of the Public Notice.  Written comments must be received by the Permitting Authority by close of business (5:00 p.m.) on or before the end of this 30-day period.  In addition, if a public meeting is requested within the 30-day comment period and conducted by the Permitting Authority, any oral and written comments received during the public meeting will also be considered by the Permitting Authority.  If timely received comments result in a significant change to the Draft Permit, the Permitting Authority shall revise the Draft Permit and require, if applicable, another Public Notice.  All comments filed will be made available for public inspection.

Petitions:  A person whose substantial interests are affected by the proposed permitting decision may petition for an administrative hearing in accordance with Sections 120.569 and 120.57, F.S.  Petitions filed by any persons other than those entitled to written notice under Section 120.60(3), F.S., must be filed within 14 days of publication of the Public Notice or receipt of a written notice, whichever occurs first.  Under Section 120.60(3), F.S., however, any person who asked the Permitting Authority for notice of agency action may file a petition within 14 days of receipt of that notice, regardless of the date of publication.  A petitioner shall mail a copy of the petition to the applicant at the address indicated above, at the time of filing.  A petition for administrative hearing must contain the information set forth below and must be filed (received) with the Agency Clerk in the Office of General Counsel, 3900 Commonwealth Boulevard, MS 35, Tallahassee, Florida 32399-3000, Agency_Clerk@dep.state.fl.us, before the deadline.  The failure of any person to file a petition within the appropriate time period shall constitute a waiver of that person’s right to request an administrative determination (hearing) under Sections 120.569 and 120.57, F.S., or to intervene in this proceeding and participate as a party to it.  Any subsequent intervention (in a proceeding initiated by another party) will be only at the approval of the presiding officer upon the filing of a motion in compliance with Rule 28-106.205, F.A.C.

A petition that disputes the material facts on which the Permitting Authority’s action is based must contain the following information: (a) The name and address of each agency affected and each agency’s file or identification number, if known; (b) The name, address, any email address, telephone number and any facsimile number of the petitioner; the name, address any email address, telephone number, and any facsimile number of the petitioner’s representative, if any, which shall be the address for service purposes during the course of the proceeding; and an explanation of how the petitioner’s substantial interests will be affected by the agency determination; (c) A statement of when and how each petitioner received notice of the agency action or proposed decision; (d) A statement of all disputed issues of material fact.  If there are none, the petition must so state; (e) A concise statement of the ultimate facts alleged, including the specific facts the petitioner contends warrant reversal or modification of the agency’s proposed action; (f) A statement of the specific rules or statutes the petitioner contends require reversal or modification of the agency’s proposed action including an explanation of how the alleged facts relate to the specific rules or statutes; and, (g) A statement of the relief sought by the petitioner, stating precisely the action the petitioner wishes the agency to take with respect to the agency’s proposed action.  A petition that does not dispute the material facts upon which the Permitting Authority’s action is based shall state that no such facts are in dispute and otherwise shall contain the same information as set forth above, as required by Rule 28-106.301, F.A.C.

Because the administrative hearing process is designed to formulate final agency action, the filing of a petition means that the Permitting Authority’s final action may be different from the position taken by it in this Public Notice of Intent to Issue Air Permit.  Persons whose substantial interests will be affected by any such final decision of the Permitting Authority on the application have the right to petition to become a party to the proceeding, in accordance with the requirements set forth above.

Mediation:  Mediation is not available in this proceeding.