Title V Air Operation Permit Renewal

Permit No. 0050031-013-AV

Applicant

The applicant for this project is Bay County Utility Services.  The applicant’s responsible official and mailing address are:  Glenn Ogborn, Solid Waste Superintendent, Bay County Utility Services, Bay County Waste-to-Energy Facility, 3410 Transmitter Road, Panama City, Florida  32404.

Facility Description

The applicant operates the existing Bay County Waste-to-Energy Facility, which is located in Bay County at 6510 Bay Line Drive, Panama City, Florida.

This existing facility consists of two Municipal Waste Combustors (MWC) with a maximum individual charging rate of 255 tons per day (TPD) of Municipal Solid Waste (MSW) at a heating value of 4,500 Btu/lb (a total of 510 TPD for the facility, equivalent to 68,000 lb/hr steam per unit for 24-hour rolling average).  The emission units are mass burn rotary waterwall technology and identical in configuration.  The manufacturer is O’Connor Combustor.  Both units are coupled to a common steam-electrical generator with a nameplate rating of 15 megawatts (MW) of electricity.  The facility has two identical stacks identified as MWC Unit 1 North and MWC Unit 2 South and each are 141 feet high with an exit diameter of five feet.  The emissions units’ initial startup date was May 1, 1987.

To comply with the NSPS at 40 CFR 60, Subpart Cb, the following control equipment has been installed and operating to meet the requirements of the subpart:  baghouse system; spray dryer absorber system, including two slakers and a lime silo to make lime slurry; and, activated carbon injection system with silo.  Particulate matter emissions are controlled by the baghouse system.  Mercury, other metals and dioxins/furans are controlled by the activated carbon injection with removal by the baghouse system.  Sulfur dioxide, hydrochloric acid, sulfuric acid mist and fluoride emissions are controlled by the spray dryer absorber with lime slurry injection and baghouse collection.

Also included in this permit are miscellaneous unregulated/insignificant emissions units and/or activities.

Project DESCRIPTION

The purpose of this permitting project is to renew the existing Title V air operation permit for the above referenced facility and to incorporate the changes authorized in project No. 0050031-012-AC (PSD-FL-129E).  Which was issued in response to the applicant’s request that MWC Units 1 and 2 be re-rated to the original throughput of 255 tons per day per unit of municipal solid waste.  The increased rating reclassified MWC Units 1 and 2 as large municipal waste combustors and subjected them to the regulation pursuant to the NSPS, 40 CFR 60, Subpart Cb, Large Municipal Waste Combustors constructed on or before September 20, 1994.

Processing Schedule and Related Documents

Application for a combined air construction (AC) permit revision and a Title V air operation permit (AV) renewal received February 1, 2010.

Combined request for additional information sent March 29, 2010.

Combined additional information response received April 26, 2010.

Additional information for the AC project was received May 24, 2010.

Request to issue AC and AV separately received June 7, 2010.

2nd request for additional information related to internal combustion engines sent June 17, 2010.

Additional information response received July 2, 2010, application deemed complete.

Draft/proposed Title V permit issued month DD, 2010.

Public Notice published month DD, 2010.

Primary Regulatory requirements

Title III:  The facility is identified as a major source of hazardous air pollutants (HAP).

Title IV:  The facility does not operate units subject to the acid rain provisions of the Clean Air Act.

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The facility is a Prevention of Significant Deterioration (PSD)-major source of air pollution in accordance with Rule 62-212.400, F.A.C.

NSPS:  The facility operates units subject to the New Source Performance Standards (NSPS) of Title 40 of the Code of Federal Regulations, Part 60 (40 CFR 60).

CAM:  Compliance Assurance Monitoring (CAM) does not apply to the units at the facility because continuous emissions monitors are being used as the continuous compliance determination method for each pollutant which has an add-on control device installed in order to comply with the emissions limit.

NESHAP:  The facility operates units subject to the National Emission Standards of Hazardous Air Pollutants (NESHAP) of Title 40 of the Code of Federal Regulations, Part 63 (40 CFR 63).

PROJECT REVIEW

This project is for the renewal of Title V air operation permit, No. 0050031-010-AV, and to incorporate the changes authorized in air construction permit No. 0050031-012-AC (PSD-FL-129E), for the existing Bay County Waste-to-Energy Facility.  The applicant requested that MWC Units 1 and 2 be rerated from 245 TPD per unit of MSW to 255 TPD per unit of MSW, which was the original unit capacity.  This change reclassified the units from small MWC subject to the NSPS provisions in Subpart BBBB to large MWC subject to the emissions guidelines in Subpart Cb.  The rerating requires the installation of new fan blades in each unit to achieve the higher throughput rate and provide increased energy efficiency.  The permit has been reformatted to reflect the current permit style.

Conclusion

This project renews Title V air operation permit No. 0050031-010-AV, which was effective on august 1, 2005.  This Title V air operation permit renewal is issued under the provisions of Chapter 403, Florida Statues (F.S.), and Chapters 62-4, 62-210 and 62-213, F.A.C.