Title V Air Operation Permit Renewal

Permit No. 0112370-007-AV

Applicant

The applicant for this project is Broward County Solid Waste and Recycling Services (SWRS).  The applicant’s responsible official and mailing address are:  Richard Meyers, SWRS Program Manager, Broward County SWRS, Broward County Landfill, 1 North University Drive, Suite 400, Plantation, Florida  33324.

Facility Description

The applicant operates the existing Broward County Landfill, which is in Broward County at 7101 SW 205th Avenue, Unincorporated Broward County, Florida.

The Broward County Landfill consists of a Municipal Solid Waste (MSW) disposal facility (landfill) having a capacity equal to or greater than 2.5 million megagrams by mass or 2.5 million cubic meters by volume.  The landfill began accepting MSW in September of 1988.  The landfill has installed and operates a landfill gas collection and control system (GCCS) composed of 19 gas extraction wells and an open candlestick flare (nominal capacity 750 standard cubic feet per minute (scfm)).  This GCCS and flare were installed voluntarily by the facility for odor mitigation (i.e., not required by any federal or state regulation).

At this time, the Broward County Landfill is not accepting MSW.  The landfill has not accepted MSW since April 1991.  The waste accepted by the landfill is non-putrescible waste, primarily construction and demolition and bulk debris.  The majority of MSW in Broward County is sent to the Wheelabrator South facility to be combusted for power generation and resource recovery.  The Broward County Landfill is filling at a rate such that the amount of nonmethane organic compounds generated is below 50 megagrams per year.  The facility does not accept any asbestos containing materials.  The landfill does not operate as a bioreactor.

The facility has a 200-kilowatt (kW) emergency generator that is driven by a diesel reciprocating internal combustion engine.  The manufacture date of this generator is estimated to be 1989 or 1990.

The facility has a vehicle refueling operation and stationary fuel storage tanks that are subject to 40 CFR 63, Subpart CCCCCC - National Emission Standards for Hazardous Air Pollutants (NESHAP) for Source Category:  Gasoline Dispensing Facilities.

This facility also includes miscellaneous unregulated/insignificant emissions units and/or activities.

regulated Emissions Unit IDentification Numbers and descriptions

| EU No. | ## Brief Description |
| --- | --- |
| Regulated Emissions Units |  |
| 001 | Municipal Solid Waste Landfill and Landfill Gas Collection System |
| 005 | 200 kW Diesel Engine Driven Emergency Generator |
| 006 | Gasoline Dispensing Facilities |
| Unregulated Emissions Units and Activities (see Appendix U, List of Unregulated Emissions Units and/or Activities) |  |
| 007 | 750 scfm Open Candlestick Utility Flare |

Applicable Regulations

Based on the Title V air operation permit renewal application received on September 26, 2017, this facility is not a major source of hazardous air pollutants (HAP).  The existing facility is not a prevention of significant deterioration (PSD) major source of air pollutants in accordance with Rule 62-212.400, F.A.C.  A summary of applicable regulations is shown in the following table:

| Regulation | ## EU No(s). |
| --- | --- |
| Federal Rule Citations |  |
| 40 CFR 63, Subpart A - General Provisions. | 005, 006 |
| 40 CFR 63, Subpart ZZZZ - NESHAP for Stationary Reciprocating Internal Combustion Engines. | 005 |
| 40 CFR 63, Subpart CCCCCC - NESHAP for Source Category: Gasoline Dispensing Facilities. | 006 |
| State Rule Citations |  |
| Chapter 62-4, F.A.C.: Permits. | 001, 005 |
| Rule 62-204.800, F.A.C.: Federal Regulations Adopted by Reference. | 001, 005 |
| Rule 62-204.800(9)(c), F.A.C.: Municipal Solid Waste Landfills. | 001 |
| Rule 62-210.200, F.A.C.: Definitions. | 001, 005 |
| Rule 62-210.300, F.A.C.: Permits Required. | 001, 005, & 006 |
| Chapter 62-213, F.A.C.: Operation Permits for Major Sources of Air Pollution. | 001, 005 |
| Rule 62-296.320, F.A.C.: General Pollutant Emission Limiting Standards. | 001, 005, & 006 |
| Rule 62-297.310, F.A.C.: General Emissions Test Requirements. | 001, 005 |

Project DESCRIPTION

The purpose of this permitting project is to renew the existing Title V permit for the above referenced facility.

Processing Schedule and Related Documents

September 26, 2017	Application for a Title V Air Operation Permit Renewal received.

November 3, 2017	Additional information requested.

February 1, 2018	Additional information received; application complete.

February 9, 2018	Draft permit issued.

March 23, 2018	Proposed permit issued.

May XX, 2018	Final permit issued.

Primary Regulatory requirements

Standard Industrial Classification (SIC) Code:  4953 - Refuse Systems.

North American Industry Classification System (NAICS):  562212 - Solid Waste Landfill.

HAP:  The facility is not identified as a major source of hazardous air pollutants (HAP).

Title IV:  The facility does not operate units subject to the acid rain provisions of the Clean Air Act.

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The facility is not a Prevention of Significant Deterioration (PSD) major source of air pollution in accordance with Rule 62-212.400, F.A.C.

NSPS:  The facility does not operate units subject to the New Source Performance Standards (NSPS) of 40 Code of Federal Regulations (CFR) 60.

NESHAP:  The facility operates units subject to the National Emissions Standards for Hazardous Air Pollutants (NESHAP) of 40 CFR 63.

CAM:  Compliance Assurance Monitoring (CAM) does not apply to any of the units at the facility.

GHG:  The facility is not identified as a major source of greenhouse gas (GHG) pollutants.

PROJECT REVIEW

This Title V permit renewal addresses rule applicability for all units at the facility and re-formats the entire permit, including emissions units and conditions.

The landfill emissions unit (EU 001) is subject to Rule 62-204.800(9)(c), F.A.C., which adopted and incorporated the emission guidelines contained in NSPS 40 CFR 60, Subpart Cc - Emission Guidelines and Compliance Times for Municipal Solid Waste Landfills.  The landfill emissions unit is not subject to NSPS 40 CFR 60, Subpart WWW, or NESHAP 40 CFR 63, Subpart AAAA, as indicated in previous Title V air operation permits.  Details of this rule applicability can be found in Section III, Subsection A of this permit.

The flare that was originally included in EU 001 was moved as an unregulated unit to be EU 007.  The emergency generator emission unit ID number was updated to EU 005.  Gas dispensing activities were added as a regulated emissions unit (EU 006).

Appendices are organized and updated to the current versions.

Conclusion

This project renews Title V air operation permit No. 0112370-006-AV, which was effective on May 10, 2013.  This Title V air operation permit renewal is issued under the provisions of Chapter 403, Florida Statues (F.S.), and Chapters 62-4, 62-210, and 62-213, F.A.C.