Title V Air Operation Permit Revision

Permit No. 0330082-015-AV

Applicant

The applicant for this project is the United States Navy Naval Air Station (NAS) Pensacola facility.  The applicant’s responsible official and mailing address are:  Mr. Mark W. Gibson, Environmental Director, NAVFAC SE, Public Works Department, 310 John Towers Road, Building 3560, Pensacola, Florida  32508.

Facility Description

The applicant operates the existing NAS Pensacola facility, which is located in Escambia County at 310 John Towers Road, Pensacola, Florida.

The primary mission of the NAS Pensacola Complex is to provide training of Navy, Marine and Air Force personnel.  Several training commands are located at this base, including Naval Education Training Command (NETC).  The Public Works Department (PWD) provides public works support to all tenants on NAS Pensacola.  Its operations include maintenance, repair, construction, utilities, transportation services, engineering services and shore facilities planning.

NAS Pensacola Complex is a Naval Training Facility which provides facilities and support for air training operations of aircraft crews and commands, supports fleet and shore-based personnel, maintains and operates the base facilities and provides services and materials to support operation of the aviation activities.  Air pollutant emitting activities associated with NAS result from facilities required for the training activities such as fuel storage tanks; fuel burning equipment such as boilers, heaters, and emergency generators.  The PWD maintains support facilities, such as the boiler plants, emergency generators and other facilities.

This facility consists of natural gas fired steam boilers; gasoline dispensing facilities; one bulk gasoline distribution plant; and stationary emergency internal combustion engines (ICE).  The facility has a facility-wide natural gas fuel usage capacity limit of 385 million cubic feet per year requested by the Permittee to help simplify record keeping while maintaining the facility as a minor stationary source for Prevention of Significant Deterioration (PSD).

This facility also includes miscellaneous unregulated/insignificant emissions units and/or activities.

| EU No. | ## Brief Description |
| --- | --- |
| Regulated Emissions Units |  |
| 039 | 16 Natural Gas Fired Steam Boilers, totaling 53.11 MMBtu/hr |
| 041 | One (1) GDF consisting of four (4) gasoline storage tanks w/ throughput greater than 100,000 gal/month |
| 045 | One (1) GDF consisting of two (2) gasoline storage tanks w/ throughput greater than 10,000 gal/month |
| 046 | Seven (7) Gasoline Dispensing Facility consisting of one (1) gasoline storage tank each w/ throughput less than 10,000 gal/month |
| 047 | Gasoline Distribution Terminal-Bulk Tank |
| 048 | Stationary Emergency ICE constructed prior to 6-12-2006 |
| 049 | Stationary Emergency CI ICE displacement <30 liters per cylinder constructed after 6-12-2006 |
| 052 | Portable Hot Mix Asphalt Plant w/ Baghouse |
| Unregulated Emissions Units and Activities (see Appendix U, List of Unregulated Emissions Units and/or Activities) |  |
| 040 | 65 Natural Gas Fired Hot Water Boilers/heaters totaling 151 MMBtu/hr |

Applicable Regulations

Based on the Title V air operation permit revision application received on July 13, 2017, this facility is not a major source of hazardous air pollutants (HAP).  The existing facility is not a prevention of significant deterioration (PSD) major source of air pollutants in accordance with Rule 62-212.400, F.A.C.  A summary of applicable regulations is shown in the following table:

| Regulation | ## EU No(s). |
| --- | --- |
| Federal Rule Citations |  |
| 40 CFR 60, Subpart A, NSPS General Provisions | 039, 041, 045, 046, 047, 049 |
| 40 CFR 60, Subpart I | 052 |
| 40 CFR 60, Subpart IIII | 049 |
| 40 CFR 63, Subpart BBBBBB | 047 |
| 40 CFR 63, Subpart CCCCCC | 041, 045, 046 |
| 40 CFR 63, Subpart ZZZZ | 048 |
| State Rule Citations |  |
| Rule 62-4.070, F.A.C. (Permitting) | 039, 041, 045, 046, 047, 049 |
| Rule 62-204.800, F.A.C. (Federal Regulations Adopted) | 039, 041, 045, 046, 047, 049 |
| Rule 62-210.200, F.A.C. (Definitions) | 039, 041, 045, 046, 047, 049 |
| Rule 62-210.300, F.A.C. (Permits Required) | 039, 041, 045, 046, 047, 049 |
| Rule 62-210.370, F.A.C. (Emissions Computation and Reporting) | 039, 041, 045, 046, 047, 049 |
| Rule 62-210.700, F.A.C. (Excess Emissions) | 039, 041, 045, 046, 047, 049 |
| Rule 62-213.205, F.A.C. (Annual Emission Fee) | 039, 041, 045, 046, 047, 049 |
| Rule 62-213.410, F.A.C. (Permit Changes without Revision) | 039, 041, 045, 046, 047, 049 |
| Rule 62-213.440, F.A.C. (Permit Content) | 039, 041, 045, 046, 047, 049 |
| Rule 62-252.300, F.A.C. (Gasoline Dispensing Facilities) | 041, 045 |
| Rule 62-296.320, F.A.C. (General Pollutant Emission Limiting Standards) | 039, 041, 045, 046, 047, 049 |
| Rule 62-296.406, F.A.C. (BACT) | 039, 041, 045, 046, 047, 049 |
| Rule 62-297.310, F.A.C. (General Compliance Testing Requirements) | 039, 041, 045, 046, 047, 049 |
| Rule 62-297.401, F.A.C. (Compliance Test Methods) | 039, 041, 045, 046, 047, 049 |

Project DESCRIPTION

The purpose of this permitting project is to revise the existing Title V permit for the above referenced facility to incorporate new emergency generator engines and correct some of the makers and dates of manufacture for emissions unit (EU) 048 and 049.

This project was submitted while permit 0330082-014-AV was out for public notice and review by the USEPA.  Permit 0330082-014-AV revises Title V air operation permit 0330082-012-AV, effective September 18, 2014 to incorporate construction permit 0330082-013-AC for the installation of a portable Hot Mix Asphalt Plant, emissions unit (EU) 052.  Permit No. 0330082-013-AC was being concurrently processed with revision 014-AV.

Processing Schedule and Related Documents

Title V Air Operation Permit Renewal issued September 18, 2014

Title V Air Operation Permit Revision 0330082-014-AV effective August 8, 2017

Application for a Title V Air Operation Permit Revision received July 13, 2017.

Primary Regulatory requirements

Standard Industrial Classification (SIC) Code:  9711 – National Security.

North American Industry Classification System (NAICS):  928110 – National Security

HAP:  The facility is not identified as a major source of hazardous air pollutants (HAP).

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The facility is not a Prevention of Significant Deterioration (PSD)-major source of air pollution in accordance with Rule 62-212.400, F.A.C.

NSPS:  The facility operates units subject to the New Source Performance Standards (NSPS) of 40 Code of Federal Regulations (CFR) 60.

NESHAP:  The facility operates units subject to the National Emissions Standards for Hazardous Air Pollutants (NESHAP) of 40 CFR 63.

CAIR:  The facility is not subject to the Clean Air Interstate Rule (CAIR) set forth in Rule 62-296.470, F.A.C.

CAM:  Compliance Assurance Monitoring (CAM) does not apply to any of the units at the facility.

GHG:  The facility is not identified as a major source of greenhouse gas (GHG) pollutants.

PROJECT REVIEW

Changes to the permit made as part of this revision are shown in strike through format for deletions and in double underline format for additions.  For ease of identification, all changes have also been highlighted in yellow within the permit document.

The following is a brief description of the changes that were made as part of this revision:

- To reflect the changes authorized by Permit No. 0330082-015-AV, the following changes were made to the emission unit description table of EU048 (only the rows with changes are shown):

| Equip ID | Bldg ID | Date of Manufacture | Make | Displacement (L/Cyl) | Hp/KW | Type | Fuel |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IC022 | 1940/1878 | 1-June-97 | Cummins | <10 | 270 / 201 | Sta. CI | Diesel |
| IC091 | 0038 | 1-Jan 9-Aug-05 | John Deere | 0.8<10 | 81 / 60 | Sta. CI | Diesel |
| IC095 | 3873 | 31-May-94 | Caterpillar | <10 | 86 / 64 | Sta. CI | Diesel |
| IC097 | 3260 | 1-Jan-01 | John Deere | 1.1 | 71 / 40 | Sta. CI | Diesel |
| IC099 | 3479 | 12-Jul-01 | Perkins | 1.1 | 96 / 72 | Sta. CI | Diesel |
| IC148 | 3374 | 3-May-74 | FMD - Allis Chalmers | <10 | 150 / 112 | Sta. CI | Diesel |
| IC149 | 3965C | 1-Apr-02 | John Deere | 1.4 | 211 / 157 | Sta. CI | Diesel |
| IC150 | 3873 | ~1995 | Detroit Diesel | <10 | 435 / 324 | Sta. CI | Diesel |
| IC151 | 0781B | 1999 | Perkins | 1.0 | 122 / 91 | Sta. CI | Diesel |

- To reflect the changes authorized by Permit No. 0330082-015-AV, the Specific Conditions below are deleted and/or changed:

D.1.	Hours of Operation.  The stationary reciprocating internal combustion engines (powering emergency generators) are must allowed to operate in accordance with the definition of emergency stationary internal combustion engine in 40 CFR 60.4219 63.6675.  Operation of 100 hours per year is per engine for maintenance and testing, emergency demand response, and operation in non-emergency situations up to 50 hours per year (counts toward the 100 hours).  Emergency operation is not limited.  If the engine is not operated according to the requirements in 40 CFR 63.6640(f), the engine will not be considered an emergency engine under this subpart and must meet all requirements for non-emergency engines.  Records of hours of operation for each stationary reciprocating internal combustion engine including how many hours are spent for emergency operation and what classified the operation as emergency, and how many hours are spent for non-emergency operation shall be maintained and available for Department inspection.  [Rules 62-4.070(3), 62-204.800(11)(b)82, and 62-210.200(PTE), F.A.C.; 40 CFR 63.6640(f), 63.6655(f), and 63.6675]

D.3.	 Work or Management Practice Standards.

- Air Cleaner.  Inspect air cleaner every 1,000 hours of operation or annually, whichever comes first, and replace as necessary.  [Rule 62-204.800(11)(b)82, F.A.C.; 40 CFR 63.6603(a) & Table 2d4.b.]

- Hour Meter.  a non-resettable hour meter must be installed if one is not already installed.  [Rule 62-204.800(11)(b)82, F.A.C., and 40 CFR 63.6625(f)]

- To reflect the changes authorized by Permit No. 0330082-015-AV, the following changes were made to the emission unit description table of EU049 (only the rows with changes are shown):

| Equip ID | Bldg ID | Date of Manufacture | Make | Displacement (L/Cyl) | Hp/KW | Type | Fuel |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IC077 | 0736 | 320-Jun-06 | John Deere | 1.1 | 250 / 186 | Sta. CI | Diesel |
| IC099 | 3479 | 1-Jul-07 | Perkins | 1.1 | 96 / 72 | Sta. CI | Diesel |
| IC121 | 0498 | 18-Oct-07 | Cummins | 1.5 | 364 / 271 | Sta. CI | Diesel |
| IC123 | 4191 | 11-Jan-10 | John Deere | 0.8 | 97 / 72 | Sta. CI | Diesel |
| IC125 | 4149 | 9-Dec-08 | John Deere | 1.4 | 335 360 / 250 | Sta. CI | Diesel |
| IC126 | 1901 | 1 2 Sep-10 | John Deere | 0.8 | 80 / 60 | Sta. CI | Diesel |
| IC127 | 3861 | 1-Jan-10 | Yamaha Yanmar | 0.4 | 17* 18.5 / 13 | Sta. CI | Diesel |
| IC128 | 1902 | 1 4-Sep-10 | John Deere | 0.6 | 50 / 37 | Sta. CI | Diesel |
| IC129 | 1061 | 1 2-Sep-10 | John Deere | 0.6 | 80 / 60 | Sta. CI | Diesel |
| IC130 | 3243 4193 | 14-Dec-10 | John Deere | 1.1 | 315 /235 | Sta. CI | Diesel |
| IC131 | 1534 0639 | 16-Aug-10 | Cummins | 1.1 | 145 / 108 | Sta. CI | Diesel |
| IC132 | 3558 | 10-Feb-07 | John Deere | 0.7 | 64 / 48 | Sta. CI | Diesel |
| IC133 | 3435 | 1 22-Jun-12 | John Deere | 1.1 | 237 /177 | Sta. CI | Diesel |
| IC134 | 1916 4194 | 1-Oct-10 | Detroit Diesel | 1.2 | 685 / 511 | Sta. CI | Diesel |
| IC146 | 1857B | 10-Jan Jul-08 | John Deere | 1.4 | 252 / 188 | Sta. CI | Diesel |
| IC147 | 3210 3499 | 14-May-08 | Cummins | 0.7 | 145 / 108 | Sta. CI | Diesel |
| IC152 | 4148 | 2016 | Mitsubishi | 4.0 | 2346 / 1750 | Sta. CI | Diesel |

- To reflect the changes authorized by Permit No. 0330082-015-AV, the Specific Conditions below are deleted and/or changed:

E.1.	Hours of Operation.  The stationary reciprocating internal combustion engines (emergency generators) are must allowed to operate in accordance with the definition of emergency stationary internal combustion engine in 40 CFR 60.4219.  Operation of 100 hours per year is per engine for maintenance and testing, emergency demand response, and operation in non-emergency situations up to 50 hours per year (counts toward the 100 hours).  Emergency operation is not limited.  If the engine is not operated according to the requirements in 40 CFR 60.4211(f)(1) through (3), the engine will not be considered an emergency engine under this subpart and must meet all requirements for non-emergency engines.  Records of hours of operation for each stationary reciprocating internal combustion engine shall be maintained and available for Department inspection.  [Rules 62-4.070(3), 62-204.800(8)(b)81 and 62-210.200(PTE), F.A.C.; 40 CFR 60.4211(f)]

E.7.	If owners and operators of stationary CI ICE shall must comply with the emissions standards specified in subpart IIII, then they must do all of the following except as permitted in 40 CFR 60.4211(g):

E.9.	For 2007 model year and later stationary CI internal combustion engines that must comply with the emission standards specified in 40 CFR 60.4205(b), owners and operators must comply by purchasing an engine certified to the emission standards in 40 CFR 60.4205(b), as applicable, for the same model year and maximum engine power.  The engine must be installed and configured according to the manufacturer's emission-related specifications except as permitted in 40 CFR 60.4211(g).  [Rule 62-204.800(8)(b)81, F.A.C., and 40 CFR 60.4211(c)]

E.14.	If the stationary CI internal combustion engine is an emergency stationary internal combustion engine, the owner or operator is not required to submit an initial notification.  Starting with the model years in table below, 5 to 40 CFR 60 subpart IIII, if the emergency engine does not meet the standards applicable to non-emergency engines in the applicable model year, the owner or operator must keep records of the operation of the engine in emergency and non-emergency service that are recorded through the non-resettable hour meter.  The owner must record the time of operation of the engine and the reason the engine was in operation during that time.  [Rule 62-204.800(8)(b)81, F.A.C., and 40 CFR 60.4214(b)]

Conclusion

This project revises Title V air operation permit No. 0330082-012-AV, which was effective on September 18, 2014.  This Title V air operation permit revision is issued under the provisions of Chapter 403, Florida Statues (F.S.), and Chapters 62-4, 62-210, and 62-213, F.A.C.