## CHART2
Table 2-1, Summary of Compliance Requirements
Kinder Morgan Port Sutton Terminals, LLC | [5 empty] | DRAFT/PROPOSED PERMIT NO.: 0570092-018-AV
Port Sutton Terminal | [5 empty] | Facility ID No.: 0570092
This table summarizes information for convenience purposes only. This table does not supersede any of the terms or conditions of this permit.
E.U. ID No. | Brief Description
010 Ship's/Barge Hold Operation | [5 empty] | 019 Clamshell to Ship's/Barge's Hold
011 Clamshell to Hopper Transfer Point | [5 empty] | 020 Ship/Barge Unloading utilizing a Conveyor System
012 Belt to Belt Transfer Point on Top of Building No. 1 | [5 empty] | 101 Railcar/Truck Unloading Station
013 Belt to Belt Transfer Point on Top of Building No. 2 | [5 empty] | 102 Building Railcar Unloading Feeder Belt
014 Belt to Belt Transfer Point on Top of Building No. 3 | [5 empty] | 103 Belt to belt transfer on top of Building No. 4
015 Truck Loading Stations: Direct Hit, No.1 and No.2 (Truck/Railcar) | [5 empty] | 104 Truck Loadout - Building No. 4
016 Truck Loading Stations: No.3 and No.4 (Truck/Railcar) | [5 empty] | 105 HST Warehousing Operations
017 Truck Laoding Station: No.5 | [5 empty] | 106 HST Stockpiling Operations
018 Truck to Product Pad | [5 empty] | 108 Emergency Diesel Power Generator
109 Emergency Diesel Fire Water Pump
|  |  | Testing | Frequency | Min. Compliance
| Pollutant Name |  | Compliance | Time | Base | Test
EU ID No. | or Parameter | Fuel(s) | Method | Frequency | Date * | Duration | CMS** | Permit condition(s)
010 - 104 | Opacity |  | EPA 9 | Annual | Once per federal | 30 min |  | A.11. - A.13.
fiscal year
| PM |  | EPA5 | As Requested | N/A |  |  | A.3.
105 - 106 | Opacity |  | EPA 9 | Annual | Once per federal | 30 min |  | B.7. - B.9.
fiscal year
108, 109 | CO. NOx, PM | [6 empty] | Appendix ICE
Notes:
* The frequency base date is established for planning purposes only; see Rule 62-297.310, F.A.C.
**CMS [=] continuous monitoring system