TABLE E-1. SUMMARY OF MAINTENANCE REQUIREMENTS FOR ENGINES

40 CFR 63, Subpart ZZZZ, otherwise known as “RICE MACT” (06/03/2011)

|  | Action |
| --- | --- |
|  | Change oil and filter. |
|  | Inspect air cleaner. |
|  | Inspect all hoses and belts. |
|  | Operate and maintain according to the manufacturer's emission-related operation and maintenance instructions. |
|  | Keep records. |