Initial Title V Air Operation Permit

Permit No. 0571457-002-AV

Applicant

The applicant for this project is Sun Country Materials, LLC.  The applicant’s responsible official and mailing address are:  Kirk Wills, South Region Engineer, Sun Country Materials, LLC, 5135 Madison Ave., Tampa, Florida 33619.

Facility Description

The applicant operates the existing facility, which is located in Hillsborough County at 11457 County Road 672, Riverview, Florida.   This facility is a construction and demolition (C&D) disposal facility, which consists of a closed disposal area and three active disposal cells – Cell Nos. 1, 2, and 3.  Additional disposal cells may be opened in the future.

This permit authorizes the operation of a Perennial Energy, Inc., Landfill Gas Candlestick Flare.  The flare is used to combust gas and to control odors from the disposal facility.  The flare is capable of handling gas flow rates of up to 722 standard cubic feet per minute (scfm).  However, the flare is limited to a monthly average of 13,140,000 scf, which is based on a maximum flow rate of 300 scfm, as requested by the permittee.  The flare uses propane as a backup fuel as needed.

The 6-inch candlestick flare combusts the gas from the closed disposal area and from the active disposal cell Nos. 1, 2, and 3.  The gas from these areas is vented to the flare using a gas collection system, which consists of collection piping and a blower that applies a vacuum to the collection piping.  As more cells are opened in the future, the gas from those cells will also be vented to the flare.  The potential SO2 emissions from the combustion of the gas have been estimated to be 222 tons/year.

This facility also includes miscellaneous insignificant emissions units and/or activities.

regulated Emissions Unit IDentification Numbers and descriptions

| EU No. | Brief Description |
| --- | --- |
| 001 | Gas Collection and Candlestick Flare |

Applicable Regulations

Based on the initial Title V air operation permit application received February 2, 2017, this facility is not a major source of hazardous air pollutants (HAP).  The existing facility is not a prevention of significant deterioration (PSD) major source of air pollutants in accordance with Rule 62-212.400, F.A.C.  A summary of applicable regulations is shown in the following table:

| Regulation | ## EU No. |
| --- | --- |
| Federal Rule Citations |  |
| NA |  |
| State Rule Citations |  |
| Rule 62-296.320, F.A.C. | 001 |
| Local Rule Citations |  |
| Rules of the EPCHC, Chapter 1-3 | 001 |

Project DESCRIPTION

The purpose of this permitting project is to issue the initial Title V operation permit for the above referenced facility.

Processing Schedule and Related Documents

Initial Title V Air Operation Permit Application Received February 2, 2017

Primary Regulatory requirements

Standard Industrial Classification (SIC) Code:  4953 – Refuse Systems.

North American Industry Classification System (NAICS):  562219 - Other Nonhazardous Waste Treatment and Disposal.

HAP:  The facility is not identified as a major source of hazardous air pollutants (HAP).

Title IV:  The facility does not operate units subject to the acid rain provisions of the Clean Air Act.

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The facility is not a Prevention of Significant Deterioration (PSD)-major source of air pollution in accordance with Rule 62-212.400, F.A.C.

NSPS:  The facility does not operate units subject to the New Source Performance Standards (NSPS) of 40 Code of Federal Regulations (CFR) 60.

NESHAP:  The facility does not operate units subject to the National Emissions Standards for Hazardous Air Pollutants (NESHAP) of 40 CFR 63.

CAIR:  The facility is not subject to the Clean Air Interstate Rule (CAIR) set forth in Rule 62-296.470, F.A.C.

CAM:  Compliance Assurance Monitoring (CAM) does not apply to any of the units at the facility

GHG:  The facility is not identified as a major source of greenhouse gas (GHG) pollutants.

PROJECT REVIEW

This is the initial TV operation permit for the facility.

Conclusion

This project is the initial Title V Air Operation Permit No. 0571457-002-AV.  This initial Title V Air Operation Permit is issued under the provisions of Chapter 403, Florida Statues (F.S.), and Chapters 62-4, 62-210, and 62-213, F.A.C.