Title V Air Operation Permit Renewal

South Florida Water management District [SFWMD]

Pump Station S-319

DRAFT Title V Permit Renewal No. 0990620-008-AV

Applicant

The applicant for this project is South Florida Water Management District.  The applicant’s responsible official and mailing address is:

Mr. Joel Arrieta, Director

Field Operations, Operations and Maintenance Resources

South Florida Water Management District

3301 Gun Club Road,

West Palm Beach, FL 33406

Facility Description

The applicant operates the SFWMD Pump Station S-319, which is located at the Northern edge of Stormwater Treatment Area 1 East (STA-1E); one mile west of Flying Cow Road and South of the C-51 Canal in Palm Beach County.

This existing facility consists of two Fairbanks-Morse 1,210-BHP (brake horse power) water pumps, three Fairbanks-Morse 2,005-BHP water pumps, two Cummins 685-BHP emergency power generators, four 20,000-gallons above ground storage tanks (ASTs), two 200-gallon above ground day tanks and three 300-gallon above ground day tanks for the pump engines, and one 200-gallon tank for both generators. Ultra Low Sulfur (0.0015%S) diesel fuel is the primary fuel for all water pumps and emergency power generators.

The facility is classified as a synthetic-minor source under the Prevention of Significant Deterioration (PSD) program and a natural minor source under the Hazardous Air Pollutant program.  Potential emissions of criteria pollutants from the source are limited below the 250 ton per year -- major source threshold of the PSD program -- by a federally enforceable construction permit (0990620-001-AC), which limited the fuel consumption from the facility to 1,136,264 gallons per any 12- consecutive months period.

Also included in this permit are miscellaneous unregulated/insignificant emissions units and/or activities.

Project DESCRIPTION

The purpose of this permitting project is to renew the existing Title V permit (0990620-007-AV) for the above referenced facility.

Processing Schedule and Related Documents

June  29, 2016: 	Health Department received application for Title V permit renewal

Primary Regulatory requirements

Standard Industrial Classification (SIC) Code:  9511 – Air, Water, and Solid Waste Management.

North American Industry Classification System (NAICS):  924110; Administration of Air and Water Resource and Solid Waste Management Programs

Title III:  The facility is not identified as a major source of hazardous air pollutants (HAP).

Title V:  The facility is a Title V major source of air pollution in accordance with Chapter 62-213, Florida Administrative Code (F.A.C.).

PSD:  The permittee requests a limit on fuel consumption to establish synthetic PSD minor status in accordance with Rule 62-212.400 F.A.C.

NSPS:  The facility does not operate units subject to the New Source Performance Standards (NSPS) of 40 Code of Federal Regulations (CFR) 60.

NESHAP:  The facility does operate emissions units subject to the National Emissions Standards for Hazardous Air Pollutants (NESHAP). [40 CFR 63 Subpart ZZZZ “National Emissions Standards for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines (RICE)”]

CAIR:  The facility is not subject to the Clean Air Interstate Rule (CAIR) set forth in Rule 62-296.470, F.A.C.

CAM:  Compliance Assurance Monitoring (CAM) does not apply to any of the units at the facility.

Conclusion

This project renews Title V air operation permit No. 0990620-007-AV, which was issued on April 13, 2012. This Title V air operation permit renewal is issued under the provisions of Chapter 403, Florida Statues (F.S.), and Chapters 62-4, 62-210 and 62-213, F.A.C.