62-160.120 Definitions and Standards.

For purposes of this chapter:

(1) “Alternative method” is a field procedure or analytical laboratory method that involves the collection or testing of environmental samples for an analyte (such as a chemical compound, component, or microorganism, etc.) in a specified matrix where a Department-approved method already exists. Approved methods are recognized or specified by the Department according to Rules 62-160.210 and 62-160.320, F.A.C. An alternative method is one intended to be used in place of an existing Department-approved laboratory method or field procedure.

(2) “Audit” is a systematic review of laboratory and field protocols to determine if proper procedures are being used and supporting documentation is present. An audit shall consist of an on-site assessment of sample collection, field sampling procedures, laboratory procedures and/or a review, assessment and/or validation of data associated with a Department program activity. If necessary, an audit shall include the submission of performance samples (for example, blind, split and/or performance check samples) to an organization for subsequent use in the evaluation of that organization’s technical performance associated with a specific Department project or program activity.

(3) “Commercial Vendor” is a retail or wholesale company whose business is to sell commodities to customers and who is not a part of the process that generates environmental data. These businesses do not include organizations that purchase commodities with the intent of providing the commodities as a service to clients.

(4) “Common Carrier” is a business or agency that is available to the general public for the transportation of goods over a definite route and according to a regular schedule.

(5) “Data quality objectives” are a set of qualitative and quantitative statements derived from a systematic planning process that clarify the purpose of the study, define the most appropriate type of information to collect, determine the most appropriate conditions from which to collect that information, and specify tolerable levels of potential decision errors.

(6) “Data validation” is an evaluation of the technical usability of the verified data with respect to the planned objectives or intention of a project.

(7) “Data verification” is a consistent, systematic process that determines whether the data have been collected in accordance with project specifications with respect to compliance, correctness, consistency and completeness as compared to a method standard or contract specification.

(8) “Department” is the Florida Department of Environmental Protection.

(9) “Department-approved method” is a field procedure or laboratory analytical method specified as acceptable for use in this chapter and in any other Department contract, order, permit or Title 62 rule.

(10) “Department of Health (DOH) Environmental Laboratory Certification Program (ELCP)” is the state of Florida’s environmental laboratory certification program, authorized by Section 381.00591, F.S., and recognized by the National Environmental Laboratory Accreditation Program (NELAP) Acceditation Council as an authority with responsibility and accountability for granting accreditation for specified fields of laboratory testing through Chapter 64E-1, F.A.C. 

(11) “Electronic signature” means an electronic sound, symbol, or process attached to or logically associated with a record and executed or adopted by a person with the intent to sign the record.

(12) “Holding time” is the storage time allowed between sample collection and sample preparation and/or analysis as specified by regulatory requirements or by the field sample collection protocol or laboratory method.

(13) “Limited-use method” is an analytical laboratory method that is validated for the testing of environmental samples from a particular site, waste stream (e.g., facility location) or sample matrix (e.g., effluent, groundwater or drinking water). A limited-use method is validated by a single laboratory and may only be used by that laboratory.

(14) “Matrix” is the predominant material in which an analyte of interest is contained. For example, soil, groundwater and drinking water are three environmental matrices.

(15) “Method-defined analyte” is defined by the U.S. Environmental Protection Agency as an analyte whose result is totally dependent on how the measurement is made. Any changes or modifications in the preparation or determinative techniques of these methods have the potential of changing the result. Examples are: Carbonaceous Biological Oxygen Demand, Oil and Grease, and Toxicity Characteristic Leaching Procedure (TCLP).

(16) “Method detection limit (MDL)” is an estimate of the minimum amount of a substance that an analytical process can reliably detect. An MDL is analyte-and matrix-specific and is laboratory-dependent. The MDL for an analyte is determined from the preparation and analysis of a sample in a given matrix containing the analyte. MDLs shall be determined for each matrix/analytical technology/analyte combination reported by the laboratory, except for those tests where determination of the MDL is not appropriate for the analytical technique. MDLs shall be calculated following the procedures specified in “New and Alternative Analytical Laboratory Methods”, DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C., or by any other technically justifiable and scientifically sound method. A specific method must be used when mandated by the Department. For the purposes of data usability evaluation, the DEP-defined MDL is equivalent to the Limit of Detection (LOD) as defined in the TNI Standards, EL-V1-2009-ISO, which are incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.
(17) “Method modification” is any modification to an approved field procedure or analytical laboratory method that is specifically allowed by the approved field procedure or analytical laboratory method.

(18) “Field of Accreditation Matrix” is defined in the Glossary of the 2003 NELAC Standards, which is incorporated by reference in paragraph 62-160.800(3)(a), F.A.C., and shall be used to determine matrices under which a laboratory must be certified by the DOH ELCP for reporting data to be used by the Department:

(a) Drinking Water: any aqueous sample that has been collected from a water source designated by the Department as a potable or potential potable water source.

(b) Non-potable Water: any aqueous sample excluded from the definition of drinking water matrix including surface water, groundwater, effluents, water treatment chemicals, or samples derived from synthetic precipitation leaching procedures (SPLP), toxicity characteristic leaching procedures (TCLP) or other extracts. To be considered as non-potable water, water treatment chemicals must be in an aqueous solution. If the laboratory receives the original environmental sample as a solid or chemical material for TCLP extraction, the laboratory must be certified for the TCLP extraction in the Solid and Chemical Material matrix. For the analytical tests to be performed on the TCLP extract, the laboratory must be certified in the non-potable water matrix for at least one method for each analytical technology/analyte combination for each reported analyte.

(c) Solid and Chemical Materials: includes soils, sediments, sludges, products and by-products of an industrial process that results in a matrix not previously defined. For purposes of accreditation, biosolids are considered a solid, unless the sample matrix comprises liquid biosolids as defined in Chapter 62-640, F.A.C. All other sample matrices not previously defined and comprising ≤ 15% settleable solids are liquids, and may require analysis using techniques for non-potable water or liquid chemical materials.

(d) Biological Tissue: any sample of a biological origin such as fish tissue, shellfish, or plant material.

(19) “National Environmental Laboratory Accreditation Program (NELAP)” is a program that implements standards that have been found to be acceptable to the NELAP Accreditation Council.

(20) “NELAP accreditation” is an accreditation status applied to a laboratory’s field(s) of testing upon satisfying all requirements for certification as provided in Chapter 64E-1, F.A.C.

(21) “New method” is a field procedure or analytical laboratory method that involves the collection or testing of samples for an analyte (such as a chemical compound, component, or microorganism) in a specified matrix where a Department-approved method does not exist. Approved methods are recognized or specified by the Department according to Rules 62-160.210 and 62-160.320, F.A.C.

(22) “Percent relative standard deviation (% RSD)” is a calculated measure of precision from results of replicate sample analyses. It is calculated as specified in DEP-QA-001/01 (February 1, 2004), which is incorporated by reference in Rule 62-160.800, F.A.C.

(23) “Permit” is any permit or license issued by the Department pursuant to its lawful authority, or by another government agency under delegation of authority from the Department.

(24) “Practical quantitation limit (PQL)” is the lowest level of measurement that can be reliably achieved during routine laboratory operating conditions within specified limits of precision and accuracy. The value of the PQL shall be greater that the MDL value except when analytical quality control problems necessitate raising the MDL value equal to or above the PQL value for a specific sample, or when determination of the MDL is not appropriate for an analytical technique. For Departmental use, if a laboratory fails to report a PQL, the PQL shall be calculated as four times the MDL, except for those tests where determination of the MDL is not appropriate for the analytical technique. In such cases, the Department shall use all available information about the technique to determine the PQL. For the purposes of data usability evaluation, the DEP-defined PQL is equivalent to the Limit of Quantitation (LOQ) as defined in the TNI Standards, EL-V1-2009-ISO, which are incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.
(25) “Quality assurance” is an integrated system of management activities involving planning, implementation, documentation, assessment, reporting and quality improvement to ensure that a process, product or service meets defined standards of quality.

(26) “Quality assurance project plan (QAPP)” is a document required by the EPA for certain activities conducted for or funded by the EPA. The plan outlines the quality assurance criteria, as well as all protocols and quality control measures needed to meet the project data quality objectives. These plans are prepared in accordance with “EPA Requirements for Quality Assurance Project Plans, EPA QA/R-5”, (EPA/240/B-01/003 March 2001). These QAPPs are reviewed and approved by the appropriate EPA office or delegated authority.

(27) “Quality control” is the overall system of technical activities that measures the attributes and performance of a process, product or service against defined standards to verify that they meet the established data quality objectives.

(28) “Relative percent difference (RPD)” is a calculated measure used to compare results from duplicate sample analyses. It is calculated as specified in DEP-QA-001/01 (February 1, 2004), which is incorporated by reference in Rule 62-160.800, F.A.C.

(29) “Research method” is a field procedure or analytical laboratory method that involves the evaluation or use of a new, innovative technology.

(30) “Secondary Use Data” means information submitted to the Department that is being considered for use for purposes other than that for which the data were originally generated.

(31) “Site-specific sampling method” is a field method that is validated for the collection of environmental samples from a particular site, waste stream (e.g., facility location), or sample matrix (e.g., effluent, groundwater or drinking water). A site-specific sampling method is approved for use on a specific site by any field organization that is conducting field activities for that site. The approval of a site-specific sampling method does not apply to a sampling organization that wishes to use the method on other sites or intended for other projects. The alternative procedure approval process is outlined in subparts FA 2100 and FA 2200 of FA 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C.

(32) “Spike” is an environmental sample that has been fortified with a known chemical of interest, at a known concentration. The purpose of a spike is to determine the method recovery efficiency for the chemical of interest, at the fortified concentration level, in the particular environmental sample of interest.

(33) “Statewide method” is a field procedure or analytical laboratory method that is validated for the collection or testing of environmental samples from similar sites or waste streams within the state of Florida by multiple field sampling organizations or laboratories, as applicable. The process for the validation of a statewide method is outlined in subparts FA 2100 and FA 2200 of FA 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C.

(34) “Surrogate spikes” are samples fortified at known concentration(s) with one or more compounds having similar chemical characteristics to the compounds of interest, but which are not normally found in environmental samples.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.120, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14.

