### TECHNICAL EVALUATION

&

PRELIMINARY DETERMINATION

#### APPLICANT

Gainesville Renewable Energy Center, LLC

20 Park Plaza, Suite 320

Boston, Massachusetts 02116

Gainesville Renewable Energy Center

ARMS Facility ID No. 0010131

#### PROJECT

# DEP File No. 0010131-002-AC (PSD-FL-411A)

Addition of NESHAP Subpart DDDDD Requirements

#### COUNTY

Alachua County, Florida

PERMITTING AUTHORITY

Florida Department of Environmental Protection

Division of Air Resource Management

Office of Permitting and Compliance

2600 Blair Stone Road, MS#5505

Tallahassee, Florida  32399-2400

October 8, 2013

- General Project INFORMATION

  - Facility Description and Location

Gainesville Renewable Energy Center, LLC (GREC, LLC) operates the GREC.  GREC is a recently constructed biomass-fueled electric power plant capable of generating 100 megawatts-net (MW-net) of electrical power.  The plant is located on the 131 acres within the boundary of the Gainesville Regional Utilities (GRU) Deerhaven Generation Station (DGS) in Alachua County, Florida.  The footprint of GREC within the GRU DGS is delineated by the red outline in Figure 1, while the boundary of the GRU DGS is delineated by the blue outline in Figure 1.  GREC, LLC has a long-term lease from the City of Gainesville for this parcel.  The location of Alachua County and the GRU DGS within the county is shown in Figure 2.  The address of the GRU DGS is 10001 Northwest 13th Street (U.S. Highway 441) in Gainesville, Alachua County, Florida.  The UTM coordinates are Zone 17; 365.0 kilometers (km) East and 3,293.8 km North.

GRU
DGS

GREC

Figure 1 – GREC Boundary.		Figure 2 – Alachua County and Site Location.

The nearest Prevention of Significant Deterioration (PSD) Class I areas are the Okefenokee National Wildlife Area (NWA) located approximately 93 km north of GREC and the Chassahowitzka NWA located approximately 110 km southwest of GREC.

A satellite view of the GREC facility under construction is shown in Figure 3.  A view GRU DGS Units 1 and 2 from the GREC site is shown in Figure 4 below.  The stack on the right hand side belongs to gas and oil-fueled Unit 1, which has a generating capacity of approximately 75 MW, while the taller, wider stack on the left hand side belongs to Unit 2, which is primarily a coal-fueled unit with an approximate generating capacity of 251 MW.  Figure 5 is a view of the bubbling fluidized bed (BFB) boiler at GREC.  This boiler combusts clean woody biomass to generate steam that is then sent to a steam turbine electrical generator (STEG) to produce a 100 MW-net of electrical power for sale to the grid.

BFB Boiler Location

Figure 3 – Satellite View of the GREC Under Construction (BFB Boiler Highlighted).

Figure 4 – View of GRU DHS Units 1 and 2.	Figure 5 – View of GREC BFB Boiler.

Figure 6 shows a view of the conveyor system used to transport the biomass fuel to the BFB boiler.  Figure 7 shows a close-up of the drag line used to take biomass from the storage piles and place it into the conveyor system.

Figure 6 – Biomass Conveyor System at GREC.	Figure 7– Biomass Drag Line.

The GREC power plant is comprised of five major process areas.  These process areas are:

- Biomass fuel delivery, unloading and processing;

- Biomass fuel handling and storage;

- Power island (steam generating unit), including a BFB boiler, STEG and cooling tower;

- Ash (bottom and fly) handling, storage and shipment; and

- Emergency support equipment.

# Table 1 indicates the emissions units (EU) at the GREC.

Table 1  EU at GREC Facility.

| EU ID No. | Emission Unit Description |
| --- | --- |
| 001 | Biomass fuel delivery, preparation, storage and handling |
| 002 | Woody biomass-fueled BFB boiler with a maximum heat input capacity of 1,358 million British thermal units (Btu) per hour (MMBtu/hr) |
| 003 | Ash handling, storage and shipment |
| 004 | Mechanical draft cooling tower |
| 005 | 564 kilowatt (kW) emergency generator |
| 006 | 275 horsepower (hp) emergency fire pump |

  - Primary Regulatory Categories

    - Federal Regulations

The U.S. Environmental Protection Agency (EPA) establishes air quality regulations in Title 40, Code of Federal Regulations, Part 60 (40 CFR 60) that identifies New Source Performance Standards (NSPS) for a variety of industrial activities.  40 CFR 61 specifies National Emission Standards for Hazardous Air Pollutants (NESHAP).  40 CFR 63 specifies NESHAP provisions based on the Maximum Achievable Control Technology (MACT) for given source categories.

Federal regulations adopted by reference are given in Rule 62-204.800, F.A.C.  State regulations approved by EPA are given in 40 CFR 52, Subpart K – Florida; also known as the State Implementation Plan (SIP) for Florida.  The following federal regulations apply to the GRU DGS, GREC and this project.

- The existing GREC is a major stationary source in accordance with Rule 62-212.400, F.A.C. for the Prevention of Significant Deterioration (PSD) of Air Quality and Rule 62-210.200 (Definitions), F.A.C.

- This project (as discussed below) does not trigger a PSD review and a requirement to conduct Best Available Control Technology (BACT) determinations pursuant to Department Rule 62-212.400, F.A.C.

- The existing GRU DGS facility is a major source of hazardous air pollutants (HAP).

- The existing GREC facility in of itself is not a major source of HAP.

- The existing GRU DGS and GREC have units regulated under Clean Air Act, Title IV, Acid Rain provisions, Phase II.

- The existing GRU DGS and the GREC are Title V major sources of air pollution in accordance with Chapter 62-213, F.A.C.

- The existing GRU DGS and GREC include units subject to the NSPS of 40 CFR 60.

- The existing GRU DGS and GREC include units subject to the NESHAP of 40 CFR 63.

    - State Regulations

# Projects at stationary sources with the potential to emit air pollution are subject to the applicable environmental laws specified in Section 403 of the Florida Statutes (F.S.).  The statutes authorize the Department of Environmental Protection (Department) to establish air quality regulations as part of the Florida Administrative Code (F.A.C.), which includes the applicable chapters contained in Table 2.

Table 2 – Applicable Rules from the F.A.C.

| Chapter | Description |
| --- | --- |
| 62-4 | Permits |
| 62-17 | Electrical Power Plant Siting |
| 62-204 | Air Pollution Control – General Provisions |
| 62-210 | Stationary Sources of Air Pollution – General Requirements |
| 62-212 | Stationary Sources – Preconstruction Review |
| 62-213 | Operation Permits for Major Sources (Title V) of Air Pollution |
| 62-296 | Stationary Sources – Emission Standards |
| 62-297 | Stationary Sources – Emissions Monitoring |

  - Project Description

The Department regulates major sources of HAP in accordance with applicable portions of 40 CFR 63 adopted in Rule 62-204.800(11), F.A.C.  The GRU DGS is already classified as a major source of HAP because it has a potential to emit (PTE) of 10 TPY of any single HAP or 25 TPY of all HAP.  The GREC facility alone (the BFB boiler in particular) will not have a PTE of any single HAP that is equal to or greater than 10 TPY or of all aggregated HAP equal to or greater than 25 TPY.

Estimates of individual key HAP emissions are provided in Table 3.

Table 3–Estimated PTE of HAP from the GREC BFB Boiler in TPY.

| Pollutant 1 | HCl | HF | Phosphorus | Other Metal HAP | CH3Cl | C6H6 | CH2O | Other Organic HAP | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emissions | 9.72 | 9.72 | 2.2 | 1.39 | 0.15 | 0.37 | 0.8 | 0.32 | 24.7 |
| 1. CH3Cl is methyl chloride; C6H6 is benzene; CH2O is formaldehyde. |  |  |  |  |  |  |  |  |  |

The applicant estimated the PTE of all HAP (aggregate) at 24.7 TPY.  Because the PTE of certain individual HAP (hydrogen chloride (HCl) and hydrogen fluoride (HF)) are close to 10 TPY and the aggregate PTE of all HAP is close to 25 TPY, it was necessary to establish emission limitations for HCl and HF in the original air construction permit.  Compliance with the HCl and HF emission limits in the original air construction permit is by continuous emission monitoring systems (CEMS) to show that the individual emissions of HCl and HF are below the 10 TPY major source threshold.

In addition, limits were set for other HAP.  The estimated emissions of metal HAP was 3.59 TPY of which 2.2 TPY consists of phosphorus (P).  The other metals that contributed to the value are chromium (Cr), manganese (Mn) and lead (Pb).  Also, the total organic HAP is equal to approximately 1.64 TPY.  Table 4 list the PTE of the key organic HAP for the GREC BFB boiler.

Table 4–Estimated PTE of Organic HAP from the BFB Boiler in TPY

| Pollutant 1 | C3H4O | C6H6 | CH2O | C8H10 | C2H4O | CH3Cl | CH3CCl3 | C7H8 | PAH/POM | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emissions | 0.025 | 0.37 | 0.8 | 0.092 | 0.043 | 0.15 | 0.039 | 0.06 | 0.06 | 1.64 |
| 1. C3H4O (acrolein); C6H6 (benzene); CH2O (formaldehyde); C8H10 (xylene isomers plus ethyl benzene); CH3Cl (methyl chloride); CH3CCl3 (methyl chloroform); C2H4O (acetaldehyde); C7H8 (toluene); PAH/POM (polycyclic aromatic hydrocarbon/polycyclic organic matter) |  |  |  |  |  |  |  |  |  |  |

In the original air construction permit, the demonstration of compliance with a 24.7 TPY overall HAP limitation is determined on a fiscal year basis, based on the initial and annual stack tests conducted for the identified metal and organic HAP coupled with the totalized HCl and HF CEMS data for the given fiscal year.

# At the time the final GREC permit was issued, 40 CFR 63, Subpart DDDDD – NESHAP for Major Sources: Industrial, Commercial, and Institutional Boilers and Process Heaters had not been finalized.  Subpart DDDDD would have applied to the GREC boiler since it is located at a major source of HAP, i.e., the GRU DGS.  If Subpart DDDDD had been finalized at the time the final permit was issued on December 28, 2010, the HF, metal and organic HAP emission limits described above would not have been required.  Instead the boiler would simply have had to meet the emission limits in the subpart.  Subpart DDDDD does have an HCl emission limit.

# NESHAP Subpart DDDDD was finalized by the EPA on January 31, 2013.  Consequently, the primary purpose of this project is to incorporate the Subpart DDDDD requirements into the GREC permit and to remove HAP limits and other requirements that are no longer necessary or are supplanted by NESHAP Subpart DDDDD.  This would include the removal of the HCl and HF CEMS requirements in the original permit.  The HCl and HF CEMS were included in the original permit to show that annual emission of each of these HAP were below the 10 TPY annual HAP emission threshold and to provide assurance that the 25 TPY total HAP emission threshold was not exceeded.

# The NESHAP Subpart DDDDD limits applicable to the GREC BFB boiler are listed below {Note: the GREC BFB boiler is considered a new or reconstructed unit under the NESHAP}.  Also GREC will continue to have a HF emissions limit even though Subpart DDDDD does not contain an HF limit.

- Carbon Monoxide (CO): 230 parts per million by volume on a dry basis corrected to 3 percent Oxygen (ppmvd @ 3% O2) based on a 3-run average of stack tests or 310 ppmvd @ 3% O2 based on a 30-day rolling average by CEMS.  As an alternative, 2.2 x 10-01 pounds per MMBtu (lb/MMBtu) of steam output or 2.6 pounds per million megawatt hours (lb/MWh) based on a 3-run average by stack tests.  All stack tests are 1-hour runs.

- Filterable Particulate Matter (PM) or Total Select Metals (TSM):  PM - 9.8 x 10-03 lb/MMBtu of heat input or TSM - 8.3 x 10-05 lb/MMBtu of heat input.  As an alternative, PM - 1.2 x 10-02 lb/MMBtu of steam output or 0.14 lb/MWh or TSM - 1.1 x 10-04 lb/MMBtu of steam output or 1.2 x 10-03 lb/MWh.  Compliance is by collecting a minimum of 3 dry standard cubic meters (dscm) per stack test run, total of 3 runs.

- Mercury (Hg):  8.0 x 10-07 lb/MMBtu of heat input or 8.7 x 10-07 lb/MMBtu of steam output or 1.1 x 10-05 lb/MWh.  Compliance is by EPA Method 29, collecting a minimum of 4 dscm per run; for EPA Method 30A or 30B, collecting a minimum sample as specified in the method; for ASTM D6784 by collecting a minimum of 4 dscm.

- Hydrogen Chloride (HCl):  2.2 x 10-02 lb/MMBtu of heat input or 2.5 x 10-02 lb/MMBtu of steam output or 0.28 lb/MWh.  Compliance is by EPA Method 26A, collecting a minimum of 1 dscm per run; or EPA Method 26 collecting a minimum of 120 liters per run.

# {Note for limits in bold text, if you are conducting stack tests to demonstrate compliance and your performance tests for this pollutant for at least 2 consecutive years show that your emissions are at or below this limit, you can skip testing according to §63.7515 if all of the other provisions of §63.7515 are met.  For all other pollutants that are not in bold text, your performance tests for this pollutant for at least 2 consecutive years must show that your emissions are at or below 75 percent of this limit in order to qualify for skipping testing.}

# GREC, LLC also requested several other minor changes be accomplished during this project.  Specifically, they requested:

- Indicate that the GREC BFB boiler is not subject to the Clean Air Interstate Rule (CAIR);

- Include the latest version of NSPS Subpart Da - Standards of Performance for Electric Utility Steam Generating Units for Which Construction Is Commenced After September 18, 1978, which was amended on April 24, 2013.  {Note: the GREC BFB boiler is considered an existing unit under this subpart.};

- To provide consistency in the permit, indicate that trona or its equivalent sorbent can be used for acid gas control;

- Clarify what federal requirements apply to the ammonia (NH3) storage tank; and

- Correct the description of the cooling tower to accurately reflect the as-built configuration.

  - Processing Schedule

- September 17, 2013	The Department received a minor air construction permit application from GREC, LLC to incorporate NESHAP Subpart DDDDD requirements for the GREC BFB Boiler into their construction permit.

- October 8, 2013	The Department issued draft minor source air construction permit package.

- PSD Applicability review

  - General PSD Applicability

The Department regulates major stationary sources in accordance with Florida’s PSD program pursuant to Rule 62-212.400, F.A.C.  PSD preconstruction review is required in areas that are currently in attainment with the state and federal ambient air quality standards (AAQS) or areas designated as “unclassifiable” for these regulated pollutants.  Commonly addressed PSD pollutants in the power industry include: CO, nitrogen oxides (NOX), PM, PM with a mean diameter of 10 microns or less (PM10), PM with a mean diameter of 2.5 microns or less (PM2.5), sulfur dioxide (SO2), volatile organic compounds (VOC), Pb, fluorides (F), sulfuric acid mist (SAM), and Hg.

Additional PSD pollutants that are more common to certain other industries include: hydrogen sulfide (H2S), total reduced sulfur (TRS) including H2S, reduced sulfur compounds (RSC) including H2S, municipal waste combustor (MWC) organics measured as total tetra- through octa-chlorinated dibenzo-p-dioxins and dibenzofurans (dioxin/furan), MWC metals measured as PM; MWC acid gases measured as SO2 and HCl, and MSW landfill emissions as non-methane organic compounds (NMOC).

As defined in Rule 62-210.200(189)(a)1, F.A.C., a stationary source is a “major stationary source” (major PSD source) if it emits or has the PTE:

- 250 tons per year (TPY) or more of any PSD pollutant; or

- 100 TPY or more of any PSD pollutant and the facility belongs to one of the 28 listed PSD major facility categories.

The list given in the citation includes the category of “fossil fuel-fired steam electric plants of more than 250 million British thermal units per hour heat input”.  The existing GRU DGS is a major stationary source because it meets this definition and emits, or has the PTE, 100 TPY or more of any PSD pollutant.

For major stationary sources such as the existing GRU DGS facility, PSD applicability for modification projects is based on thresholds known as the significant emission rates (SER) as defined in Rule 62-210.200(282), F.A.C.  Any “net emissions increase” as defined in Rule 62-210.200(210), F.A.C. of a PSD pollutant from the project that equals or exceeds the respective SER is considered “significant.”  SER also means any emissions rate or any net emissions increase of a PSD pollutant associated with a major stationary source or major modification which would construct within 10 km of a Class I area and have an impact on such area equal to or greater than 1 gram per cubic meter, 24-hour average.

Although a facility may be “major” (i.e. emits or has the PTE 100 or 250 TPY as applicable) for only one PSD pollutant, a project must include BACT controls for any PSD pollutant that exceeds the corresponding SER given in Table 5.

According to 40 CFR 52.21, six greenhouse gases (GHG), are also subject to regulation at new stationary sources that will emit or have the potential to emit 100,000 TPY expressed as the carbon dioxide equivalent emissions (CO2e).  The PSD SER for CO2e is 75,000 TPY.  This requirement has not been incorporated into Department rules but is a separate requirement of the EPA.

Table 5– List of SER by PSD-Pollutant. 1

| Pollutant | SER (TPY) | Pollutant | SER (TPY) |
| --- | --- | --- | --- |
| CO | 100 | NOX | 40 |
| PM/PM10/PM2.5 | 25/15/10 | Ozone (VOC) 2 | 40 |
| PM2.5 (NOX) | 40 | PM2.5 (SO2) | 40 |
| Ozone (NOX) 2 | 40 | SAM | 7 |
| SO2 | 40 | Pb | 0.6 |
| Hg | 0.1 | GHG (CO2e) | 75,000 3 |
| - Excluding fluoride and those pollutants defined for Pulp and Paper, MWC, MSW landfills. - Ozone (O3) is regulated by its precursors (VOC and NOX). PSD for PM2.5 can be triggered by its precursors (NOX and SO2). - GHG is subject to federal regulation for projects at this stationary source that will result in an emissions increase 75,000 TPY of GHG (as CO2e) or more. GHG regulations have not been incorporated into Department rules. |  |  |  |

The original GREC project wherein the construction of the facility was authorized was subject to the PSD SER limits given in Table 5 above because it was co-located with the GRU DGS.  The original GREC project, exceed the PSD SER for CO, VOC, PM and PM10.  Due to concurrent reductions in emissions of NOX and SO2 at the GRU DGS, the original GREC project netted out of PSD for these pollutants.  With regard to GHG PSD applicability, GREC received its final PSD permit prior to January 3, 2012 and consequently was exempt from GHG permitting requirements.  GREC is located in Alachua County, which is in an area that is currently in attainment with the state and federal AAQS or otherwise designated as unclassifiable.

  - PSD Applicability for the Current Project

No emission increase of the PSD pollutants NOX, CO, VOC, SO2 and PM/PM10/PM2.5 will occur as a result of this project.  In addition, the Department does not expect an increase in Pb or any other HAP (organic, metal or acid gas) to result from this project since the pollution control system, fuels and operational procedures at the GREC will not change.  However, stack testing for metal and organic HAP described in subsection 1.3 will no longer be required since such testing is superseded by the requirements of NESHAP Subpart DDDDD.  However, in addition to meeting the NESHAP Subpart DDDDD HCl emission limit, GREC will continue to meet the HF emission limit in the permit.  This limit equates to 0.0016 lb/MMBtu or 2.2 pounds per hour (lb/hr).  As a result of this project, compliance with both the HCL and HF limits will be by annual stack tests with the HCl and HF CEMS requirements removed from the permit.  Also, since PSD is not trigger, air dispersion modeling is not required for this project.

- Department analysis

  - NESHAP Subpart DDDDD

GREC, LLC has requested that the requirements of NESHAP 40 CFR 63, Subpart DDDDD be incorporated into the GREC permit and that other HAP emission limits and monitoring requirements be removed.  Based on the discussions provided in subsections 1.3 and 2.2 the Department concurs with this request.  The permit contained in this draft minor air construction permit package has been modified accordingly.

  - Removal of CAIR

The requirements for the CAIR program are set forth in 40 CFR Part 96.  Pursuant to 40 CFR Section 96.4(a), CAIR applies to:

- any unit that, any time on or after January 1, 1995, serves a generator with a nameplate capacity greater than 25 MWe and sells any amount of electricity; or

- Any unit that is not a unit under paragraph (a) of this section and that has a maximum design heat input greater than 250 MMBtu/hr.

Section 96.2 defines unit as “a fossil fuel-fired stationary boiler, combustion turbine, or combined cycle system.”

Section 96.2 defines “fossil fuel-fired” to mean, with regard to a unit:

- The combustion of fossil fuel, alone or in combination with any other fuel, where fossil fuel actually combusted comprises more than 50 percent of the annual heat input on a Btu basis during any year starting in 1995 or, if a unit had no heat input starting in 1995, during the last year of operation of the unit prior to 1995; or

- The combustion of fossil fuel, alone or in combination with any other fuel, where fossil fuel is projected to comprise more than 50 percent of the annual heat input on a Btu basis during any year; provided that the unit shall be “fossil fuel-fired” as of the date, during such year, on which the unit begins combusting fossil fuel.

According to GREC, LLC, the GREC BFB boiler will only combust natural gas during startups and, therefore, fossil fuel will not comprise more than 50 percent of the annual heat input on a Btu basis.  Consequently, the GREC BFB boiler is not “fossil fuel-fired,” as that term is defined in 40 CFR Part 96.  Since the GREC BFB boiler is not fossil fuel-fired, it also is not a “unit” as that term is defined in 40 CFR Part 96.  Based on the Part 96 provisions, the GREC BFB boiler is not subject to CAIR.

The Department agrees with this conclusion and references to CAIR will be removed from the GREC permit.

  - NSPS Subpart Da

This GREC BFB boiler is subject to NSPS Subpart Da – Standards of Performance for Electric Utility Steam Generating Units for Which Construction is Commenced after September 18, 1978 {72 Federal Register (FR) 32722, June 13, 2007, as amended at 78 FR 24082, April 24, 2013}, because it has a maximum heat input capacity greater than 250 MMBtu/hr from the fossil fuels (natural gas) combusted.  This subpart has been amended since the final GREC PSD permit was issued.  Consequently, GREC, LLC has requested that the latest version be included in the revised permit.  The Department agrees with this request, and the latest version of NSPS Subpart Da will be included in the GREC permit.

In addition to incorporating the latest version of NSPS Subpart Da, GREC, LLC has requested that the GREC BFB boiler be subjected to the requirements of the Subpart for units that commenced construction after February 28, 2005 and before May 4, 2011.  For such units, the applicable Subpart Da PM standards are specified in §60.42Da(c).  The PM limits in §60.42Da(c) include the option to comply with either an output-based limit of 0.14 lb/MWh, gross energy output §60.42Da(c)(1)], or an input-based limit of 0.015 lb/MMBtu heat input [§60.42Da(c)(2)].  The applicable compliance provisions for the §60.42Da(c)(1) output-based PM standard are stated in §60.48Da(n), and for the §60.42Da(c)(2) input-based PM standard in §60.48Da(o).  Applicable Subpart Da SO2 and NOX standards for affected units that commenced construction after February 28, 2005 and before May 4, 2011 are provided in §60.43Da(i) and §60.44Da(e), respectively.

As stated in EPA’s Response to Public Comments on Rule Amendments Proposed May 3, 2011 (73 FR 33642), applicability to Permitted EGUs for which Construction Has Not Commenced:

Section 111(a) of the CAA defines a new source as one for which construction or modification commences after the publication of proposed regulations applicable to the source.  In this case, the relevant date is May 4, 2011 and any source which commences construction or modification after that date is a new source for purposes of the final regulations.  EPA has long defined “commenced” in this context to mean “that an owner or operator has undertaken a continuous program of construction or modification or that an owner or operator has entered into a contractual obligation to undertake and complete, within a reasonable time, a continuous program of construction or modification.” (40 CFR 60.2).

GREC, LLC had a firm contract for the GREC BFB boiler, including provisions for cancellation penalties, finalized with the boiler vendor (Metso) on April 19, 2011.  Since a contractual obligation for the BFB boiler prior to May 4, 2011 was in place, according to GREC, LLC, the GREC BFB boiler is not a new source for purposes of the final NSPS Subpart Da regulations, i.e., the BFB boiler contract represents the start of construction and the GREC facility undertook continuous construction from that date until the startup of the facility in the summer of 2013.

The Department received parts of the contract between GREC, LLC and Metso that provided reasonable assurance that a firm contract was in-place prior to the May 4, 2011 date cited in NSPS Subpart Da with financial penalties if the contract was not fulfilled.  Consequently, the BFB boiler is subject to the emission limits for units that commenced construction after February 28, 2005 and before May 4, 2011.

  - Sorbent for Acid Gas Control

GREC, LLC has requested that the permit be modified to reflect that trona or an equivalent sorbent be allowed for acid gas control from the BFB boiler.  The Department agrees with this request.  So long as the SO2, HF and HCl emission limits are met, it does not matter what type of sorbent is used for acid gas control.  In addition, this change will provide consistency in the permit.  For example, only trona is specified in Specific Condition 3.B.2-c while trona or hydrated lime is specified in Specific Condition 3.B.3.

  - NH3 Storage

Specific Condition 3.B.4 of the permit states “In accordance with 40 CFR 60.130, the storage of NH3 shall comply with all applicable requirements of the Chemical Accident Prevention Provisions in 40 CFR 68.  The aqueous ammonia, containing 19% ammonia by volume will be stored in one outdoor 30,000 gallon tank designed and fabricated in accordance with U.S. Department of Labor Chapter 29, Part 1910.111, Code of Federal Regulations (CFR), American Society of Mechanical Engineers (ASME) Boiler and Pressure Vessel Code, ANSI K 61.1, and applicable requirements of Chapter 62-762, F.A.C., Above Ground Storage Tank (AST) Systems.”  However according to GREC, LLC, neither 40 CFR 60.130 (applicability provisions of NSPS Subpart M - Standards of Performance for Secondary Brass and Bronze Production Plants) nor 40 CFR 68 apply to GREC’s ammonia storage tank.  As stated in Table 1 to §68.130, regulated ammonia substances include anhydrous ammonia and ammonia with concentrations of 20% or greater.  The requirements in 40 CFR 68 do not apply in this case because the ammonia storage tank at GREC will contain aqueous ammonia with a concentration of 19% that is less than 20% threshold.  The Department agrees with this assessment and the references to 40 CFR 60.130 and 40 CFR 68 will be removed from the permit.

  - Cooling Tower

Specific Condition 3.D.1 of the permits states “The permittee is authorized to construct a 4-cell mechanical draft cooling tower system 53 feet in height with a circulating water flow rate of 78,000 gallons per minute (gpm).  The design air flow will be approximately 2,425,000 acfm.  The tower will be equipped with drift eliminators to meet a proposed drift rate of 0.0005%.”  However, according to GREC, LLC, the cooling tower has been constructed with 5 cells, rather than 4, because the additional cell enables the cooling tower to operate more efficiently, without increasing airborne emissions, water usage, or other impacts.  The Department will revise the permit to reflect the current, improved, design of the cooling tower.

- CONCLUSION

The Department makes a preliminary determination that the proposed project will comply with all applicable state and federal air pollution control regulations as conditioned by the Draft Permit.