PERMITTEE

Duke Energy Florida, Inc. (DEF)

299 First Avenue North

St. Petersburg, Florida 33701

PERMITTING AUTHORITY

Florida Department of Environmental Protection (Department)

Division of Air Resource Management

Office of Permitting and Compliance (OPC)

2600 Blair Stone Road, MS #5505

Tallahassee, Florida 32399-2400

PROJECT

DEP File No. 0170004-047-AC

DEF Citrus Combined Cycle Project

Citrus County

DEF operates the Crystal River Energy Complex (CREC) is located at 15760 West Power Line Street, Crystal River in Citrus County, Florida.  The DEF Citrus Combined Cycle Project (CCCP) will be located North of Crystal River, West of U.S. 19 and east of the DEF CREC.

DEF proposes to construct a nominal 1,640 megawatt (MW) natural gas-fueled combined cycle facility on property adjacent to the existing CREC.  The project includes the retirement of CREC coal-fueled Units 1 and 2.

A Prevention of Significant Deterioration (PSD) review and determinations of Best Available Control Technology (BACT) were not required pursuant to the Rule 62-212.400, Florida Administrative 
Code (F.A.C).

NOTICES AND PUBLICATION

On November 13, 2013 the Department gave notice of its intent to issue an air permit to the applicant for the described project.  The applicant published the Public Notice of Intent to Issue Air Permit for this project on November 27 in The Citrus County Chronicle.

The complete project file including the Application, Draft Permit, Technical Evaluation and Preliminary Determination (TEPD) and key correspondence are available at the following web link:

www.dep.state.fl.us/Air/emission/construction/Duke-CCCP.htm

COMMENTS on the draft permit

The applicant submitted comments by electronic mail (email) dated December 5, 2014.  Minor comments included:  the correct email of the responsible official; use of the term “retirement” instead of “shutdown” of two coal-fueled units; removal of a redundant condition; indication that combustion turbine inlet air cooling is optional; and use of minutes (120 minutes) instead of hours (2 hours) as the time that an alternative visible emission standard applies when conducting a “warm startup” of a Combustion Turbine/Heat Recovery Steam Generator system.  These changes requested by the permittee were made to the final permit.

The email also included the following comment:

“The Regulatory Classification section (page 4 of 24) states that the existing facility is subject to the Clean Air Interstate Rule (CAIR).  According to EPA, CAIR will cease to exist on Jan 1, 2015, and be replaced by the Cross State Air Pollution Control Rule (CSAPR).  This description should be clarified, maybe to say that it will only be subject to CAIR as required by federal law”.

On November 21, 2014 (during the comment period) the EPA Administrator signed a relevant notice regarding these rules and submitted it for publication in the Federal Register (FR).

Link to Pre-Publication CSAPR Amendments

The noticed Interim Final Rule contains compliance deadlines for the CSAPR as revised by the effect of the action of the U. S. Court of Appeals, D.C. Circuit that lifted a previous stay of the CSAPR.  The changes, characterized by EPA as “ministerial amendments”, similarly correct dates related to specific activities required or permitted under CSAPR by regulated sources, the EPA, and states, as well as dates related to the sun setting of the CAIR.

Inclusion or exclusion of the CAIR or the CSAPR within the description of this air construction permit does not establish or exclude their applicability at the existing facility (CREC) or the CCCP.  The Department will remove the description given in the draft permit to minimize confusion and will update and maintain applicability of the CAIR and/or the CSAPR through the facility Title V Air Operating Permit.

The public comment period ended on December 11.  No other comments were received.

CONCLUSION

The final action of the Department is to issue the final permit based on the draft permit with the changes described above.