PERMITTEE

Waste Management Inc of Florida

9350 NW 89th Ave

Medley, Florida  33178

PERMITTING AUTHORITY

Florida Department of Environmental Protection (Department)

Division of Air Resource Management

Office of Permitting and Compliance (OPC)

2600 Blair Stone Road, MS #5505

Tallahassee, Florida 32399-2400

PROJECT

DEP File No. 0250615-013-AC

Medley Landfill Waste to Energy Project

Miami-Dade County

Medley Landfill is an existing municipal solid waste (MSW) landfill categorized under Standard Industrial Classification No. 4911.  The existing facility is located in Miami-Dade County at 9350 Northwest 89th Avenue in Medley, Florida. This air construction permit will extend the commence construction date requirement of Permit No. 0250615-012-AC (PSD-FL-414).  This revision allows an additional 18 month extension period to commence construction from the original permitted commencement date of February 25, 2013.

The applicant reexamined the RACT/BACT/LEAR Clearing House and found the latest project included for landfill gas power production contained the same Cat 3520 engines as the Medley project with the same CO emission limit of 3.5 grams per brake-horsepower hour (g/bhp-hr).  Therefore, a new prevention of significant deterioration (PSD) review and a determination of best available control technology (BACT) were not required.

NOTICES AND PUBLICATION

On March 27, 2013 the Permitting Authority gave notice of its intent to issue an air permit to the applicant for the described project.  The applicant published the Public Notice of Intent to Issue Air Permit for this project on May 3, 2013 in the Miami Herald.

The complete project file including the Application, Draft Permit, Technical Evaluation and Preliminary Determination (TEPD) and key correspondence are available by inserting Permit No. 0250615-013-AC at the following web link:

http://appprod.dep.state.fl.us/air/emission/apds/default.asp

COMMENTS on the draft permit

The applicant did not submit comments pursuant to the 14-days comment period regarding the draft permit.  No comments were received from the public, EPA or other agencies on the draft permit during the comment period that ended on May 16, 2013.

CONCLUSION

The final action of the Department is to issue the final permit with no changes from the draft that was issued on March 27, 2013.