FINAL DETERMINATION

I.	GENERAL INFORMATION

A.	APPLICANT

Jacksonville Aviation Authority	FINAL Permit No. 0310601-001-AC		14201 Pecan Park Road	County: Duval

Jacksonville, Florida  32218

B.	PROJECT

The applicant, Jacksonville Aviation Authority, applied on October 6, 2014 to the Regulatory Compliance Department (Permitting Authority) for a permit to construct a biological waste incinerator at Jacksonville International Airport.  Jacksonville International Airport is located at 2400 Yankee Clipper Drive, Jacksonville, Duval County, Florida 32218.

II.	FINAL DETERMINATION

The Technical Evaluation and Preliminary Determination for the project described above was distributed on October 28, 2014.  The Public Notice of Intent to Issue Permit was published in the Financial News and Daily Record on November 6, 2014.  Proof of publication of the Public Notice of Intent to Issue Permit was received by the Permitting Authority on November 17, 2014.

Copies of the evaluation were available for public inspection at the Permitting Authority.

Comments were received and the DRAFT Construction Permit was changed. The comments were not considered significant enough to reissue the DRAFT Construction Permit and require another Public Notice. Comments were received from one respondent during the 14 (fourteen) day public comment period. Listed below is the comment e-mail and a response to each comment in the order that the comment was received.  The comment(s) will not be restated.

Comments:  E-mail received from Ms. Lisa M. Sterling, P.E., Senior Project Manager, CDM Smith Inc. on November 20, 2014.

- EQD Response:   The language in the DRAFT Construction Permit covers the proposed revision to the facility project description of Subsection A.  No changes are necessary.

- EQD Response:	The language in the DRAFT Construction Permit covers the proposed revision to Subsection B. Specific Condition No. 3. No changes are necessary.

- EQD Response:	The language in the DRAFT Construction Permit covers the proposed revision to Subsection B. Specific Condition No. 13.  Only the applicable sections would apply.  No changes are necessary.

- EQD Response:	As a result of this comment, Specific Condition No. 2 under  Section III, Emission Units and Conditions, Emission Limitations and Standards is hereby changed:

From:  	The maximum process rate shall not exceed 50 pounds per hour of waste.

To:	The maximum process rate of waste shall not exceed 50 pounds per hour, or 150 lbs per batch based on a 3-hour cycle.

5.	EQD Response:	As a result of this comment, Specific Condition No. 5 under Section III, Emission Units and Conditions, Emission Limitations and Standards, is hereby changed at the request of the applicant in order to avoid Title V status:

From:	Hydrochloric acid emissions shall not exceed 4.0 pounds per hour.

To:	Hydrochloric acid emissions shall not exceed 0.53 pounds per hour.

- EQD Response:	The design criteria indicates the proposed biological waste incinerator has a lock system.  Section III, Emission Units and Conditions, Design and Operating 	Requirements, Specific Condition No. 8 is applicable. No changes are necessary.

7.	EQD Response:	The language in the DRAFT Construction Permit, Section III, Emission Units and Conditions, Continuous Monitoring Requirements, Specific Condition No. 12 is applicable.  No changes are necessary.

However, Specific Condition No. 13 under Section III, Emission Units and Conditions, Continuous Monitoring Requirements has been added at the request of the applicant. The subsequent specific conditions have been renumbered accordingly.

# III.	CONCLUSION

The final action of the Permitting Authority will be to issue FINAL Construction Permit No. 0310601-001-AC with the change to Specific Condition No. 2, under Section III. Emission Units and Conditions, Emission Limitations and Standards and the addition of Specific Condition No. 13 under Section III, Emission Units and Conditions, Continuous Monitoring Requirements.

# S:\PermitF\FCP\Final\0310601-001fd-AC