PERMITTEE

New Hope Power Company (NHPC)

Okeelanta Cogeneration Plant

8001 U.S. Highway 27 South

South Bay, Florida  33493

PERMITTING AUTHORITY

Florida Department of Environmental Protection (Department)

Division of Air Resource Management

Office of Permitting and Compliance (OPC)

2600 Blair Stone Road, MS #5505

Tallahassee, Florida 32399-2400

PROJECT

DEP File No. 0990332-021-AC

Construction of New Natural Gas Boiler (Boiler D)

Palm Beach County

This is the final air construction permit, which authorizes the addition of a natural gas-fired boiler (Cogeneration Boiler D) at the NHPC Okeelanta Cogeneration Plant.  The addition of a natural gas-fired boiler will allow NHPC the flexibility to produce steam and electricity year-round based on the most economical fuel or fuel mix.  Steam produced by the new boiler will be tied into the existing steam system, which serves two steam turbine electrical generators (STEG) and provides the Okeelanta sugar mill and refinery with steam.  The current maximum electrical generating capacity of the facility of 140 megawatts, net (MW-net) will not be increased with the addition of the new boiler.

This project was subject to PSD preconstruction review in accordance with Rule 62-212.400, F.A.C.  Best Available Control Technology (BACT) determinations were required for of nitrogen oxides (NOX), carbon monoxide (CO), particulate matter with a mean diameter of 10 microns or less (PM10) and PM with a mean diameter of 2.5 microns or less (PM2.5).  In addition, PSD was triggered for greenhouse gases with the applicant submitting an air construction permit application to EPA Region 4 in Atlanta Georgia.

NOTICES AND PUBLICATION

NHPC submitted an air construction permit application on January 30, 2013.  On June 24, 2013, the Permitting Authority gave notice of its intent to issue an air permit to the applicant for the described project.  The applicant published the Public Notice of Intent to Issue Air Permit for this project on July 24, 2013 in the Palm Beach Post.  An electronic version of the draft and final permit packages are available on the following web site by entering permit number:  http://www.dep.state.fl.us/air/emission/apds/default.asp.

COMMENTS on the draft permit

No comments were received from the public or the EPA during the 30-day comment period that ended on August 22, 2013.  The applicant submitted comments on the draft permit package by electronic mail on July 18, 2013.  The comments from the applicant were minor in nature and mainly related to incorrect descriptive text, erroneous federal rule citations and typos.  These minor changes were made to both the permit and associated appendices.  Finally, an incorrect PSD number was assigned to the draft permit, i.e., PSD-FL-196R, a new number should have been assigned to reflect the new project and associated emission unit (006) for the new natural gas Boiler D.  A new number of PSD-FL-425 was assigned to the final permit to correct this error.

CONCLUSION

The final action of the Department is to issue the draft permit as the final permit with the minor corrections mentioned above.