| E.U. ID No. | Brief Description | Fuel(s) | Hrs/Yr | Pollutant Name | Standard Allowable Emissions | Equivalent Emissions |  | Regulatory Citation(s) | See Permit Condition(s) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | lbs/hr Per unit | TPY units |  |  |
| 001 | Gas Tanks |  | 8760 | VOC |  |  | 57.6 |  | A.1. |
| 002 | Jet Fuel Tanks |  | 8760 | VOC |  |  | 16.7 |  | A.1. |
| 004 | Truck Loading Rack T/T Nos. 1 and 2A |  | 8760 | VOC |  |  | 3.4 |  | B.4. |
| 007 | Biodiesel/Diesel Tanks |  | 8760 | VOC |  |  | 2.3 |  | A.1. |
| 008 | Additive Tanks |  | 8760 | VOC |  |  | 1.5 |  | A.1. |
| 009 | (PCW) Tanks |  | 8760 | VOC |  |  | 7.9 |  | A.1. |
| 013 | Miscellaneous Products Tanks |  | 8760 | VOC |  |  | 6.7 |  | A.1. |
| 014 | Barge Loading |  | 8760 | VOC |  |  | 1.0 |  | C.2 |
| 015 | Ethanol Tanks |  | 8760 | VOC |  |  | 7.3 |  | A.1. |
| 017 | Truck Loading Rack T/T Nos. 3 and 7 |  | 8760 | VOC | 10 mg/L; 8 mg/L (Fugitive) |  | 93.6 | 40 CFR 60 Subpart XX | B.3. and B.8. |

| E.U. ID No. | Brief Description | Fuel(s) | Pollutant Name | Emission Control | Compliance Method EPA Method | Testing Time Frequency | Frequency Base Date | Min. Compliance Test Duration | See Permit Condition(s) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 001 | Gas Tanks | NA | VOC | Floating Roofs |  |  |  |  | A.5. – A.8. |
| 002 | Jet Fuel Tanks | NA | VOC | Submerged Filling |  |  |  |  | A.8. |
| 004 | Truck Loading Rack T/T Nos. 1 and 2A | NA | VOC | Submerged Filling |  |  |  |  | B.5. |
| 007 | Biodiesel/Diesel Tanks | NA | VOC | Submerged Filling |  |  |  |  | A.8. |
| 008 | Additive Tanks | NA | VOC | Submerged Filling |  |  |  |  | A.8. |
| 009 | (PCW) Tanks | NA | VOC | Submerged Filling |  |  |  |  | A.8. |
| 013 | Miscellaneous Products Tanks | NA | VOC | Submerged Filling or Floating Roofs |  |  |  |  | A.4. and A.8. |
| 014 | Barge Loading | NA | VOC | Submerged Filling |  |  |  |  | C.3. |
| 015 | Ethanol Tanks | NA | VOC | Submerged Filling or Floating Roofs |  |  |  |  | A.7. and A.8. |
| 017 | Truck Loading Rack T/T Nos. 3 and 7 | NA | VOC | VRU or OFFU | EPA 25 A or B (VRU); EPA 2B and 22 (OFFU) | Annual (VRU); Prior to Renewal (OFFU) |  | 2 Hours (OFFU) | B.15. |