Emission Unit -  ID No.

| Pollutant Name or Parameter | Fuel(s) | EPA Reference Method/ Requirement | Testing Time or Frequency | Frequency Base Date | Minimum Compliance Test Time | CMS | Permit Condition(s) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CT - 007 |  |  |  |  |  |  |  |
| NOx | Gas | EPA Meth. 20 | Annual |  |  | Yes | B.21. |
| SO2 | Gas |  |  |  |  | NG | B.21. |
| CO | Gas | EPA Meth. 10 | Annual |  |  |  | B.21. |
| DB - 005 |  |  |  |  |  |  |  |
| NOx | Gas | EPA Meth. 20 | Annual |  |  | Yes | B.21. |
| CO | Gas | EPA Meth. 10 | Annual |  |  |  | B.21. |
| Boiler #4 - 002 |  |  |  |  |  |  |  |
| SO2 | Oil | F.O. Analysis | Per Delivery |  |  |  | A.19. |
| VE | Gas/Oil | EPA Meth. 9 | Annual |  | 1-hour |  | A.17. |
| Boiler #5 - 003 |  |  |  |  |  |  |  |
| SO2 | Oil | F.O. Analysis | Per Delivery |  |  |  | A.19. |
| VE | Gas/Oil | EPA Meth. 9 | Annual |  | 1-hour |  | A.17. |
| Facility [E.U.’s 002, 003, 005, & 007] |  |  |  |  |  |  |  |
| NOx | Gas/Oil | EPA Method 20 | Annual |  |  | Yes | B.29. |