TECHNICAL EVALUATION

&

PRELIMINARY DETERMINATION

APPLICANT

WestRock CP, LLC

North 8th Street

Fernandina Beach, Florida 32034

Fernandina Beach Mill

Facility ID No. 0890003

PROJECT

Project No. 0890003-051-AC

Application for Minor Source Air Construction Permit

Burn ultra-low sulfur diesel (ULSD) fuel oil in EU021

COUNTY

Nassau County, Florida

PERMITTING AUTHORITY

Florida Department of Environmental Protection

Northeast District Office

8800 Baymeadows Way W., Suite 100

Jacksonville, Florida 32256

October 5, 2016

- General Project INFORMATION

Air Pollution Regulations

Projects at stationary sources with the potential to emit air pollution are subject to the applicable environmental laws specified in Section 403 of the Florida Statutes (F.S.).  The statutes authorize the Department of Environmental Protection (Department) to establish regulations regarding air quality as part of the Florida Administrative Code (F.A.C.), which includes the following applicable chapters:  62-4 (Permits); 62-204 (Air Pollution Control – General Provisions); 62-210 (Stationary Sources – General Requirements); 62-212 (Stationary Sources – Preconstruction Review); 62-213 (Operation Permits for Major Sources of Air Pollution); 62-296 (Stationary Sources - Emission Standards); and 62-297 (Stationary Sources – Emissions Monitoring).  Specifically, air construction permits are required pursuant to Chapters 62-4, 62-210 and 62-212, F.A.C.

In addition, the U. S. Environmental Protection Agency (EPA) establishes air quality regulations in Title 40 of the Code of Federal Regulations (CFR).  Part 60 specifies New Source Performance Standards (NSPS) for numerous industrial categories.  Part 61 specifies National Emission Standards for Hazardous Air Pollutants (NESHAP) based on specific pollutants.  Part 63 specifies NESHAP based on the Maximum Achievable Control Technology (MACT) for numerous industrial categories.  The Department adopts these federal regulations in Rule 62-204.800, F.A.C.

Glossary of Common Terms

Because of the technical nature of the project, the permit contains numerous acronyms and abbreviations, which are defined in Appendix A of this permit.

  - Facility Description and Location

WestRock CP, LLC (WestRock) operates a fully integrated Kraft linerboard mill (the Mill) located in Fernandina Beach, Nassau County, Florida.  The Mill produces linerboard from wood pulp and pulp derived from recycled corrugated containers, which is then sold to customers for converting into corrugated containers.  The manufacturing processes at the Mill consists of the following major plant operations:  wood yard, pulp mill, recycle plant, chemical recovery, power house, and paper mill.  A container plant (box plant) also operates onsite, converting linerboard into corrugated containers.  The major fuel burning sources at the mill consist of two power boilers, two recovery boilers, and one lime kiln.  Figure 1 shows the location of the WestRock Fernandina Beach Mill while Figure 2 shows an aerial view of the mill.

Figure 1.  Location of Fernandina Beach Mill.  				Figure 2.  Fernandina Beach Mill

The Fernandina Beach Mill is an existing Kraft Pulp Mill categorized under Standard Industrial Classification Code No. 2611.  The existing mill is located in Nassau County at North 8th Street in Fernandina Beach, Florida.  The UTM coordinates are Zone 17, 456.2 kilometers (km) East, and 3394.2 km North.  This site is in an area that is in attainment (or designated as unclassifiable) for all air pollutants subject to Ambient Air Quality Standards (AAQS).

The following existing emissions units (EU) are at the mill.

| EU No. | ## Brief Description |
| --- | --- |
| Regulated Emissions Units |  |
| 006 | No. 5 Power Boiler |
| 007 | No. 4 Recovery Boiler |
| 011 | No. 5 Recovery Boiler |
| 013 | No. 4 Smelt Dissolving Tank |
| 014 | No. 5 Smelt Dissolving Tank |
| 015 | No. 7 Power Boiler |
| 020 | Tall Oil Plant |
| 021 | No. 4 Lime Kiln |
| 024 | C-Line Brownstock Washer System |
| 033 | Pulping System MACT I |
| 035 | Wide-web Flexographic Printers |
| 038 | John Deere 210 brake horse power (BHP) Diesel Engine- Model JU6H-UF50 |
| 039 | Caterpillar 292 BHP Diesel Engine– Model 3406c |
| 040 | Caterpillar 292 BHP Diesel Engine – Model 3406c |
| 041 | Coal Handling System |
| 042 | John Deere, Diesel Engine (125 BHP) – Model 6466DF-00 |
| 043 | Wisconsin, Gasoline Engine (65 BHP) – Model V465D |
| Unregulated Emissions Units and Activities |  |
| 025 | Wood yard |
| 026 | Brownstock Washing |
| 028 | Chemical Recovery Area |
| 029 | Converting Area/Warehouse |
| 030 | Facility-Wide miscellaneous |
| 031 | Secondary Fiber Pulp |
| 032 | Papermaking |

  - Facility Regulatory Categories

- The facility is a major source of hazardous air pollutants (HAP).

- The facility is a Title V major source of air pollution in accordance with Chapter 62-213, F.A.C.

- The facility is a major stationary source in accordance with Rule 62-212.400, F.A.C. for the Prevention of Significant Deterioration (PSD) of Air Quality.

  - Project Description

- WestRock submitted an application requesting to fire ULSD fuel oil in EU021 (No. 4 Lime Kiln).

- The following existing emissions unit (EU) will be affected by this project.

| - EU No. | - Description |
| --- | --- |
| 021 | No. 4 Lime Kiln |

  - Processing Schedule

06/16/2016	Received the application for a minor source air pollution construction permit.

08/11/2016	Requested additional information.

08/17/2016	Received additional information; application complete.

- PSD Applicability

General PSD Applicability

For areas currently in attainment with the AAQS or areas otherwise designated as unclassifiable, the Department regulates major stationary sources of air pollution in accordance with Florida’s PSD preconstruction review program as defined in Rule 62-212.400, F.A.C.  Under preconstruction review, the Department first must determine if a project is subject to the PSD requirements (“PSD applicability review”) and, if so, must conduct a PSD preconstruction review.  A PSD applicability review is required for projects at new and existing major stationary sources.  In addition, proposed projects at existing minor sources are subject to a PSD applicability review to determine whether potential emissions from the proposed project itself will exceed the PSD major stationary source thresholds.  A facility is considered a major stationary source with respect to PSD if it emits or has the potential to emit:

- 5 tons per year or more of lead;

- 250 tons per year or more of any regulated air pollutant; or

- 100 tons per year or more of any regulated air pollutant and the facility belongs to one of the following 28 PSD-major facility categories:  fossil fuel-fired steam electric plants of more than 250 million British thermal units per hour heat input, coal cleaning plants (with thermal dryers), Kraft pulp mills, Portland cement plants, primary zinc smelters, iron and steel mill plants, primary aluminum ore reduction plants, primary copper smelters, municipal incinerators capable of charging more than 250 tons of refuse per day, hydrofluoric, sulfuric, and nitric acid plants, petroleum refineries, lime plants, phosphate rock processing plants, coke oven batteries, sulfur recovery plants, carbon black plants (furnace process), primary lead smelters, fuel conversion plants, sintering plants, secondary metal production plants, chemical process plants, fossil fuel boilers (or

combinations thereof) totaling more than 250 million British thermal units per hour heat input, petroleum storage and transfer units with a total storage capacity exceeding 300,000 barrels, taconite ore processing plants, glass fiber processing plants and charcoal production plants.

Once it is determined that a project is subject to PSD preconstruction review, the project emissions are compared to the “significant emission rates” defined in Rule 62-210.200, F.A.C. for the following pollutants:  carbon monoxide (CO); nitrogen oxides (NOX); sulfur dioxide (SO2); particulate matter (PM); particulate matter with a mean particle diameter of 10 microns or less (PM10); particulate matter with a mean particle diameter of 2.5 microns or less (PM2.5); volatile organic compounds (VOC); lead (Pb); fluorides (F); sulfuric acid mist (SAM); hydrogen sulfide (H2S); total reduced sulfur (TRS), including H2S; reduced sulfur compounds, including H2S; municipal waste combustor organics measured as total tetra- through octa-chlorinated dibenzo-p-dioxins and dibenzofurans; municipal waste combustor metals measured as particulate matter; municipal waste combustor acid gases measured as SO2 and hydrogen chloride (HCl); municipal solid waste landfills emissions measured as non-methane organic compounds (NMOC); and mercury (Hg).  In addition, significant emissions rate also means any emissions rate or any net emissions increase associated with a major stationary source or major modification which would construct within 10 kilometers of a Class I area and have an impact on such area equal to or greater than 1 μg/m3, 24-hour average.

If the potential emission equals or exceeds the defined significant emissions rate of a PSD pollutant, the project is considered “significant” for the pollutant and the applicant must employ the Best Available Control Technology (BACT) to minimize the emissions and evaluate the air quality impacts.  Although a facility or project may be major with respect to PSD for only one regulated pollutant, it may be required to install BACT controls for several “significant” regulated pollutants.

PSD Applicability for Project

The project is located in Nassau County which is in an area that is currently in attainment with the AAQS or is otherwise designated as unclassifiable.  The increases in emissions due to the proposed addition of ULSD No. 2 fuel oil for the No. 4 Lime Kiln are summarized in Table 4-10.  As shown, no emission increases exceed the PSD significant emissions rate. Therefore, PSD review does not apply to the proposed project.

The project is located in Nassau County which is in an area that is currently in attainment with the AAQS or is otherwise designated as unclassifiable.  As provided in the application, Table 1 summarizes potential emissions and PSD applicability for the project.

Table 1.  Summary of the Applicant’s PSD Applicability Analysis

| Pollutant | Annual Emissions, TPY |  |  |  |  | Subject to PSD? |
| --- | --- | --- | --- | --- | --- | --- |
|  | BAEa,b | Demand Growth | PAEd | Increase | SER |  |
| CO | 5.42 | 0.03 | 5.45 | 0 | 100 | No |
| NOX | 103.81 | 0.57 | 104.38 | 0 | 40 | No |
| PM | 30.46 | 3.54 | 33.99 | 0 | 25 | No |
| PM10 | 16.96 | 1.71 | 18.67 | 0 | 15 | No |
| PM2.5 | 10.57 | 0.79 | 11.36 | 0 | 10 | No |
| SO2 | 2.71 | 0.01 | 2.72 | 0 | 40 | No |
| VOC | 1.81 | 0.01 | 1.82 | 0 | 40 | No |
| SAM | 1.9 | 0.01 | 1.91 | 0 | 7 | No |
| TRS | 1.9 | 0.51 | 2.8 | 0 | 10 | No |
| Pb | 1.44E-3 | 7.91E-6 | 1.44E-3 | 0 | 0.6 | No |
| Hg | 2.55E-4 | 1.4E-6 | 2.55E-4 | 0 | 0.1 | No |
| - Baseline actual emissions (BAE) for each pollutant were estimated during the following time periods: 2010 – 2011 for CO, NOX, SO2. VOC, SAM, Pb, and Hg; 2011 – 2012 for PM2.5; 2012 – 2013 for PM, PM10 and TRS. - In accordance with Rule 62-210.370, F.A.C., emissions factors were created for the following pollutants for the lime kiln in calculating BAE: stack test data for PM; TRS CEMS; NCASI emission factors for NOX, PM10, PM2.5, SAM, Pb, and Hg. The Department does not accept some of the methodologies in determining these emission factors and shall not be used or set a precedent for any future applications. - Excludable emissions that are unrelated to the particular project including any increased utilization due to product demand growth. - Emissions factors for estimating the projected actual emissions (PAE) were based on the same emissions factors as used in determining BAE. - Increase is determined from the following equation: PAE – BAE – Demand Growth = Increase. |  |  |  |  |  |  |

As shown in the above in Table 2, total project emissions will not exceed the PSD significant emissions rates; therefore, the project is not subject to PSD preconstruction review.

- department review

WestRock is requesting to fire ULSD fuel oil in the No. 4 Lime kiln.  The Department reviewed this project with Project No. 0890003-053-AC that is currently being reviewed for the No. 7 Power Boiler to install natural gas load burners to increase the use of natural gas, limit the fuel sulfur content of the No. 2 fuel oil to 0.0015% and remove the use of No. 6 fuel oil.  To combine the projects, the Department used the applicants PSD analysis for each project and adjusted the BAE time period for each pollutant during a consecutive 24-month period.  The Department’s PSD analysis showed an increase in CO emissions of 56.8 TPY and VOC emissions of 3.3 TPY.  Project No. 0890003-053-AC is requiring the facility to monitor, report and keep records of actual emissions for these pollutants for that project pursuant to Rule 62-212.300(1)(e), F.A.C.

- No. 4 Lime Kiln (EU ID No. 021)

The No. 4 Lime Kiln is currently authorized to burn natural gas, No. 6 fuel oil and on-spec used oil.  WestRock expects that the addition of ULSD will not increase emissions compared to other fuels.  Table 2 presents a comparison of emissions on a lb/ton lime, calcium oxide, (CaO) basis for the various fuels.  As shown in the table, the emission factors for many pollutants from lime kilns are not dependent on the type of fuel burned.  The maximum ULSD fuel usage rate for the No. 4 Lime Kiln is based on a heat input rate of 170.63 million British thermal units per hour (MMBtu/hour), the same as currently authorized for No. 6 fuel oil.

TABLE 2 Fuels Burned in the No. 4 Lime Kiln

| Emission Factor (lb/ton CaO) a |  |  |  |
| --- | --- | --- | --- |
| Pollutant | Natural Gas | No. 6 Fuel Oil | ULSD |
| SO2 | 0.03 | 0.03 | 0.03 |
| NOx | 0.70 | 1.15 | 1.15 |
| CO | 0.06 | 0.06 | 0.06 |
| PM b | 0.321 | 0.321 | 0.321 |
| PM10 c | 0.102 | 0.102 | 0.102 |
| PM2.5 c | 0.033 | 0.033 | 0.033 |
| VOC | 0.02 | 0.02 | 0.02 |
| - Based on NCASI Technical Bulletin No.1020, Table 4.13 for Lime Kilns, median values. - Based on 2015 Stack Test data. - PM10 based on 31.7% of PM, PM2.5 based on 10.2% of PM. Table 4.13 for Lime Kilns NCASI TB No. 1020. |  |  |  |

The No. 4 lime kiln combusts non-condensable gases (NCG) from the Kamyr digester system, batch digester system, No. 5 Multi-Effect Evaporators system and No. 6 Multi-Effect Evaporators system to control emissions of TRS compounds in NCG.  Also, low volume, high concentration (LVHC) NCG from the batch digester system, continuous digester system, turpentine recovery system, evaporator systems, and foul condensate collection tank are collected and burned in the No. 4 Lime Kiln with the No. 5 Power Boiler as the back-up for compliance with 40 CFR 63, Subpart S.

The lime kiln uses an ESP to control emissions of PM.  The lime kiln is equipped with a continuous opacity monitoring system to continuously monitor opacity and a continuous emissions monitoring system to monitor TRS emissions from the stack.

- NSPS Provisions for the Lime Kiln

The Lime Kiln is subject to the applicable NSPS provisions of 40 CFR 60 for Subpart A, General Provisions, and Subpart BB, Standards of Performance for Kraft Pulp Mills.  The existing kiln has met the applicable requirements of these subparts.  The draft permit will not change any currently applicable requirements with regard to these regulations.

- NESHAP Provisions for the Lime Kiln

The Lime Kiln is subject to the applicable NESHAP provisions of 40 CFR 63 for Subpart A, General Provisions, Subpart S, NESHAP from the Pulp and Paper Industry, and Subpart MM, for Chemical Recovery Combustion Sources at Kraft, Soda, Sulfite, and Stand-Alone Semi-chemical Pulp Mills.  The existing kiln has met the applicable requirements of these subparts.  The draft permit will not change any currently applicable requirements with regard to these regulations.

- Conclusion

The proposed project will only add ULSD No. 2 fuel oil as an additional fuel for the No. 4 Lime Kiln.  ULSD No. 2 fuel oil, when burned, will merely replace the heat input that would have been provided by No. 6 fuel oil or natural gas, and will therefore not have an effect on any other emissions units at the Fernandina Beach Mill.  This project does not authorize any additional production and operation limitations, or monitoring requirements.

- Preliminary Determination

The Department makes a preliminary determination that the proposed project will comply with all applicable state and federal air pollution regulations as conditioned by the draft permit.  This determination is based on a technical review of the complete application, reasonable assurances provided by the applicant, and the conditions specified in the draft permit.  No air quality modeling analysis is required because the project does not result in a significant increase in emissions.  Leslie Maybin is the project engineer responsible for reviewing the application and drafting the permit.  Additional details of this analysis may be obtained by contacting the project engineer at the Department’s Northeast District Office, 8800 Baymeadows Way West, Suite 100, Jacksonville, Florida 32256, phone (904) 256-1700, or by email leslie.maybin@dep.state.fl.us.