## 005
Table 2, Summary of Compliance Requirements
Rayonier Performance Fibers, LLC | [5 empty] | Final Permit No.: 0890004-037-AV
Fernandina Beach Mill | [5 empty] | Facility ID No.: 0890004
This table summarizes information for convenience purposes only. This table does not supersede any of the terms or conditions of this permit.
E.U. ID No. | Brief Description
005 Vent Gas Scrubber and Direct Contact Condenser
|  |  | Testing | Frequency | Min. Compliance
Pollutant Name |  | Compliance | Time | Base | Test
or Parameter | Fuel(s) | Method | Frequency | Date * | Duration | CMS** | See permit condition(s)
Sulfur Dioxide |  | CMS and EPA Method 8 | Upon Request |  |  | Y | III A.4.
Visible Emissions |  | DEP Method 9 | Annually | FFY |  |  | III A.5.
Total HAPs |  | NCASI Test Method DI/MEOH-94.03 NCASI Test Method CI/WP/98.01 WATER9 Inspections | Annually | FFY |  |  | III E.6., E.7., E.8., E.11.a., E.16., E.17., E.19.
|  |  | Every 5 years | initial test by 11/17/2015 then within 60 months of previous test |  |  | III.E.11.b.
Water flow entering direct contact condenser | [5 empty] | Y | III. E.15., E.16.
Gas temperature discharging the direct contact condenser | [5 empty] | Y | III. E.15., E.16.
Notes:
* The frequency base date is established for planning purposes only; see Rule 62-297.310, F.A.C.
**CMS [=] continuous monitoring system
[electronic file name: 0890004-037-AV Table 2.xls]

## 010
Table 2-1, Summary of Compliance Requirements
Rayonier Performance Fibers, LLC | [5 empty] | Final Permit No.: 0890004-037-AV
Fernandina Beach Mill | [5 empty] | Facility ID No.: 0890004
This table summarizes information for convenience purposes only. This table does not supersede any of the terms or conditions of this permit.
E.U. ID No. | Brief Description
010 Biological Effluent Treatment System
|  |  | Testing | Frequency | Min. Compliance
Pollutant Name |  | Compliance | Time | Base | Test
or Parameter | Fuel(s) | Method | Frequency | Date * | Duration | CMS** | See permit condition(s)
Total HAPs |  | NCASI Test Method DI/MEOH-94.03 WATER9 Inspections | Annually | FFY |  |  | III E.7, E.8, E.11.a, E.18., E.19.
|  |  | Every 5 years | initial test by 11/17/2015 then within 60 months of previous test |  |  | III.E.11.b.
Total Aerator Horsepower | [5 empty] | Y | III E.15, E.18.
Notes:
* The frequency base date is established for planning purposes only; see Rule 62-297.310, F.A.C.
**CMS [=] continuous monitoring system
[electronic file name: 0890004-037-AV Table 2.xls]

## 021
Table 2-1, Summary of Compliance Requirements
Rayonier Performance Fibers, LLC | [5 empty] | Permit No.: 0890004-041-AV
Fernandina Beach Mill | [5 empty] | Facility ID No.: 0890004
This table summarizes information for convenience purposes only. This table does not supersede any of the terms or conditions of this permit.
E.U. ID No. | Brief Description
021 Evaporator Vents Methanol Condenser System
|  |  | Testing | Frequency | Min. Compliance
Pollutant Name |  | Compliance | Time | Base | Test
or Parameter | Fuel(s) | Method | Frequency | Date * | Duration | CMS** | See permit condition(s)
Total HAPs |  | NCASI Test Method DI/MEOH-94.03 NCASI Test Method CI/WP/98.01 WATER9 Inspections | Annually | FFY |  |  | III E.6., E.7., E.8., E.11.a., E.16., E.17., E.19.
|  |  | Every 5 years | initial test by 11/17/2015 then within 60 months of previous test |  |  | III.E.11.b.
Gas Temp leaving Main Condenser | [5 empty] | Y | E.15, E.17
Water flow entering Main Condenser | [5 empty] | Y | E.15, E.17
Water flow entering Pre-Condenser | [5 empty] | Y | E.15, E.17
Notes:
* The frequency base date is established for planning purposes only; see Rule 62-297.310, F.A.C.
**CMS [=] continuous monitoring system
[electronic file name: 0890004-037-AV Table 2.xls]

## 011
Table 2-1, Summary of Compliance Requirements
Rayonier Performance Fibers, LLC |  |  |  | Permit No.: 0890004-041-AV
Fernandina Beach Mill |  |  |  | Facility ID No.: 0890004
This table summarizes information for convenience purposes only. This table does not supersede any of the terms or conditions of this permit.
E.U. ID No. | Brief Description
011 Dissolving -Grade Bleaching System
|  |  | Testing | Frequency | Min. Compliance
Pollutant Name |  | Compliance | Time | Base | Test
or Parameter | Fuel(s) | Method | Frequency | Date * | Duration | CMS** | See permit condition(s)
Chlorinated HAP |  | EPA 26A | Annually | FFY |  |  | III F.10.a
|  |  | Every 5 years | initial test by 11/17/2015 then within 60 months of previous test |  |  | III.F.10.b.
Vent gas stream calculations |  | Calculations | Annually | FFY |  |  | III F.10.a, F.11
|  |  | Every 5 years | initial test by 11/17/2015 then within 60 months of previous test |  |  | III.F.10.b.
pH of gas scrubber effluent | [5 empty] | Y | III F.15
On/Off status of bleach plant exhaust gas fan | [5 empty] | Y | III F.15
gas scrubber liquid influent flow rate | [5 empty] | Y | III F.15
Notes:
* The frequency base date is established for planning purposes only; see Rule 62-297.310, F.A.C.
**CMS [=] continuous monitoring system
[electronic file name: 0890004-037-AV Table 2.xls]