| E.U. ID No. | Brief Description | Fuels | Hrs/Yr | Pollutant Name | Standard Allowable Emissions | Equivalent Emissions |  | Regulatory Citation(s) | See Permit Condition(s) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | lbs/hr Each unit | TPY Each unit Each unit |  |  |
| 011 | Waste Heat Boiler with Duct Burner | Natural Gas | 8,760 | VE | 20% except ≤ 27% 6 min/hr |  |  | Rule 62-296.406(1) | C.5. |