##### PERMITTEE

Wheelabrator South Broward, Inc.

4400 South State Road 7

Fort Lauderdale, Florida  33414

##### Permitting Authority

Florida Department of Environmental Protection (Department)

Division of Air Resource Management

Office of Permitting and Compliance

2600 Blair Stone Road, MS #5505

Tallahassee, Florida 32399-2400

##### PROJECT

Permit No. 0112119-019-AC/PSD-FL-105F

Application for Minor Source Air Construction Permit

Combustion of Biosolids in Municipal Waste Combustor Unit Nos. 1, 2 & 3 and Waste (Fuel Slate) Revisions

##### PUBLIC NOTICE

The Department distributed a draft air construction permit package on March 17, 2014.  The applicant published the Public Notice in the Sun-Sentinel in Broward County, Florida on March 21, 2014.  The Department received the proof of publication on March 31, 2014.

No requests for an administrative hearing or requests for an extension of time in which to file a petition for an administrative hearing were received by the Agency Clerk in the Department’s Office of General Counsel.

# COMMENTS

No comments on the permit were received from the public or the U.S. EPA Region 4 Office during the 14-day public comment period.  Comments on the permit were received from the Applicant during the 14-day public comment period.  The comments are addressed below.

All changes are emphasized with yellow highlight in this document only.  Additions to the permit are indicated below by double underline.  Deletions from the permit are indicated below by strike through

Comments from the Applicant submitted via email on March 27, 2014

Most of the comments submitted were on both projects.  For ease of addressing the comments they are kept comingled as they were submitted even though the permitting actions are for individually separate permitting actions yet the projects (North and South) are very similar.  Where it made sense, some of the applicant’s comments were grouped together.  A cross reference back to each of the applicant’s comments as submitted is contained in curly brackets, for example - “{Applicant’s Comment 1)}.”

Comments

- Page 3 (Section I. General Information - Proposed Project) {Applicant’s Comment 1)}.  The third paragraph states North Broward can burn 2,420 tons of MSW and South Broward can burn 2,589 tons and we requested a maximum of 15% biosolids, which is equivalent to 390 tons/day at North Broward and 416 tons at South Broward.  It is not clear where these 390 ton and 416 ton numbers come from as 15% of 2,420 tons is 363 tons and 15% of 2589 tons is 388 tons.

Page 8 (Section III. Subsection A. Emissions Unit Specific Condition III.A.3.) {Applicant’s Comment 3)}.  Specific Condition III.A.3. again references 390 tons for North Broward and 416 tons for South Broward.

Response:  The Department found different biosolids rates in the permit applications.

For the North facility, on page 21 of the permit application form submitted, the proposed biosolids rate was 15.13 tons/hour.  At 24 hours/day this equals 363 tons/day (TPD).  However, in the Part II document of the permit application on page 9 the requested biosolids rate was 65 wet tons per day per unit at 7.5% biosolids.  For 3 MWC units at 15% biosolids, the calculated equivalent rate is 390 wet tons per day (WTPD).  The higher value of 390 TPD was placed into the draft permit.  The Department understands from the comment that the biosolids rate requested is in fact 363 TPD.

For the South facility, on page 21 of the permit application form submitted, the proposed biosolids rate was 16.18 tons/hour.  At 24 hours/day this equals 388 tons/day (TPD).  However, in the Part II document of the permit application on page 8 the requested biosolids rate was 65 wet tons per day per unit at 7.5% biosolids.  For 3 MWC units at 15% biosolids, the calculated equivalent rate is 390 wet tons per day (WTPD).  For the South facility (larger facility than the North), the Department scaled up the 65 WTPD to 69 WTPD, which is equivalent to 416 WTPD.  The higher value of 416 TPD was placed into the draft permit.  The Department understands from the comment that the biosolids rate requested is in fact 388 TPD.

For the South facility, the Department makes the requested corrections to the proposed project description 3rd paragraph on page 3 of 13 and Specific Condition III.A.3. to read as follows:

“…

PROPOSED PROJECT

…

The MWC Unit Nos. 1-3 have a total charging rate (short-term) of 2,589 TPD of municipal solid waste (MSW).  The applicant requested a maximum of up to 15% biosolids on an as received (i.e., wet) basis to be combusted in the MWC units.  This is equivalent to a maximum mass of 416388 tons per day (TPD) facility-wide.

…”

“3.	Post Biosolids Combustion Trial Period:  After successfully demonstrating initial compliance while combusting biosolids and after submitting the test reports required in Specific Condition Nos. III A.8., 9., 10. & 11., the North Broward Waste-to-Energy Facility is authorized to combust biosolids in the amount of up to 15% of the municipal solid waste combustor Unit Nos. 1, 2 and 3 loading rates on an as received (i.e., wet) basis not to exceed 416388 TPD facility-wide, averaged monthly.  [Application No. 0112120-017-AC; Rule 62-210.200, Definitions - Potential to Emit (PTE), F.A.C.; and, Applicant Request.]”

- Page 7 of 14 (Section III. Subsection A. Emissions Unit Specific Condition III.A.2.).  The second paragraph ends by saying this construction permit “…authorizes the combustion of biosolids that are not liquid biosolids in municipal waste combustor Unit Nos. 1, 2 and 3 as allowable non-MSW fuel received as a segregated load.”  Wheelabrator would prefer the language be slightly modified so no confusion exists that biosolids are NOT part of the non-MSW that was permitted last year to increase from 5% to 20%.

Response:  The request for biosolids was not part of the non-MSW authorized increase from 5% to 20% project.  The Department makes the requested clarification to Specific Condition III.A.2. as follows:

“2.	Authorization to Combust Biosolids:  The owner or operator is authorized to combust biosolids (includes Class B, A and AA biosolids) that are not liquid biosolids in municipal solid waste combustor Unit Nos. 1, 2 and 3 as an allowable non-MSW fuel received as a segregated material.  Biosolids are not part of the non-MSW (municipal solid waste) materials (“non-hazardous solid and liquid wastes”) that were authorized under Permit No. 0112119-017-AC/PSD-FL-105E, increasing non-MSW from 5% to 20%. …”

- Page 8 (Section III. Subsection A. Emissions Unit Specific Condition III.A.6.).  Specific Condition III.A.6. references a specific biosolids training plan.  Wheelabrator would like language added that this plan may be incorporated into the site specific operating manual required by MWC standards (40 CFR 60.54b(e)).  The training and recordkeeping requirements associated with this manual would comply with the specific biosolids requirements listed in the construction permit.

Response:  The referenced biosolids training plan is not required by the federal regulation for MWCs under 40 CFR 60.54b(e).  The biosolids training plan is required under this minor source AC permit which authorizes biosolids.  The authorization for biosolids does not stem from the MWC federal regulations.  To the extent that you can add the biosolids training plan to the federally required site-specific operating plan, you may.  No change is necessary to the permit.

- Page 9 (Section III. Subsection A. Emissions Unit Specific Condition III.A.8.).  Specific Condition III.A.8. (the initial compliance stack test) states the facility shall do three one-hour runs and the three runs shall be averaged.  First, Wheelabrator requests that this line should read “a minimum” of three runs shall be conducted and “all” runs shall be averaged.  This makes the biosolids/landfill gas stack test requirements consistent with existing TV stack test requirements.  Secondly, the EPA methods for PM and MWC metals (mercury cadmium and lead) are Methods 5 and 29 respectively, which under the EPA MWC standards (40 CFR 60.58b) and TV permit require two-hour runs be conducted.  Wheelabrator requests that the duration of M5 and M29 test runs be a minimum of 2 hours consistent with existing requirements.

Response:  Thank you for bringing these details to the Department’s attention.  The Department makes clarifications to Specific Condition III.A.8. as follows:

“8.	Initial Compliance Demonstration - Stack Test Data:  The initial compliance demonstration while combusting biosolids shall be performed for PM and the individual MWC metals (e.g., cadmium (Cd), lead (Pb) and mercury (Hg)) using stack test data.  All of the stack tests while combusting biosolids shall be performed on either MWC Unit No. 1, 2 or 3.  A minimum of Tthree, 1-hour stack test runs shall be conducted for each air pollutant (e.g., PM, Cd, Pb and Hg) while combusting biosolids and all runs shall be averaged.  The emissions data shall be reduced to the averaging time(s) as specified in the current valid Title V air operation permit, Permit No. 0112119-015-AV.  The average of the three stack test runsresults shall be compared to the existing emission standards/limits. …”

- Page 10 (Section III. Subsection A. Emissions Unit Specific Condition III.A.10.).  Specific Condition III.A.10. states that the ammonia injection rate during NOx testing shall be included in the report.  Wheelabrator requests that this phrase be changed to “ammonia/urea” since the facility uses urea, not ammonia, for NOx control.

Response:  The Department makes the correction to Specific Condition III.A.10. as follows:

“10.	…

The ammonia/urea injection rate during NOx testing shall be included in the test report.

…”

- Page 10 (Section III. Subsection A. Emissions Unit Specific Condition III.A.14.c.).  Specific Condition III.A. 14.c. states that the facility has to keep records of analytical results from the source of the biosolids. This condition should be clarified that analytical results are not required for each load of biosolids received at the facility.  Rather, the facility is required to maintain records of analytical results provided by the biosolids source under the sampling requirements in Chapter 640 FAC as explained in permitting note. Suggested language might be: “c. analytical results provided by sources of biosolids pursuant to biosolids analyses requirements in Chapter 640 FAC including metals constituents, % solids by weight and pathogen results.”

Response:  The Department is not requiring the facility to perform an analysis on the biosolids received.  The facility can simply keep records of the biosolids analysis provided by the source of the biosolids.  The Department makes the clarification to Specific Condition III.A.14.c. as follows:

“14.	…

c. 	the analytical results fromprovided by the source of the biosolids showing:  the metal constituents; % solids by weight, and pathogen results.

…”

- Page 10 (Section III. Subsection A. Emissions Unit Specific Conditions III.A.20. & 21.).  Specific Conditions III.A.20. & 21. appear to be unnecessary hourly facility emission limits (lbs/hr) to restrict emission increases below the annual significant emission rate (SER) levels (in tons/yr) for NOx (9.11 lbs/hr x 8760 hr x 1/2000 lbs = 40 tons/yr) and CO (22.8 lbs/hr x 8760 hr x 1/2000 lbs=100 tons/yr).  Wheelabrator does not believe such additional facility limits are necessary as the facility will be keeping 12 month rolling average annual emissions calculations to maintain emissions below the respective annual SER.  If the Department believes such additional facility restrictions are necessary, such restrictions should be based on tons/yr consistent with the SER and tied to annual baseline emissions as in: “Any increase in facility SO2 emissions shall be limited to 40 tons/year above projected baseline actual emissions.”

Response:  The Department had added these specific conditions to the draft permit for reasonable assurance purposes to ensure that the proposed escape PSD emission levels for NOx & CO emissions would not be exceeded {please see the discussion beginning on page 14 under “Air Pollution Affects from the Combustion of Biosolids” in the Technical Evaluation & Preliminary Determination document distributed along with the draft permit}.  The Department understands that these could be unnecessary restrictions so the Department removes the unnecessary restrictions in Specific Conditions III.A.20. & 21. as follows:

“20.	SNCR Operation for NOX Emissions:  When combusting biosolids the owner or operator may need to inject additional reagent (ammonia/urea) into the SNCR system, to keep NOx emissions lower than 9.11 lbs/hour from the project (all three MWC units combined).  [Application No. 0112119-019-AC; and, Rules 62-4.160(2), 62-212.400(12), Source Obligation, escape-PSD, and 62-210.200, Definitions - Potential to Emit (PTE), F.A.C.]”

“21.	Combustion Optimization for CO Emissions:  When combusting biosolids the owner or operator may need to optimize combustion, to keep CO emissions lower than 22.81 lbs/hour from the project (all three MWC units combined).  [Application No. 0112119-019-AC; and, Rules 62-4.160(2), 62-212.400(12), Source Obligation, escape-PSD, and 62-210.200, Definitions - Potential to Emit (PTE), F.A.C.]”

- Page 15 (Section III. Subsection C. Specific Conditions 7.g. & c.)  Wheelabrator North and South Broward are also requesting the following modification to construction permits 0112120-015-AC/PSD-FL-112D (North) and 0112119-017-AC/PSD-FL-105E (South).  The permits were issued in December, 2013 increasing the allowable amount of non-MSW able to be received at the facilities from 5% to 20%.  There are two methods of calculating non-MSW in the permits.  On page 11, condition 7.f, the original language of a 30-day rolling average is used.  On page 12, condition 7.g. and Recordkeeping and Reporting Requirement condition c. the conditions state the calculation is to be on a calendar monthly basis, not a 30-day rolling average.  Wheelabrator is requesting the permits be revised uniformly to require a 30-day rolling average for calculations of non-MSW.

Response:  For uniformity the Department makes corrections to Specific Conditions 7.g. & c. as follows:

“7.	Methods of Operation -- Fuels.

…

“g. 	 Non-hazardous Solid and Liquid Wastes/Segregated Loads.  Subject to the conditions and limitations contained in this permit, non-hazardous solid and liquid wastes may be used as fuel at the facility (i.e., authorized fuels that are non-MSW material).  The total quantity of the non-MSW material received as segregated loads and burned at the facility shall not exceed 20%, by weight, of the facility’s total fuel, unless otherwise stated.  Compliance with this limitation shall be determined as a daily average on a calendar monthly basis30-day rolling average in accordance with Specific Condition 7. [Section 403.707(1), F.S. (amendment in 2012).]”

…

Recordkeeping and Reporting Requirements

Segregated Solid Waste Record Keeping. …

c.	Non-hazardous Solid and Liquid Waste/Segregated Loads.  Each day, the total weight of segregated non-MSW materials received that are subject to the 20% restriction shall be computed, and the daily total30-day rolling average shall be updated added to the sum of the daily totals from the previous days in the current calendar month.  At the end of each calendar month, the resultant monthly total weight of segregated non-MSW materials shall be divided by the total weight of all waste materials received in the same calendar month, and the resulting number shall be multiplied by 100 to express the ratio in percentage terms.  The percentage computed shall be compared to the 20% limitation.  Records shall be maintained showing the non-hazardous solid and liquid waste’s written certification that the waste is non-hazardous.  Documentation requirements shall include a written description of the waste and a material characterization form for the waste components.  Tonnages of non-hazardous solid and liquid waste fired shall be recorded and made available to the Department upon request.  These records shall be maintained for a period of five (5) years.  [Section 403.707(1), F.S. (amendment in 2012).]”

# CONCLUSION

The final action of the Department is to issue the permit with the administrative corrections and/or clarifications as noted above.