Permittee

| Tampa Electric Company Post Office Box 111 Tampa, Florida 33601-0111 Authorized Representative: Mr. Ronald D. Bishop, Director | Air Permit No. 0570039-074-AC Permit Expires: December 1, 2106 Minor Air Construction Permit Big Bend Station SO2 Emissions Reduction Project |
| --- | --- |

Project

This is the final air construction permit, which specifies a sulfur dioxide (SO2) emissions cap over the existing fossil fuel fired electric generating units (Units 1 – 4, combined) at the Tampa Electric Company (TEC) Big Bend Station, which will reduce SO2 emissions and ambient impacts from the facility.  The existing Big Bend Station is an electric power facility categorized under Standard Industrial Classification No. 4911.   The existing facility is located in Hillsborough County at 13031 Wyandotte Road in Apollo Beach, Florida.  The UTM coordinates are Zone 17, 363.15 kilometers (km) East and 3074.91 km North.

This final permit is organized into the following sections: Section 1 (General Information); Section 2 (Administrative Requirements); Section 3 (Emissions Unit Specific Conditions); and Section 4 (Appendices).  Because of the technical nature of the project, the permit contains numerous acronyms and abbreviations, which are defined in Appendix A of Section 4 of this permit.

Statement of Basis

This air pollution construction permit is issued under the provisions of: Chapter 403 of the Florida Statutes (F.S.) and Chapters 62-4, 62-204, 62-210, 62-212, 62-296 and 62-297 of the Florida Administrative Code (F.A.C.).  This project is subject to the general preconstruction review requirements in Rule 62-212.300, F.A.C. and is not subject to the preconstruction requirements for major new source review in Rule 62-212, F.A.C.

Upon issuance of this final permit, any party to this order has the right to seek judicial review of it under Section 120.68 of the Florida Statutes by filing a notice of appeal under Rule 9.110 of the Florida Rules of Appellate Procedure with the clerk of the Department of Environmental Protection in the Office of General Counsel (Mail Station #35, 3900 Commonwealth Boulevard, Tallahassee, Florida, 32399-3000) and by filing a copy of the notice of appeal accompanied by the applicable filing fees with the appropriate District Court of Appeal.  The notice must be filed within 30 days after this order is filed with the clerk of the Department.

Executed in Tallahassee, Florida

(DRAFT)

# for Jeffrey F. Koerner, Program Administrator

# Office of Permitting and Compliance

Division of Air Resource Management

## CERTIFICATE OF SERVICE

The undersigned duly designated deputy agency clerk hereby certifies that this Air Permit package was sent by electronic mail, or a link to these documents made available electronically on a publicly accessible server, with received receipt requested before the close of business on the date indicated below to the following persons.

Mr. Ronald D. Bishop, Director, TEC:  rdbishop@tecoenergy.com

Mr. Byron T. Burrows, P.E., Manager, TEC:  btburrows@tecoenergy.com

Mr. Rob Velasco, P.E., TEC:  ravelasco@tecoenergy.com

Ms. Diana M. Lee, P.E., EPCHC:  lee@epchc.org

Ms. Justin Green, DEP Siting:  justin.b.green@dep.state.fl.us

Ms. Diana Csank, Sierra Club:  diana.csank@sierraclub.org

# Ms. Alisa Coe, Earth Justice:  acoe@earthjustice.org

# Ms. Heather Ceron, US EPA Region 4:  ceron.heather@epa.gov

# Ms. Lynn Scearce, DEP OPC:  lynn.scearce@dep.state.fl.us

# Clerk Stamp

# FILING AND ACKNOWLEDGMENT FILED, on this date, pursuant to Section 120.52(7), Florida Statutes, with the designated agency clerk, receipt of which is hereby acknowledged.

(DRAFT)

Facility Description

The Big Bend Station is a nominal 1,892 megawatt (MW) electric generation facility.  This facility consists of four fossil fuel fired electrical generating Units 1 – 4; four steam turbine electrical generators (STEG); two simple-cycle combustion turbines (SCCT) 4A and 4B sharing a common electrical generator; solid fuels, fly ash, limestone, gypsum, slag, bottom ash storage and handling facilities; and fuel oil storage tanks.  The existing facility consists of the following regulated emissions units (EU).

| EU No. | Emission Unit Description |
| --- | --- |
| Fossil Fuel Fired Steam Generator Units |  |
| 001 | Fossil Fuel Fired Steam Generator Unit No. 1 |
| 002 | Fossil Fuel Fired Steam Generator Unit No. 2 |
| 003 | Fossil Fuel Fired Steam Generator Unit No. 3 |
| 004 | Fossil Fuel Fired Steam Generator Unit No. 4 |
| Solid Fuel Yard |  |
| 010 | Solid Fuel Yard Fugitive Emissions |
| 029 | Fuel Blending Bin Cyclone Collectors (FH-032 through FH-035) |
| 030 | Fuel Mill Cyclone Collectors (FH-048 and FH-049) |
| 046 | Transloading and Off-site Transfer of Solid Fuels and Slag (by truck, rail and barge) |
| 047 | Railcar Unloading and Conveying System |
| Coal Bunkers with Roto-Clones |  |
| 015 | Unit No. 1 Coal Bunker with Roto-Clone |
| 016 | Unit No. 2 Coal Bunker with Roto-Clone |
| 017 | Unit No. 3 Coal Bunker with Roto-Clone |
| 039 | Unit No. 4 Coal Bunker with Roto-Clone |
| Flyash Handling and Storage - Silo Nos. 1 - 2 |  |
| 008 | Fly Ash Silo No. 1 Baghouse |
| 009 | Fly Ash Silo No. 2 Baghouse |
| 014 | Fly Ash Silo No. 3 Baghouse |
| Limestone Handling and Storage |  |
| 012 | Limestone Silo A Baghouses (2) |
| 013 | Limestone Silo B Baghouses (2) |
| 023 | Limestone Conveyor LB/LC Baghouse |
| 050 | Limestone Conveyor LD/LE Baghouse |
| Limestone Handling for FGD System for Units 1 & 2 |  |
| 020 | Limestone Conveyors LE/LF/LG/Silo C Belt Feeder Baghouse |
| 021 | Silo C Baghouse |
| Wastewater Treatment Plant |  |
| 022 | Lime Silo for Wastewater Treatment Plant with one Baghouse |
| Surface Coating Operations |  |
| 032 | Surface Coating of Miscellaneous Metal Parts |
| Coal Residual Storage and Transfer from the Polk Power Station |  |
| 037 | Coal Residual Storage Facility |
| 038 | Coal Residual Transfer System |
| Simple-Cycle Combustion Turbines |  |
| 041 | SCCT 4A with a common electric generator that it shares with SCCT 4B |
| 042 | SCCT 4B with a common electric generator that it shares with SCCT 4A |
| Engines |  |
| 043 | SCCT Black Start Diesel Engine, 1,000 kilowatt |
| 044 | Coal Field Diesel Generator |

PROPOSED PROJECT

The purpose of the project is to reduce SO2 emissions and ambient impacts from the facility.  Specifically, the permit establishes an SO2 emissions cap of 3,162 pounds per hour (lb/hour) based on a 30-day rolling average over existing fossil fuel fired electrical generating units (Units 1 – 4, combined).  In addition to the recent improvements to the wet FGD systems, TEC is replacing the existing fuel igniters (Permit No. 0570039-065-AC) and associated equipment to allow Units 1 - 4 to burn natural gas instead of fuel oil during startup, shutdown and flame stabilization.  Only the following existing emissions units will be affected by this project.

| EU ID | Emission Unit Description |
| --- | --- |
| 001 | Fossil Fuel Fired Steam Generator Unit No. 1 |
| 002 | Fossil Fuel Fired Steam Generator Unit No. 2 |
| 003 | Fossil Fuel Fired Steam Generator Unit No. 3 |
| 004 | Fossil Fuel Fired Steam Generator Unit No. 4 |

Facility Regulatory Classification

- The facility is a major source of hazardous air pollutants (HAP).

- The facility operates units subject to the acid rain provisions of the Clean Air Act.

- The facility is a Title V major source of air pollution in accordance with Chapter 62-213, F.A.C.

- The facility operates units subject to the Clean Air Interstate Rule (CAIR) set forth in Rule 62-296.470, F.A.C.

- The facility is a major stationary source in accordance with Rule 62-212.400, F.A.C. for the Prevention of Significant Deterioration (PSD) of Air Quality.

- The facility does operate units subject to the New Source Performance Standards (NSPS) of 40 CFR 60.

- The facility does operate units subject to the National Emissions Standards for Hazardous Air Pollutants (NESHAP) of 40 CFR 63.

- Permitting Authority:  The permitting authority for this project is the Office of Permitting and Compliance in the Division of Air Resource Management of the Department of Environmental Protection (Department).  The Office of Permitting and Compliance mailing address is 2600 Blairstone Road (MS #5505), Tallahassee, Florida  32399-2400.

- Compliance Authority:  All documents related to compliance activities such as reports, tests, and notifications shall be submitted to the Environmental Protection Commission of Hillsborough County at:  3629 Queen Palm Drive, Tampa, Florida  33619.  Phone:  (813) 627-2600.

- Appendices:  The following Appendices are attached as a part of this permit:  Appendix A (Citation Formats and Glossary of Common Terms); Appendix B (General Conditions); and Appendix C (Common Conditions).

- Applicable Regulations, Forms and Application Procedures:  Unless otherwise specified in this permit, the construction and operation of the subject emissions units shall be in accordance with the capacities and specifications stated in the application.  The facility is subject to all applicable provisions of: Chapter 403, F.S.; and Chapters 62-4, 62-204, 62-210, 62-212, 62-213, 62-296 and 62-297, F.A.C.  Issuance of this permit does not relieve the permittee from compliance with any applicable federal, state, or local permitting or regulations.  Issuance of this permit does not relieve the permittee from compliance with any applicable federal, state, or local permitting or regulations.

- New or Additional Conditions:  For good cause shown and after notice and an administrative hearing, if requested, the Department may require the permittee to conform to new or additional conditions.  The Department shall allow the permittee a reasonable time to conform to the new or additional conditions, and on application of the permittee, the Department may grant additional time.  [Rule 62-4.080, F.A.C.]

- Modifications:  No new emissions unit shall be constructed and no existing emissions unit shall be modified without obtaining an air construction permit from the Department.  Such permit shall be obtained prior to beginning construction or modification.  [Rules 62-210.300(1) and 62-212.300(1)(a), F.A.C.]

- Permit Expiration.  The expiration date shown on the first page of this permit provides time to implement the new SO2 emissions cap authorized by this permit, complete any necessary compliance testing, and obtain an operation permit.  Notwithstanding this expiration date, all specific emissions limitations and operating requirements established by this permit shall remain in effect until the facility or emissions unit is permanently shut down.  For good cause, the permittee may request that that a permit be extended.  Pursuant to Rule 62-4.080(3), F.A.C., such a request shall be submitted to the Permitting Authority in writing before the permit expires.  [Rules 62-4.070(4), 62-4.080 & 62-210.300(1), F.A.C.]

- Application for Title V Permit:  This permit specifies an SO2 emissions cap over the existing fossil fuel fired electric generating units (Units 1 – 4, combined) at the Big Bend Station.  A Title V air operation permit is required for regular operation of the permitted emissions units.  The permittee shall apply for a Title V air operation permit revision at least 90 days prior to the permit expiration date of this permit.  To apply for a Title V operation permit, the applicant shall submit the appropriate application form, compliance test results, and such additional information as the Department may by law require.  The application shall be submitted to the appropriate Permitting Authority with copies to the Compliance Authority.  [Rules 62-4.030, 62-4.050, 62-4.220 and Chapter 62-213, F.A.C.]

This section of the permit addresses the following emissions units.

| EU ID | Emission Unit Description |
| --- | --- |
| 001 | Fossil Fuel Fired Steam Generator Unit No. 1 |
| 002 | Fossil Fuel Fired Steam Generator Unit No. 2 |
| 003 | Fossil Fuel Fired Steam Generator Unit No. 3 |
| 004 | Fossil Fuel Fired Steam Generator Unit No. 4 |

Units 1 through 3 each have a design electrical generating capacity of 445 MW.  Unit 4 has a design electrical generating capacity of 486 MW.  The fuel fired in all four units consists of coal, or a coal/petroleum coke blend containing a maximum of 20% petroleum coke by weight, or coal blended with coal residual generated from the Polk Power Station, or a coal/petroleum coke blend further blended with coal residual generated from the Polk Power Station, and on-site generated fly ash.  In addition to the fuels allowed to be burned during normal operation, each unit burns new No. 2 fuel oil during startup, shutdown, flame stabilization, and during the startup of an additional solid fuel mill on an already operating unit.

For each unit, nitrogen oxide (NOX) emissions are controlled by low-NOX burners and a selective catalytic reduction system, particulate matter (PM) emissions are controlled by a dry electrostatic precipitator, and sulfur dioxide (SO2) emissions are controlled by wet flue gas desulfurization (FGD).  Unit 4 also has a separate over-fire air system to further control NOX emissions.  Continuous opacity monitoring systems (COMS) are used to measure opacity.  Units 1 through 4 are equipped with continuous emissions monitoring systems (CEMS) to measure NOX, SO2, and carbon dioxide (CO2).  Unit 4 is also equipped with CEMS to measure carbon monoxide (CO).  These units began operation in 1970 (Unit 1), 1973 (Unit 2), 1976 (Unit 3), and 1985 (Unit 4).

{Permitting Note:  Fossil Fuel Fired Steam Generator Units 1 - 4 are regulated under:  the federal Acid Rain Program for Phase II SO2 and NOX; Rule 62-296.405, F.A.C., Fossil Fuel Steam Generators with More than 250 million Btu per Hour Heat Input; Rule 62-296.700(6), F.A.C., Reasonable Available Control Technology (RACT) PM – Operation and Maintenance Plan; Compliance Assurance Monitoring, adopted and incorporated by reference in Rule 62-204.800, F.A.C.; Rule 62-296.470, F.A.C., Clean Air Interstate Rule; and NESHAP Subpart UUUUU, the Mercury and Air Toxics Standards, in 40 CFR 63.  Unit 4 is also regulated under NSPS Subpart Da of 40 CFR 60, Standards of Performance for Electric Utility Steam Generating Units for Which Construction is Commenced After September 18, 1978, adopted and incorporated by reference in Rule 62-204.800(8)(b)2., F.A.C.; Rule 212.400, F.A.C., PSD.}

Previous Applicable Requirements

- Other Permits:  The conditions of this permit supplement all previously issued air construction and operation permits for these emissions units.  Unless otherwise specified, these conditions are in addition to all other applicable permit conditions and regulations.  [Rule 62-4.070, F.A.C.]

##### Emissions Standards

- SO2 Emissions Cap:  The combined emissions of SO2 from all four fossil fuel fired steam generating units (EU 001 – EU 004, combined) shall not exceed 3,162 pounds per hour based on a 30-day rolling average.  Compliance with this SO2 emissions cap shall be demonstrated by data collected from the existing SO2 CEMS.  The new emissions cap applies at all times when these units are operating including periods of startup and shutdown.  The effective date of this SO2 emissions cap is within 180 days of completing construction of the last natural gas igniter authorized by Permit No. 0570039-065-AC, but no later than June 1, 2016.  [Rules 62-4.070(1) and (3), and 62-4.080(1), F.A.C.; and SO2 Attainment SIP]

{Permitting Note:  This new emissions cap reduces SO2 emissions and ambient impacts in and around the SO2 non-attainment area in Hillsborough County.}

Monitoring and compliance Requirements

- SO2 CEMS:  The permittee shall use the existing SO2 CEMS data to demonstrate continuous compliance with the SO2 emissions cap specified in Condition 2.  The existing SO2 CEMS shall continue to meet and follow the quality assurance and quality control requirements outlined in the facility’s Title V air operation permit.  [Rules 62-4.070(1) and (3), and 62-4.080(1), F.A.C.; and SO2 Attainment SIP]

notifications and Reports

- SO2 Emissions Cap Exceedance:  If an exceedance of the SO2 emissions cap occurs, the permittee shall notify the Compliance Authority within one business day.  The permittee shall submit a report to the Compliance Authority within 15 days of occurrence detailing the nature and cause of the exceedance, describing corrective actions taken, and identifying when the unit(s) was returned to compliance.  
[Rules 62-4.070(1) and (3), and 62-4.080(1), F.A.C.; and SO2 Attainment SIP]

- SO2 Reports:  The permittee shall submit semiannual reports summarizing the SO2 data for the reporting period and demonstrating compliance with the SO2 emissions cap.  Reports shall be submitted within 30 days following the reporting period.  The first report is due by January 30, 2016.  Each report shall summarize each 30-day SO2 emission rate during the reporting period along with any background information to explain emissions.  [Rules 62-4.070(1) and (3), and 62-4.080(1), F.A.C.; and SO2 Attainment SIP]