Attachment A

List of Exempt Engines

Below is a list of exempt Reciprocating Internal Combustion Engines (RICE) that are currently located at MacDill Air Force Base.  The stationary RICE listed below are considered to be exempt from air permitting in accordance with Rule 62-210.300(3)(a)35., F.A.C., since the equivalent collective annual amount of each fuel burned by the engines claiming this exemption does not exceed the collective maximum annual amount of such fuel (64,000 gallons diesel fuel, 5,400 gallons gasoline, 288,000 gallons propane, or 8.8 MMSCF natural gas) multiplied by a fuel percentage. The fuel percentage is the percentage ratio of the total amount of the fuel burned by all engines claiming this exemption at the same facility to the total amount of such fuel allowed to be burned by all engines claiming this exemption. The sum of the fuel percentages for all fuels burned by the engines claiming this exemption must be less than or equal to 100 percent, in order to remain exempt from permitting.  The portable RICE listed below are considered to be exempt from air permitting in accordance with Rule 62-4.040(1)(b), F.A.C., since they do not cause the issuance of air contaminants in sufficient quantity, with respect to their character, quality or content, and the circumstances surrounding its location, use and operation, as to contribute significantly to the pollution problems within the State, so that the regulation thereof is not reasonably justified.

| Exempt RICE in accordance with Rules 62-210.300(3)(a)35. or 62-4.040(1)(b), F.A.C. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Building No. | Facility Description | Manufacturer | Model Number | Fuel | Rating (kW) |
| Stationary Emergency Generators |  |  |  |  |  |
| 12 | USSOCOM | Generac | 2481470200 | Diesel | 125 |
| 30 | CE Cntl. | Generac | 98A04341S | Diesel | 15 |
| 40 | Tele. Maint. | Onan | 250DFB-17R | Diesel | 250 |
| 48 | Mob. Proc. Center | Kohler | 20ROZJ | Diesel | 20 |
| 54 | Com. Post | Onan | 175DGFB | Diesel | 175 |
| 58 | Air Field Light | Onan | DFCB-5706818 | Diesel | 300 |
| 105 | POL | Caterpillar | 3406 | Diesel | 350 |
| 107 | New Fire C&R | Generac | 4715660100 | Diesel | 130 |
| 260 | Base LAN | Onan | 150DGFA | Diesel | 150 |
| 347 | EMCS | Onan | 60DCBL | Diesel | 60 |
| 359 | Misn Pln Cntr | Olympian | D100PI | Diesel | 100 |
| 497 | USSOCOM | Caterpillar | 3512B | Diesel | 1250 |
| 504 | USSOCOM | Caterpillar | 3512 | Diesel | 800 |
| 504 | USSOCOM | Kohler | 750R01D4 | Diesel | 750 |
| 519 | USSOCOM | Kohler | 1000ROZD4 | Diesel | 1000 |
| 519 | USSOCOM | Kohler | 1000ROZD4 | Diesel | 1000 |
| 861 | JCSE | Generac | DB333J1B | Diesel | 35 |
| 867 | Localizer | Onan | DKAC-5734558 | Diesel | 10 |
| 1062 | Fuels Cont. | Onan | 7.5SB4139A | Diesel | 7.5 |
| 1097 | DFSC | Olympian | 3208 | Diesel | 150 |
| 1105 | SOCCENT | Onan | 60DGCB | Diesel | 60 |
| 1105 | SOCCENT | Caterpillar | 500 | Diesel | 450 |
| 1111 | Glide Slope | Onan | DNAF-5696829/B | Diesel | 20 |

| Exempt RICE - Cont’d |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Building No. | Facility Description | Manufacturer | Model Number | Fuel | Rating (kW) |
| 1145 | TACAN | Onan | DKAF-57311941 | Diesel | 25 |
| 1180 | Cntr Tower | Generac | 4715670100 | Diesel | 350 |
| 1200 | LMR Tower | Generac | DB33S | Diesel | 50 |
| 1601 | W/Coast Radar | Cummins | DNAD-5634731 | Diesel | 11 |
| 1750 | SATCOM | Detroit Diesel | 8163-7416 | Diesel | 750 |
| 1750 | SATCOM | Detroit Diesel | 8163-7416 | Diesel | 750 |
| 3541 | J2 Annex (USSOCOM) | Cummins | DEGB-5693484 | Diesel | 600 |
| Portable Emergency RICE |  |  |  |  |  |
| 34 | Pwr Pro | MEP-802A | 6115-01-274-7387 | Diesel | 5 |
| 34 | Pwr Pro | MEP-802A | 6115-01-274-7387 | Diesel | 5 |
| 45 | Mil. Gas. Station | MEP-004A | 6115-00-118-1241 | Diesel | 15 |
| 259 | Chow Hall | MEP-009B | 6115-01-021-4096 | Diesel | 200 |
| 359 | Msn Pln Ctr | MEP-007B | 6115-01-036-6374 | Diesel | 100 |
| Emergency Fire Pump RICE |  |  |  |  |  |
| 1122C | DFSP | Caterpillar | 3208DLNA | Diesel | 90 |
| 1181 | SOCCENT | Clark Fire | JU4H-UF10 | Diesel | 38 |
| 1185 | Control Tower | Clark Fire | JU4H-UF52 | Diesel | 95 |
| Emergency Arresting Gear RICE |  |  |  |  |  |
| 1420 | Runway Barrier | Wisconsin | V465D | Gasoline | 48 |
| 1421 | Runway Barrier | Wisconsin | V465D | Gasoline | 48 |
| 1422 | Runway Barrier | Wisconsin | V465D | Gasoline | 48 |
| 1423 | Runway Barrier | Wisconsin | V465D | Gasoline | 48 |