##### PERMITTEE

Walt Disney Parks and Resorts U.S., Inc.

P.O. Box 10,000

Lake Buena Vista, FL  32830-1000

##### Permitting Authority

Florida Department of Environmental Protection (Department)

Division of Air Resource Management

Office of Permitting and Compliance

2600 Blair Stone Road, MS #5505

Tallahassee, Florida 32399-2400

##### PROJECT

Air Permit No. 0950111-034-AC/PSD-FL-109B

Minor Air Construction Permit

Walt Disney World Resort Complex

This air construction permit completely replaces the original permits for two diesel-powered engines (Permit Nos. AC48-105243, AC48-106650 and PSD-FL-109, including all subsequent revisions), that each drive a 2.5 Megawatt (MW) generator (EU 079 and EU 080) that serves the EPCOT complex.  The purpose of the air construction permit is to reclassify the diesel generators from the current status of at-will operation as non-emergency reciprocating internal combustion engines (RICE) regulated under 40 CFR 63, Subpart ZZZZ, to the status of emergency RICE as defined in Subpart ZZZZ.

##### NOTICE AND PUBLICATION

The Department distributed a draft minor air construction permit package on May 16, 2014.  The applicant published the Public Notice in the Orlando Sentinel on May 21, 2014.  The Department received the proof of publication on May 29, 2014.  No requests for administrative hearings or requests for extensions of time to file a petition for administrative hearing were received.

# COMMENTS

No comments on the draft permit were received from the public, the Local Air Program, the EPA Region 4 Office or the applicant.

# CONCLUSION

The final action of the Department is to issue the permit with no changes from the draft permit.