|  |  |  |
| --- | --- | --- |
| ARMS ID0112120 | OWNER/COMPANYWheelabrator North Broward, Inc. | SITE NAMEWheelabrator North Broward |
| **X** TITLE V | [ ]  SYNTHETIC MINOR (Emissions limited to > 80% and < 100% of major source thresholds) | DATE OF THIS FCE: 08/30/2012  **X** ON-SITE ASSESSMENT  [ ]  OFF-SITE ASSESSMENT  (Explain reason for Off-Site in ‘Comments’) |
| [ ]  TITLE V MEGA-SITE\* | [ ]  OTHER: | DATE OF PREVIOUS FCE:03/24/2012  |

\*Facility with a large number of complex emissions units. It is more reasonable to evaluate a Title V Mega-Site once every 3 years instead of once every 2 years.

Review of All Required Reports

|  |  |
| --- | --- |
| PERIODIC REPORTS | COMMENTS |
| **X** DONE [ ]  N/A | Annual Operating  |  |
| **X** DONE [ ]  N/A | Annual Statement of Compliance – Title V |  |
| **X** DONE [ ]  N/A | Title V Semi-Annual Monitoring |  |
| **X** DONE [ ]  N/A | Semi-Annual Compliance |  |
| **X** DONE [ ]  N/A | Quarterly Compliance |  |
| **X** DONE [ ]  N/A | Stack Test |  |
| **X** DONE [ ]  N/A | Visible Emissions Test | VE 22 Ash Handling  |
| [ ]  DONE [ ]  N/A | Other: |  |

|  |  |
| --- | --- |
| CONTINUOUS EMISSION MONITOR REPORTS | COMMENTS |
| **X** DONE [ ]  N/A | Quarterly excess emissions |  |
| **X** DONE [ ]  N/A | Semi-annual |  |
| **X** DONE [ ]  N/A | RATA |  |
| **X** DONE [ ]  N/A | CGA |  |
| [ ]  DONE [ ]  N/A | Other :  |  |
| [ ]  DONE [ ]  N/A | Other :  |  |

Observations and Records Review

|  |  |
| --- | --- |
| OBSERVATIONS AND RECORDS | COMMENTS |
| **X** DONE [ ]  N/A | Visible emission observation(s) |  |
| **X** DONE [ ]  N/A | Review of facility records and logs | Reviewed natural gas records. |
| **X** DONE [ ]  N/A | Assessment of process parameters (feed rates, process rates, raw material compositions, etc.)  |  |
| **X** DONE [ ]  N/A | Assessment of control equipment performance parameters(water flow rates, pressure drops, temperatures, ESP power levels, etc.) |  |
| **X** DONE [ ]  N/A | Stack test observation(s) | 3/22/2011, 3/21/2012, 5/1/2012 |
| **X** DONE [ ]  N/A | Other : On Site Waste | Reviewed waste manifests for special wastes. |
| [ ]  DONE [ ]  N/A | Other :  |  |

Inspection reports

 (Compliance Monitoring Reports)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| DATE OF INSPECTION | DATE OF INSPECTION REPORT | Full/ Partial(F or P) | Investigative(Yes or No) | Location of Inspection Report required Elements: |
| Facility Info  | Applicable requirements | list of EUs | Enforcement History | Compliance Activities | Findings & Recommendations |
| 03/24/2010 | 05/28/2010 | F | (FCE) | **X** EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/APDS | **X** EASIIR/ARMS/APDS | **X** EASIIR/ARMS/ACES | **X** EASIIR/ARMS/ACES | **X** EASIIR/ARMS/ACES |
| **X** Paper Files | **X** Paper Files | **X** Paper Files | **X** Paper Files | **X** Paper Files | **X** Paper Files |
|  |  |  |  | [ ] EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/ACES | [ ] EASIIR/ARMS/ACES | [ ] EASIIR/ARMS/ACES |
| [ ] Paper Files | [ ] Paper Files | [ ] Paper Files | [ ] Paper Files | [ ] Paper Files | [ ] Paper Files |
|  |  |  |  | [ ] EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/APDS | [ ] EASIIR/ARMS/ACES | [ ] EASIIR/ARMS/ACES | [ ] EASIIR/ARMS/ACES |
| [ ] Paper Files | [ ] Paper Files | [ ] Paper Files | [ ] Paper Files | [ ] Paper Files | [ ] Paper Files |

 In-house tools with electronic report generation features: ARMS (Air Resource Management System) database; and

 EASIIR (Electronic Access System for Inspection Information Retrieval)

 Internet-accessible information: ACES (Air Compliance and Enforcement Search); and

 APDS (Air Permit Documents Search)

**Comments**

|  |
| --- |
| See EASIIR report for more detail.High Hg values during 3/2012 test. Waiting on additional information before making determination if a violation exists. |

Prepared by: Lee C. Hoefert Date: August 30, 2012

Reviewed by: Lee C. Hoefert Date: August 30, 2012