CRYSTAL RIVER UNIT 3 EMERGENCY/AUXILIARY POWER EQUIPMENT

PLANT DESIGNATION:  MEDG-1

MANUFACTURER:  KOHLER

MODEL:  N/A

SIZE:  260 KW

LOCATION:  INSIDE TECHNICAL SERVICE CENTER

USE:  EMERGENCY AUXILIARY POWER

PLANT DESIGNATION:  FDGD-C

MANUFACTURER:  FAIRBANKS-MORSE

MODEL:  38TD8-1/8

SIZE:  3960 H.P.

LOCATION: SOUTH BERM

USE:  EMERGENCY AUXILIARY POWER

PLANT DESIGNATION:  EFP-3

MANUFACTURER:  ELECTRO MOTIVE

MODEL:  R8-645-F7B

SIZE:  N/A

LOCATION:  INSIDE PLANT, SOUTH SIDE

USE:  EMERGENCY BOILER FEEDWATER PUMP

PLANT DESIGNATION:  FSP-2A

MANUFACTURER:  CUMMINGS

MODEL:  1T-280-TF

SIZE:  255 H.P.

LOCATION:  FIRE PUMP BUILDING, WEST OF PLANT

USE:  EMERGENCY FIRE SERVICE PUMP

PLANT DESIGNATION:  FSP-2B

MANUFACTURER:  CUMMINGS

MODEL:  NT-280-F

SIZE:  255 H.P.

LOCATION:  FIRE PUMP BUILDING, WEST OF PLANT

USE:  EMERGENCY FIRE SERVICE PUMP

PLANT DESIGNATION:  EGDG-1A

MANUFACTURER:  FAIRBANKS-MORSE

MODEL:  38D8-1/8

SIZE:  4200 H.P.

LOCATION:  INSIDE PLANT, SOUTHEAST CORNER

USE:  EMERGENCY AUXILIARY POWER

PLANT DESIGNATION:  EGDG-1B

MANUFACTURER:  FAIRBANKS-MORSE

MODEL:  38D8-1/8

SIZE:  4200 H.P.

LOCATION:  INSIDE PLANT, SOUTHEAST CORNER

USE:  EMERGENCY AUXILIARY POWER