DATA COLLECTION MATRIX FOR PASCO COUNTY RRF

| PARAMETER | UNIT 1 | UNIT 2 | UNIT 3 |
| --- | --- | --- | --- |
| Tons/day (4-hr block avg) 350 |  |  |  |
| Steam rate limit from last test | 99,700 | 99,700 | 100,300 |
| Steam rate observed | 84000 | 87000 | 84000 |
| Furnace roof thermocouple reading 1167F | 1507 | 1479 | 1450 |
| Maximum baghouse inlet temperature from dioxin test | 320F | 320F | 319F |
| Observed baghouse inlet temperature | 271 | 281 | 284 |
| Minimum carbon injection rate from dioxin test (lb/hr) | 15 | 15 | 15 |
| Observed carbon injection rate | 1.5 | 16 | 15 |
| NOx (205 ppmv @ 7% O2) | 183 | 195 | 184 |
| CO (100 ppmv @ 7% O2) | 9 | 60 | 9 |
| SO2 (29 ppmv @ 7% O2) | 2 | 1 | 2 |
| SO2 removal (75%) | 92.3 | 98.1 | 98.9 |
| Opacity (10%) | 0 | 1.1 | 0.6 |