| 1030190 70969 |
| --- |
| FACILITY: Big C Steel, Inc. | PERMIT ID: 25 |
|  | DISTRICT: Southwest |
| ADDRESS: 13095 49th Street North | CONTACT PHONE: |
| Clearwater, FL | 727-573-2442 |
| ARMS NO: 1030190 001 | PERMIT NO: | Expiration Date: 4/25/11 Renewal Date: 2/24/11 |
|  | 1030190-004-AO |  |
|  |  | Test Due Date: |
| EMISSION UNIT DESCRIPTION : RACT VOC Spray Painting Area |
| CMS INSPECTION DATE: | ARMS INSPECTION TYPE: | COMPLIANCE STATUS: |
|  | 19 May 2010 |  |  | INS1 | ( | INS2 |  | INS3 |  | FUI |  | IN |  | MNC |  | SNC |
| INSPECTION TYPE: | ( | Initial |  | Re-inspection |  | Complaint |  | Drive-by |  | Quarterly |
| ( | A. General Review: |
| 1. | Permit File Review |  | Yes |  | No |
|  | Comments: |  |  |  |  |
| 2. | Introduction and Entry |  | Yes |  | No |
|  | Comments: |  |  |  |  |
| 3. | Is the Responsible Official/Authorized Representative still: David S. Cox? |  | Yes |  | No |
|  | Comments: The Responsible Official/Authorized Representative’s e-mail is: |
| 4. | Is the facility contact still: David S. Cox? |  | Yes |  | No |
|  | Comments: The facility contact’s e-mail is: |
| IN | MNC | SNC | B. Specific Conditions: |
|  |  |  | This permit became effective on 4/27/06 This permit or a copy thereof shall be kept at the work site of the permitted activity. [62-4.160 F.A.C. - General Condition 12.] Comments: The facility did did not have a copy of the permit on-site. 3. Operating Hours - This facility is allowed to operate a maximum of 2,600 hours per year. [Rule 62-210.200 F.A.C. (Definitions - “Potential to Emit”), AC52-169995] (Note to Permitee: the above operating hour limitation did not appear in the previous operating permit but was established in construction permit AC52-169995) Comments: The 12 mouth consecutive total hours amounted to 1,751.5 hours at the end of the month of April 2010. 4. Material Usage – In order to assure compliance with the emission limitations of Specific Condition No. 6, total facility coating usage shall not exceed the following limits: a. 325 gallons per month; and b. 3900 gallons per any 12 consecutive month period [Rule 62-4.070(3), F.A.C.; AC52-169995] Comments: The highest one-month paint usage recorded was 96 gallons in the month of July 2009. The highest 12 month running cumulative total usage of paint was recorded at the end of the month of May 2009. 5. VOC RACT Emission Limitation - The volatile organic compound (VOC) content of each coating used shall not exceed 3.5 pounds of VOC per gallon of coating, excluding water, delivered to the coating applicator. [Rule 62-296.513(2)(a)2., F.A.C. (Reasonably Available Control Technology (RACT) – Volatile Organic Compounds: Surface Coating of Miscellaneous Metal Parts and Products)] Comments: The Delta Laboratories Red Shopcoat Primer used by Big C Steel contains 3.5 lb VOC per gallon less water and exempt compounds. 6. VOC Emission Limitations - In order to establish the facility as a synthetic non-Title V minor source of VOC emissions, the following emission limits shall apply facility-wide. Operation lbs VOC/month tons VOC/12 consecutive month period Surface Cleaning 0.0 0.0 Painting 1137.5 6.83 Equipment Clean-up 7.04 0.04 Facility Total 6.87 [Rule 62-210.200 F.A.C. (Definitions - “Potential to Emit”), AC52-169995] (Permitting Note: The above equipment clean-up limitation did not appear in the previous operating permit, but was established in construction permit AC52-169995) (Title V Applicability Note: Since all HAPs that are emitted from this facility are VOCs, the above VOC emission limitation also ensures that HAP emissions will be below the Title V major source level of 10 tons per year. Comments: The highest one month total VOC emissions were recorded in the month of July 2009 as 336 lb of VOCs. The EU recorded 0.0 lb of VOCs for equipment clean-up and 0.0 lb of VOCs for surface cleaning. The highest 12 month running cumulative total VOC emissions were recorded at the end of the month of May 2009 as 1.654 tons of VOCs. The substrate being coated is steel. 7. General Standards: Visible Emissions - No person shall cause, let, permit, suffer or allow to be discharged into the atmosphere the emissions of air pollutants from any activity, the density of which is equal to or greater than that designated as Number 1 on the Ringelmann Chart (20 percent opacity). EPA Method 9 is the method of compliance pursuant to Chapter 62-297, F.A.C. [Rules 62-296.320(4)(b)1, 62-296.320(4)(b)4, F.A.C.] Comments: There were no fugitive dust plumes or plumes resulting from overspray. 8. General Standards: Objectionable Odor - No person shall cause, suffer, allow or permit the discharge of air pollutants, which cause or contribute to an objectionable odor. An objectionable odor is any odor present in the outdoor atmosphere, which by itself or in combination with other odors, is or may be harmful or injurious to human health or welfare, which unreasonably interferes with the comfortable use and enjoyment of life or property, or which creates a nuisance. [Rules 62-210.200(Def. “Objectionable Odor”), 62-296.320(2), F.A.C.; Pinellas County Code 58-178] Comments: There were no VOC odors outside of the facility that could be attributed to spray painting. 9. General Standards: (VOC) Emissions and/or (OS) Emissions - The permittee shall allow no person to store, pump, handle, process, load, unload or use in any process or installation, volatile organic compounds (VOC) or organic solvents (OS) without applying known and existing vapor emission control devices or systems deemed necessary and ordered by the Department. The following procedures shall be utilized to minimize pollutant emissions: a. All equipment, pipes, hoses, lids, fittings, etc., shall be operated/maintained in such a manner as to minimize leaks, fugitive emissions and spills of solvent materials. b. All VOC/OS from washings (equipment clean-up) shall be directed into containers prevent evaporation into the atmosphere. c. Tightly cover or close all VOC and/or solvent containing vessels, drums, totes, etc., when they are not in use. d. Immediately confine and clean up VOC spills, and make sure wastes are placed in closed containers for reuse, recycling or proper disposal. [Rule 62-296.320(1)(a), F.A.C.] Comments: The paint used in the spray painting is not dispensed by hand. The paint is pumped via a hose directly from the paint drum to the spray gun. 10. General Standards: Unconfined Particulates - All reasonable precautions shall be taken to prevent and control generation of unconfined emissions of particulate matter in accordance with the provisions in Rule 62-296.320, F.A.C. These provisions are applicable to any source, including but not limited to, vehicular movement, transportation of materials, construction, alteration, demolition or wrecking, or industrial related activities such as loading, unloading, storing and handling. [Rules 62-4.070(3), 62-296.320(4)(c), F.A.C.] Comments: Water is applied to the yard when it is dry and the source avoids painting when the wind is strong enough to create dust plumes. 11. VOC Records – In order to document compliance with Specific Conditions 4, 5, and 6 and in accordance with Rule 62-296.500(2)(b), F.A.C. (VOC RACT – Recordkeeping), the permittee shall maintain records for all VOC containing materials (coatings, paint, solvents, etc.) which shall contain at a minimum the following: A. Daily Records: 1. facility name, ID No. (1030190), Emission Unit No. (001); 2. date and description of operation (i.e., Surface Cleaning, Painting, or Equipment Cleanup); 3. the Rule number applicable to the operation for which the records are being maintained (i.e., Rule 62-296.513, F.A.C. - Surface Coating of Miscellaneous Metal Parts and Products); 4. application method and substrate type (i.e., spray painting on metal); 5. amount (gallons) and type (name and description) of coatings and solvent used at each point of application, including exempt compounds; 6. pounds of VOC per gallon of coating, excluding water, as applied; 7. amount of solvent used (all uses) and the solvent VOC content. B. Monthly Records: 1. facility name, ID No. (1030190), Emission Unit No. (001); 2. the total quantity of coating used per month (gallons); 3. the total quantity of coatings used for the most recent 12 consecutive months (gallons); 4. the calculated monthly VOC emissions in pounds for each operation (i.e., Surface Cleaning, Painting, or Equipment Cleanup) based upon coating and solvent usage and their respective VOC contents; 5. the calculated most recent 12 consecutive month total for VOC emissions in tons for each operation (i.e., Surface Cleaning, Painting, or Equipment Cleanup) and the total for the facility. Supporting documentation (MSD sheets, purchase orders, etc.) shall be kept for each coating, which includes sufficient information to determine VOC emissions. [Rules 62-4.070(3), F.A.C. and 62-296.500(2)(b), F.A.C.; Pinellas County Code Section 58-90] Comments: The E U was in compliance with the record-keeping requirements of A. and B, above. 12. Operating Hour Records - In order to document compliance with Specific Condition 3, the permittee shall maintain records of the hours of operation. Operation consists of periods when surface coating or equipment cleanup is being conducted. Records shall contain the following: Monthly Records: 1. facility name, ID No. (1030190), Emission Unit No. (001); 2. the total number of hours operated per month; 3. the total number of hours operated for the most recent 12 consecutive months. [Rule 62-4.070(3), F.A.C.] Comments: The E U. was recording the total number of hours per month and per consecutive 12 month total. The highest 12 month running cumulative total hours were recorded at the end of month of July 2009, as 2,002 hrs and 336 hours for the month of July 2009. 13. Records Retention - The records required by this permit shall be completed by the end of the following month. The logs shall be retained on file at the facility for at least two years, and be made available to the Department upon request. [Rules 62-4.070(3), F.A.C. and 296.500(2)(b)1., F.A.C.] Comments: The records were completed before the end of the following month. 14. Annual Operating Report - The permittee shall submit to the Air Quality Division of PCDEM each calendar year on or before March 1, a completed DEP Form 62-210.900(5), "Annual Operating Report for Air Pollutant Emitting Facility" (AOR) for the preceding calendar year. The report may also be submitted electronically in accordance with the instructions received with the AOR package sent by the Department. In addition to the requirements of Rule 62-296.500(2)(c), F.A.C. (VOC RACT – Reporting), the annual report shall also include a proof of compliance with the VOC RACT limitations (see Specific Condition No. 5). This proof of compliance shall consist of a statement of the VOC content in pounds of VOC per gallon of coating, excluding water, delivered to the coating applicator, for each coating used in the year being reported. [Rules 62-210.370(3), and 62-296.500(2)(c), F.A.C.] Comments: The facility submitted the 2009 AOR on 6 February 2010. 15. Operation Permit Renewal Application - A completed application to renew this operation permit shall be submitted to the Air Program of the Southwest District Office of the Department with one copy also submitted to the Air Quality Division of the Pinellas County Department of Environmental Management no later than February 24, 2011 (60 days prior to the expiration date of this permit)…. [Rules 62-4.050, 62-4.090, 62-210.300(2), and 62-210.900, F.A.C.] Comments: I read the permit condition to “Nina” the Office Manager. |
|  |  |  | Valid Permit [Rule 62-210.300] |
|  |  |  | Changes to Facility/emission unit [Rule 62-210.300] Does the emission unit description above match what the facility is operating Yes No Comments: |

| ( | C. Other: |
| --- | --- |
| Pollution Prevention Activities P2 Handouts Provided: P2 Brochure; P2 Manual; P2 Checklist Have any emissions reductions occurred Yes / No Chemical Substitution; Equipment Changes; Process Changes Chemical/Material Reuse; On-site Recycling; Other: Comments: The emissions reductions are due to less business. |
| Closing Conference: I informed “Nina” the Offices Manager that the facility was deemed to be in compliance. |
| Inspector(s): Jose Rodriguez, Pinellas County, Air Quality Division |
| Signature(s): Date: | Date: 19 May 2010 |
| ACCESS? |  | EASIIR? |  |

H:\USERS\WPDOCS\Airqual\Air_Compliance\AQI\1030190 001 70969.doc

H:\users\wpdocs\airqual\Air_Compliance\AQI\1030190 001 70969.doc

| AIRS ID 1030190 | OWNER Big C Steel, Inc. | FACILITY NAME Big C Steel, Inc |
| --- | --- | --- |
| TITLE V | SYNTHETIC MINOR | DATE OF THIS FCE 19 May 2010 |
| TITLE V MEGA-SITE* | OTHER | DATE OF LAST FCE 13 September 2006 |

*Facility with a large number of complex emissions units.  It is more reasonable to evaluate a Title V Mega-Site once every 3 years instead of once every 2 years.

Review of All Required Reports

| PERIODIC REPORTS | COMMENTS |
| --- | --- |
| DONE N/A | Annual operating report |  |
| DONE N/A | Statement of compliance |  |
| DONE N/A | Annual |  |
| DONE N/A | Semi-annual |  |
| DONE N/A | Quarterly |  |
| DONE N/A | Other : |  |
| DONE N/A | Other : |  |

| CONTINUOUS EMISSION MONITOR REPORTS | COMMENTS |
| --- | --- |
| DONE N/A | Quarterly excess emissions |  |
| DONE N/A | Semi-annual |  |
| DONE N/A | RATA |  |
| DONE N/A | CGA |  |
| DONE N/A | Other : |  |
| DONE N/A | Other : |  |

Assessment of Control Device and Process Operating Conditions

| OFF-SITE ASSESSMENT | (Describe the off-site assessment in comments) |
| --- | --- |
| ON-SITE ASSESSMENT | (Document the on-site inspection below) |
| DATE OF INSPECTION | DATE OF INSPECTION REPORT | My office maintains the inspection report... |
|  |  | ...in the ARMS database through EASIIR. | ...with the paper or electronic compliance files | ...in another location (specify). |
| 19 May 2010 | 21 May 2010 |  |  |  |
| COMMENTS |

Review of Tests and Records

| TESTS, OBSERVATIONS AND RECORDS | COMMENTS |
| --- | --- |
| DONE N/A | Visible emission observation(s) |  |
| DONE N/A | Review of facility records and logs |  |
| DONE N/A | Assessment of process parameters (feed rates, process rates, raw material compositions, etc.) |  |
| DONE N/A | Assessment of control equipment performance parameters (water flow rates, pressure drops, temperatures, ESP power levels, etc.) |  |
| DONE N/A | Stack test(s) |  |
| DONE N/A | Other : |  |
| DONE N/A | Other : |  |

Compliance Monitoring (CM) Information

| CM ELEMENT | My office maintains this information... |
| --- | --- |
|  | ...electronically, in the ARMS database. | ...in the permit. | ...in the inspection report. | ...in another location (specify). |
| Facility information |  |  |  |  |
| Applicable requirements |  |  |  |  |
| Inventory of emission units |  |  |  |  |
| Enforcement history |  |  |  |  |
| Compliance activities |  |  |  |  |
| Findings and recommendations |  |  |  |  |
| COMMENTS |

Other Comments

Prepared by:	   Jose Rodriguez		Date: 	21 May 2010______

Reviewed by:			Date:

1.  Complete the form as much as possible during for inspection; 2.  The remainder of checklist, for activities in the FY, are filled in no later than 9/15;  3.  Between 9/15 and 9/30, complete the FCE by closing out the FCS project in ARMS.  The INSP > FCS record only accepts a completion date and a comment; it does not accept information on the lower portion of the form.  If an FCS project already exists for the fiscal year in question, enter a completion date and comment in the existing record, do not create a duplicate FCS record.