## BLANK VE OBSERVATION FORM
EPA
VISIBLE EMISSION OBSERVATION FORM 1 | [9 empty] | Form Number: |  | _____________ |  |  | Page | ____ | Of | _____
Method used: |  | Method 9 |  | 203A |  | 203B |  | Other: | _________ | Continued on VEO Form Number: | [5 empty] | ____________________
Company Name: |  | STERICYCLE/APOPKA FACILITY | [7 empty] | Observation Date: |  |  |  | Time Zone: | Start Time: |  |  | End Time:
Facility Name: |  | STERICYCLE/APOPKA FACILITY | [7 empty] | 2003-07-09 |  |  | Eastern |  | 9:10 |  |  | 9:40
Street Address: |  | 254 W KEENE Rd | [7 empty] | Sec | 0 | 15 | 30 | 45 | AVG | Comments
City: | APOPKA |  |  | State: | FL |  | Zip: | 32703 |  | Min
[10 empty] | 1 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1-MINUTE AVERAGES ARE SHADED
Process: |  | Bio waste incinerator |  | Unit#: | 1 | Operating Mode: |  |  | 1900 lb/hr | 2 | 0 | 0 | 0 | 0 | 0 |  |  |  | ALL OTHER AVERAGES ARE FOR 6-MINUTES
Control Equipment: |  | Afterburner |  |  |  | Operating Mode: |  |  | >1800 F | 3 | 0 | 0 | 0 | 0 | 0
[10 empty] | 4 | 0 | 0 | 0 | 0 | 0
Describe Emission Point: |  |  | Round metal stack | [6 empty] | 5 | 0 | 0 | 0 | 0 | 0
[10 empty] | 6 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Height of Emission Point |  |  |  |  | Height of Emiss. Point Rel. to Obser. |  |  |  |  | 7 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | ~ 50' | End: | same |  | Start: | ~ 50' | End: | same |  | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Distance to Emission Point |  |  |  |  | Direction to Emission Point (Degrees) |  |  |  |  | 9 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | ~ 150' | End: | same |  | Start: | 240 | End: | same |  | 10 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
[10 empty] | 11 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Vertical Angle to Obs. Point |  |  |  |  | Direction to Obs. Point (Degrees) |  |  |  |  | 12 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | 15 | End: | same |  | Start: | 240 | End: | same |  | 13 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Distance and Direction to Observation Point from Emission Point | [9 empty] | 14 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | ~150' SW |  |  |  | End: | same |  |  |  | 15 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
[10 empty] | 16 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Describe Emissions | [9 empty] | 17 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | none |  |  |  | End: | same |  |  |  | 18 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Emission Color |  |  |  |  | Water Droplet Plume |  |  |  |  | 19 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | na | End: | same |  | Attached |  | Detached |  | None | 20 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
[10 empty] | 21 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Describe Plume Background | [9 empty] | 22 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | sky |  |  |  | End: | same |  |  |  | 23 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Background Color |  |  |  |  | Sky Conditions |  |  |  |  | 24 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | blue | End: | same |  | Start: | clear | End: | same |  | 25 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Wind Speed |  |  |  |  | Wind Direction |  |  |  |  | 26 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | 2.0 mph | End: | same |  | Start: | SW | End: | same |  | 27 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Ambient Temperature |  |  |  |  | Wet Bulb Temp.: |  |  | RH Percent: |  | 28 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
Start: | 81.5 F | End: | same |  | 77.5 | °F |  | 81.6 | % | 29 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
[10 empty] | 30 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
[14 empty] | MINOR SOURCE 30 MIN. AVG: | 0 | (ONLY VALID FOR ALL 120 READINGS) |  |  | WORST 6-MINUTE AVERAGE:
Source Layout Sketch | [22 empty] | 0
[7 empty] | Draw North Arrow |  |  | Observer's Name (Print): |  |  | Gregory a. Bryant
[8 empty] | TN | MN | Observer's Signature: | [6 empty] | Date: | 2003-07-09
[10 empty] | Organization: | Orange County Environmental Protection Division
[6 empty] | Observation Point |  |  |  | Certified By: | _______________________________ | ETA |  |  |  |  | Date: | 2003-02-12
[10 empty] | Additional Information: |  |  | No Objectionable odors noticed
[8 empty] | ~ 50 | FEET
[8 empty] | ~ 150 | FEET
[12 empty] | WORST 6 MINUTES: | 0 | %
[6 empty] | Observer's Position |  | Side View |  | AVERAGE OPACITY: |  |  | 0 | %
|  |  | 140° |  |  |  |  | Stack With Plume
[15 empty] | Data for | WebMICA
|  | Sun Location Line | [5 empty] | Sun | [6 empty] | Year:
[8 empty] | Wind | [6 empty] | Month:
Longitude: |  |  | Latitude: |  |  |  | Declination: | [7 empty] | Start Date:
# of Days:
[15 empty] | Celestial Object: | Sun
|  | ADDITIONAL OBSERVATIONS: | [12 empty] | Longitude W: | 28 | Degrees
|  |  | AIRS ID / Permit #: | 950169 | [11 empty] | 38.341 | Minutes
|  |  | Audit Type: | II | [10 empty] | Latitude N: | 81 | Degrees
|  |  | District: | 2 | [11 empty] | 30.9 | Minutes
|  |  | County: | Orange | [10 empty] | Time Zone Hrs: |  | W. of Greenwich
|  |  | Is Plume continual? | N/A
|  |  | Is Plume attached or detached? | no
|  |  | Does plume have any color? | no | If so, readings should show at least 5%
|  |  | Test Pass or Fail: | Pass
|  |  | Is this set of test data complete? | Yes | TRUE | No | FALSE

## SUN'S PATH
From March 27 to September 14, 2000: the Altitude of the sun can be >70° somewhere in Florida
Worst case is AIRS ID # 0870060 in the Keys, at 23°37'56"N and 82°55'18"W
On the longest days, June 18-24, 2000: the sun is more than 70° above the horizon for more than 3 hours and 1 minute.
On those days, the VE Test should not be performed between about 11:02 am and 2:05 pm.
SOLAR ALTITUDE CHECK (Each square is about 3° square)
| LONGITUDE: | W80°46'
| LATITUDE: | N28°28'
| DATE: | October 2, 2000
0°N
180°
270°
the Spring
90° Azimuth
70° Max. above horizon

## VE OBSERVATION FORM SAMPLE
EPA
VISIBLE EMISSION OBSERVATION FORM 1 | [9 empty] | Form Number: |  | 1 |  |  | Page | 1 | Of | 2
Method used: |  | Method 9 |  | 203A |  | 203B |  | Other: | TEST | Continued on VEO Form Number: | [5 empty] | 2
Company Name: |  | FLORIDA POWER COMPANY | [7 empty] | Observation Date: |  |  |  | Time Zone: | Start Time: |  |  | End Time:
Facility Name: |  | CAPE CANAVERAL FACILITY | [7 empty] | 2003-07-11 08:23 |  |  | EDT |  | 9:15 |  |  | 9:45
Street Address: |  | DRURY LANE | [7 empty] | Sec | 0 | 15 | 30 | 45 | AVG | Comments
City: | COCOA BEACH |  |  | State: | FL |  | Zip: | 32323 |  | Min
[10 empty] | 1 | 10 | 10 | 5 | 5 | 7.5 | NONE |  |  | 1-MINUTE AVERAGES ARE SHADED
Process: |  | STEADY STATE |  | Unit#: | 10 | Operating Mode: |  |  | OIL | 2 | 5 | 10 | 10 | 10 | 8.75 |  |  |  | ALL OTHER AVERAGES ARE FOR 6-MINUTES
Control Equipment: |  | CONTINUOUS MONITORING |  |  |  | Operating Mode: |  |  | GAS | 3 | 10 | 5 | 5 | 5 | 6.25
[10 empty] | 4 | 5 | 5 | 10 | 10 | 7.5
Describe Emission Point: |  |  | TALL SMOKESTACK ADJACENT TO LAST BURNER, WITH DUCTWORK ENTERING ABOVE ROOFLINE | [6 empty] | 5 | 10 | 10 | 5 | 5 | 7.5
[10 empty] | 6 | 10 | 10 | 10 | 5 | 7.7083 | [6 empty] | 7.7083
Height of Emission Point |  |  |  |  | Height of Emiss. Point Rel. to Obser. |  |  |  |  | 7 | 5 | 10 | 10 | 5 | 7.7083 |  |  |  | 7.5 | 7.5 | 7.7083 | 7.7083
Start: | 85' | End: | 85' |  | Start: | 79' | End: | 82' |  | 8 | 5 | 5 | 5 | 5 | 7.0833 |  |  |  | 7.7083 | 7.5 | 7.2917 | 7.0833
Distance to Emission Point |  |  |  |  | Direction to Emission Point (Degrees) |  |  |  |  | 9 | 5 | 10 | 10 | 5 | 7.2917 |  |  |  | 6.875 | 7.0833 | 7.2917 | 7.2917
Start: | 250' | End: | 250' |  | Start: | 270° | End: | 270° |  | 10 | 5 | 10 | 10 | 10 | 7.5 |  |  |  | 7.2917 | 7.5 | 7.5 | 7.5
[10 empty] | 11 | 10 | 5 | 5 | 5 | 7.2917 |  |  |  | 7.5 | 7.2917 | 7.2917 | 7.2917
Vertical Angle to Obs. Point |  |  |  |  | Direction to Obs. Point (Degrees) |  |  |  |  | 12 | 10 | 10 | 5 | 10 | 7.2917 |  |  |  | 7.2917 | 7.2917 | 7.0833 | 7.2917
Start: | 20° | End: | 20° |  | Start: | ________ | End: | _________________ |  | 13 | 5 | 5 | 5 | 5 | 6.875 |  |  |  | 7.2917 | 7.0833 | 6.875 | 6.875
Distance and Direction to Observation Point from Emission Point | [9 empty] | 14 | 5 | 10 | 10 | 5 | 7.2917 |  |  |  | 6.875 | 7.0833 | 7.2917 | 7.2917
Start: | _______________________________ |  |  |  | End: | _____________________________ |  |  |  | 15 | 5 | 5 | 5 | 5 | 6.875 |  |  |  | 7.2917 | 7.0833 | 6.875 | 6.875
[10 empty] | 16 | 5 | 10 | 10 | 10 | 6.875 |  |  |  | 6.875 | 6.875 | 6.875 | 6.875
Describe Emissions | [9 empty] | 17 | 10 | 5 | 5 | 10 | 7.0833 |  |  |  | 6.875 | 6.875 | 6.875 | 7.0833
Start: | DENSE, ROLLING |  |  |  | End: | SPARSE WISPS |  |  |  | 18 | 5 | 5 | 5 | 5 | 6.4583 |  |  |  | 6.875 | 6.6667 | 6.6667 | 6.4583
Emission Color |  |  |  |  | Water Droplet Plume |  |  |  |  | 19 | 10 | 10 | 5 | 5 | 6.875 |  |  |  | 6.6667 | 6.875 | 6.875 | 6.875
Start: | BLUE | End: | WHITE |  | Attached |  | Detached |  | None | 20 | 5 | 5 | 10 | 10 | 6.875 |  |  |  | 6.875 | 6.6667 | 6.6667 | 6.875
[10 empty] | 21 | 10 | 10 | 10 | 10 | 7.7083 |  |  |  | 7.0833 | 7.2917 | 7.5 | 7.7083
Describe Plume Background | [9 empty] | 22 | 10 | 5 | 5 | 5 | 7.2917 |  |  |  | 7.9167 | 7.7083 | 7.5 | 7.2917
Start: | PALE BLUE SKY |  |  |  | End: | DARK BLUE W/ DISTANT CLOUDS |  |  |  | 23 | 5 | 5 | 10 | 10 | 7.2917 |  |  |  | 7.0833 | 7.0833 | 7.2917 | 7.2917
Background Color |  |  |  |  | Sky Conditions |  |  |  |  | 24 | 5 | 5 | 10 | 10 | 7.7083 |  |  |  | 7.2917 | 7.2917 | 7.5 | 7.7083
Start: | PALE BLUE | End: | DARK BLUE |  | Start: | CLEAR | End: | GETTING CLOUDS |  | 25 | 10 | 5 | 5 | 5 | 7.5 |  |  |  | 7.7083 | 7.5 | 7.5 | 7.5
Wind Speed |  | weather.com |  |  | Wind Direction |  |  |  |  | 26 | 5 | 5 | 10 | 10 | 7.5 |  |  |  | 7.5 | 7.5 | 7.5 | 7.5
Start: | 10 MPH | End: | 8 KNOTS |  | Start: | N | End: | NNW |  | 27 | 10 | 5 | 5 | 5 | 6.875 |  |  |  | 7.5 | 7.2917 | 7.0833 | 6.875
Ambient Temperature |  |  |  |  | Wet Bulb Temp.: |  |  | RH Percent: |  | 28 | 10 | 10 | 10 | 5 | 7.2917 |  |  |  | 6.875 | 7.0833 | 7.2917 | 7.2917
Start: | 89°F | End: | 94°F |  | 92 | °F |  | 66 | % | 29 | 5 | 5 | 5 | 10 | 7.0833 |  |  |  | 7.2917 | 7.2917 | 7.0833 | 7.0833
[10 empty] | 30 | 10 | 5 | 5 | 5 | 6.875 |  |  |  | 7.2917 | 7.2917 | 7.0833 | 6.875
[14 empty] | MINOR SOURCE 30 MIN. AVG: | 7.2083 | (ONLY VALID FOR ALL 120 READINGS) |  |  | WORST 6-MINUTE AVERAGE:
Source Layout Sketch | [22 empty] | 7.9167
[7 empty] | Draw North Arrow |  |  | Observer's Name (Print): |  |  | ROMAS SPARKIS
[8 empty] | TN | MN | Observer's Signature: | [6 empty] | Date: | 2000-10-19
[10 empty] | Organization: | FDEP-DARM TALLAHASSEE OFFICE
[6 empty] | Observation Point |  |  |  | Certified By: | ROSS POLLOCK | [5 empty] | Date: | 2000-10-20
[10 empty] | Additional Information: |  |  | THIS IS A TEST OF THE METHOD #9 SPREADSHEET FOR FDEP
[8 empty] | 85 | FEET
[8 empty] | 250 | FEET
[12 empty] | WORST 6 MINUTES: | 7.9167 | %
|  | Observer's Position | [5 empty] | Side View |  | AVERAGE OPACITY: |  |  | 7.2 | %
|  |  | 140° |  |  |  |  | Stack With Plume
[15 empty] | Data for | WebMICA
|  | Sun Location Line | [5 empty] | Sun | [6 empty] | Year: | 2000
[8 empty] | Wind | [6 empty] | Month: | 10
Longitude: |  |  | Latitude: |  |  |  | Declination: | [7 empty] | Start Date: | 16
85°42'W |  |  | 32°43'N |  |  |  | 47°S | [7 empty] | # of Days: | 5
[15 empty] | Celestial Object: | Sun
|  | ADDITIONAL OBSERVATIONS: | [12 empty] | Longitude W: | 85 | Degrees
|  |  | AIRS ID / Permit #: | 0690014-002-AV | [11 empty] | 42 | Minutes
|  |  | Audit Type: | Level 2 | [10 empty] | Latitude N: | 32 | Degrees
|  |  | District: | Central | [11 empty] | 43 | Minutes
|  |  | County: | Lake | [10 empty] | Time Zone Hrs: | 5 | W. of Greenwich
|  |  | Is Plume continual? | NO
|  |  | Is Plume attached or detached? | YES
|  |  | Does plume have any color? | YES | If so, readings should show at least 5%
|  |  | Test Pass or Fail: | P
|  |  | Is this set of test data complete? | Yes | TRUE | No | FALSE

## VE TEST - QA CHECKLIST
CHECKLIST OF QUALITY ASSURANCE ITEMS FOR VISIBLE EMISSIONS TEST
COMMENTS:
| AIRS ID of Facility Being Tested: | 950111
| EU# of Emissions Unit Being Tested: | 3
| Date of Test: | 1999-01-04
| Office Conducting Test: | Koogler & Assoc., BuenaVista, FL
| Tester: | Jane Doe
| Phone #: | 850877771377745
1 | Inspector's Signature matches Certification stamp
2 | Certification is for Florida, has both signatures and has not yet expired
3 | Certification name matches inspector name and is for Method #9
4 | All fields properly filled in (more specific checklist later)
5 | Sky Condition is not shown as Cloudy?
6 | Start Time & End Time are not while sun is 70° above horizon for that day (check with USNO's MIDEC)
7 | Plume is sketched perpendicular to observer and matches wind direction
8 | Emission Point is at least 110° from sun, relative to observer
9 | Distance from observer to emission point is at least twice the stack height
10 | Were conditions calm or was there an inversion?
11 | If the plume was hydroscopic, was the humidity too high?
12 | Was gray plume observed against gray sky?
13 | Was blue plume observed against blue sky?
14 | Does anything else look fishy?
15 | Has a Stack Test Report been reviewed for this Facility?
16 | Is the spreadsheet of interoffice memos and other communications up to date?
| Checked by: | ROMAS SPARKIS
| Date: | 2003-07-11 08:23